BOREAS AFM-06 Boundary Layer Height Data

Summary:

The BOREAS AFM-06 team from the National Oceanic and Atmospheric Administration Environment Technology Laboratory (NOAA/ETL) operated a 915 MHz wind/Radio Acoustic Sounding System (RASS) profiler system in the Southern Study Area (SSA) near the Old Jack Pine (OJP) site.  This data set provides boundary layer height information over the site.  The data were collected from 21-May-1994 to 20-Sep-1994.

Table of Contents

*  1 Data Set Overview

*  2 Investigator(s)

*  3 Theory of Measurements

*  4 Equipment

*  5 Data Acquisition Methods

*  6 Observations

*  7 Data Description

*  8 Data Organization

*  9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification.

BOREAS AFM-06 Boundary Layer Height Data

1.2  Data Set Introduction

The data were collected by Boreas Ecosystem Atmospheric Study (BOREAS) Aircraft Flux and Meteorology Team #6 (AFM-06) during 5 months from late spring to summer, 1994.  Boundary layer data was measured by the NOAA/ETL 915 MHz wind/RASS profiler data.  The data were collected near the SSA-OJP flux tower.

1.3 Objective/Purpose

The BOREAS field work objectives were to measure continuous hourly profiles of wind velocity and temperature in the atmospheric boundary layer and lower troposphere, to measure the depth of the daytime convective boundary layer, and to measure the occurrence of precipitation, all using a 915 MHz radar wind/RASS profiler.  The data were then to be used to document average boundary layer structure, and especially changes in boundary layer structure during the course of the boreal summer growing season.

1.4 Summary of the parameters.

The AFM-06 boundary layer height data includes date, time and boundary layer height.

1.5 Discussion.

NOAA/ETL operated a 915 MHz wind profiling radar and surface meteorological station near the SSA-OJP from 21-May-1994 through 20-Sep-1994.

The data provided by the instrumentation are vertical profiles of wind speed and direction and virtual temperature, as well as boundary layer depth (Zi) and the presence of precipitation. These measurements were made with 100 m vertical resolution with the lowest measurement height at 150 m above ground level.  The maximum height sampled was 3850 m agl, although on many days the maximum height of the wind measurements was in the range of 2-3 km due to weak signal strength in the region of the lower troposphere above the atmospheric boundary layer (ABL).

1.6 Related Data Sets.

BOREAS AFM-06 Mean Wind Profile Data

BOREAS AFM-06 Mean Temperature Profile Data

BOREAS AFM-06 Surface Meteorological Data

2. Investigator(s)

2.1 Investigator(s) Name and Title

Robert Banta, Brooks Martner, James Wilczak

NOAA Environmental Laboratory

2.2 Title of Investigation

Outer Boundary Layer Effects on Surface Fluxes of Momentum, Heat, Moisture, and Greenhouse Gases from the Boreal Forest.

2.3 Contact Information

Contact 1

----------

James Wilczak

NOAA/ETL

Boulder, CO

Phone: (303) 497-6245

E-mail:  jwilczak@etl.noaa.gov

Contact 2

------------

Jeffrey A. Newcomer

Raytheon ITSS

NASA GSFC

Greenbelt, MD

(301) 286-7858

(301) 286-0239 (fax)

Jeffrey.Newcomer@gsfc.nasa.gov

3. Theory of Measurements

The above measurements were obtained by measuring the zeroth, first, and second moments of the radar Doppler spectrum.  The zeroth moment is the signal power.  The range corrected signal power can alternatively be expressed in terms of the turbulence structure parameter Cn2.  It is well-known that the vertical profile of Cn2 exhibits a sharp peak at the midpoint of the inversion transition region,  due to local mixing of relatively cool, moist boundary layer air with warmer and dryer air aloft.  Our measurements of Zi were obtained from the peak value in the vertical profile of Cn2 from a vertically pointing radar beam.  The first moment of the Doppler spectrum is the Doppler velocity. The vertical profile of wind velocity was measured by combining the Doppler velocities measured along three radar beams: one vertical, and two oblique beams pointing at elevations of 75 degrees, oriented 90 degrees apart.  The vertical profile of virtual temperature was measured using RASS (Radio Acoustic Sounding System), in which an array of acoustic speakers surround the radar and generate a sound pulse. The radar signal reflects off of this acoustic wave front, and the measured Doppler shift indicates the velocity of the sound pulse, which is proportional to the virtual temperature of the air.  The second moment of the Doppler spectrum, or spectral width, can provide a measure of the strength of the turbulence within the boundary layer.  The second moment has not been directly used in the present analysis.  Finally, the presence of precipitation is determined by using both signal power and the vertical velocity.  Rain and snow have much greater signal power than does clear air, and nearly uniform downward velocities. Rain can be distinguished from snow by its greater reflectivity, and by its greater fall velocity. Because of the high sensitivity of the profiler, it is capable of  detecting small amounts of rain that might not be measured by a traditional surface rain gauge. The profiler detects only the presence of precipitation, however, and at present cannot give a quantitative measure of rainfall amount.

4. Equipment:

4.1 Sensor/Instrument Description

915 MHz wind profiling radar with RASS.

4.1.1 Collection Environment

The 915 MHz profiler was used during various ambient weather conditions that occurred at the BOREAS SSA-OJP site.

4.1.2 Source/Platform

Ground based.

4.1.3 Source/Platform Mission Objectives

The ground supported the needed instrumentation.

4.1.4 Key Variables

Inversion height.

4.1.5 Principles of Operation

Standard Doppler radar techniques.

4.1.6 Sensor/Instrument Measurement Geometry

One vertical beam, two oblique beams 15 degrees from vertical at an elevation of 75 degrees.

4.1.7 Manufacturer of Sensor/Instrument

Wind Profiler: NOAA/ETL  (Contact:  James Wilczak at the address found in Section 2)

4.2 Calibration

4.2.1 Specifications

None given.

4.2.1.1 Tolerance

None given.

4.2.2 Frequency of Calibration

None given.

4.2.3 Other Calibration Information

None given.

5. Data Acquisition Methods

During the course of one hour the radar makes 18 cycles through each of the three radial beams, averaging for 60 seconds on each beam.  These measurements require a total of 54 minutes. Prior to this the RASS temperature profile is measured on the vertical beam during the first 5 minutes of the hour.  During BOREAS, the RASS temperature observations consisted of 15 measurements, each 15 seconds in length.  Each of these individual radial measurements of both wind and temperature are then quality controlled through an automated pattern recognition scheme, and then combined into a single value of wind and temperature reported for each hour.

6. Observations

6.1 Data Notes

The wind profiler operated unattended for most of the 4 month observation period.

6.2 Field Notes

The wind profiling radar and surface meteorological station were located at a site 1.0 km  south and 1.6 km east of the Old Jack Pine tower flux site.  The radar site was in a clearing in the Jack Pine forest, with fetches (clear distances) of 200 m to the north, 500 m to the south, 150 m to the east, and 1.0 km to the west.  Ground cover within the clearing consisted of grass, brush, and young Jack Pine trees, approximately 1-2 m tall.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

The North American Datum 1983 (NAD83) coordinates of the site are:

Lat.    =  53.91 degrees,  North

Long.   =  104.40 degrees, West

Alt.    =  511 m meters above sea level

This location is the SSA, 1.0 km south, and 1.6 km east of the OJP flux tower.

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

Beamwidth =  9.9 degrees (One-way, 3 dB)

Range resolution = 101 m

Range limits  = 0.112 - 3.889 km above ground level (38 range gates)

7.1.4 Projection

Not applicable.

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

Measurements were made from 21-May-1994 through 20-Sep-1994.

7.2.2 Temporal Coverage Map

Not available

7.2.3 Temporal Resolution

Measurements were made every hour during the period.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (afm06ihd.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (afm06ihd.def).

8. Data Organization

8.1 Data Granularity

All of the boundary layer height data are in one file.

8.2 Data Format(s)

The data files contain ASCII numerical and character fields of varying length separated by commas. The character fields are enclosed with single apostrophe marks. There are no spaces between the fields. Sample data records are shown in the companion data definition file (afm06ihd.def).

9. Data Manipulations

9.1 Formulae

9.1.1 Derivation Techniques and Algorithms

None given.

9.2 Data Processing Sequence

9.2.1 Processing Steps

During the course of one hour the radar makes 18 cycles through each of the three radial beams, averaging for 60 seconds on each beam.  These measurements require a total of 54 minutes. Prior to this the RASS temperature profile is measured on the vertical beam during the first 5 minutes of the hour.  During BOREAS, the RASS temperature observations consisted of 15 measurements, each 15 seconds in length.  Each of these individual radial measurements of both wind and temperature are then quality controlled through an automated pattern recognition scheme, and then combined into a single value of wind and temperature reported for each hour.

9.2.2 Processing Changes

None given.

9.3 Calculations

9.3.1 Special Corrections/Adjustments

None given.

9.3.2 Calculated Variables

None given.

9.4 Graphs and Plots

None given.

10. Errors

10.1 Sources of Error

During spring and autumn seasons it is possible that the profiler winds can be contaminated by the presence of migrating birds. These errors are now well-understood, and can be recognized from large values of signal power, spectral width, and sudden changes in wind speed occurring near sunset and sunrise.  Periods of contaminated winds have been hand edited from the data set.  Birds do not directly effect RASS temperatures, although they could have a secondary effect by contaminating vertical velocity, which is used to correct RASS temperatures. No corrections for contaminated vertical velocities on RASS have been made.

10.2 Quality Assessment

10.2.1 Data Validation by Source

See 10.2.3.

10.2.2 Confidence Level/Accuracy Judgment

See 10.2.3

10.2.3 Measurement Error for Parameters

During the first 3 days and last three days of operation, ETL personnel were at the site taking balloon intercomparisons.  These assessments have shown typical values of agreement of the balloons with profiler, typically 1-2 m/s and 1 deg C.  Winds velocity differences between 915 MHz wind profilers and precision research aircraft have been found to be on the order of 0.9 m/s.

10.2.4 Additional Quality Assessments

None given.

10.2.5 Data Verification by Data Center

BORIS personnel verified that the delivered data agreed with the information provided by the AFM-06 team.

11. Notes

11.1 Limitations of the Data

None given.

11.2 Known Problems with the Data

None given.

11.3 Usage Guidance

None given.

11.4 Other Relevant Information

None given.

12. Application of the Data Set

These data could be used in conjunction with the other AFM-06 data sets to get a detailed characterization of the atmosphere above the SSA-OJP site.

13. Future Modifications and Plans

None given.

14. Software

14.1 Software Description

None given.

14.2 Software Access

None given.

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

Elizabeth.Nelson@gsfc.nasa.gov

15.2 Data Center Identification

See section 15.1

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, FAX, or personal visit.

15.4 Data Center Status/Plans

The AFM-06 boundary layer height data are available from the EOSDIS ORNL DAAC (Earth Observing System Data and Information System) (Oak Ridge National Laboratory) (Distributed Active Archive Center). The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1 Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

Tabular ASCII files.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

Angevine, W. M., and Ecklund, W. L.:  1994,  Errors in Radio Acoustic Sounding of Temperature, J. Atmos. Ocean. Technol. 11, 42 49.

Angevine, W. M., and MacPherson, J. I.:  1995,  Comparison of Wind Profiler and Aircraft Wind Measurements at Chebogue Point, Nova Scotia, J. Atmos. Ocean. Technol. 12(2), 421 426.

Gage, K. S., Williams, C. R., and Ecklund, W. L.:  1994,  UHF Wind Profilers:  A New Tool for Diagnosing Tropical Convective Cloud Systems.  Bull. Amer. Meteor. Soc. 75, 2289 2294.

Gossard, E. E., and Strauch, R. G.:  1983, Radar Observations of Clear Air and Clouds, Elsevier, Amsterdam, 280 pp.

May, P. T., Moran, K. P., and Strauch, R. G.:  1989,  The Accuracy of RASS Temperature Measurements, J. Appl. Meteor. 28, 1329 1335.

Moran, K. P., and Strauch, R. G.:  1994,  The Accuracy of RASS Temperature Measurements Corrected for Vertical Air Motion, J. Atmos. Ocean. Technol. 11, 995 1001.

Peters, G.:  1994,  Correction of Turbulence Induced Errors of RASS Temperature Profiles, Proc., 3rd Intl Symp. on Tropospheric Profiling:  Needs and Technologies, Hamburg, Max Planck-Gesellschaft zur F"rderung der Wissenschaften, pp. 266 268.

17.2 Journal Articles and Study Reports

Angevine, W. M., White, A. B., and Avery, S. K.:  1994b,  Boundary-Layer Depth and Entrainment Zone Characterization with a Boundary-Layer Profiler, Boundary-Layer Meteorol. 68, 375 385.

May, P. T., and Wilczak, J. M.:  1993,  Diurnal and Seasonal Variations of Boundary Layer Structure Observed with a Radar Wind Profiler and RASS, Mon. Wea. Rev. 121, 673 682.

Merritt, D. A.:  1995,  A Statistical Averaging Method for Wind Profiler Doppler Spectra, J. Atmos. Ocean. Technol. (accepted for publication).

Ralph, F. M.:  1995,  Using Radar-Measured Radial Vertical Velocities to Distinguish Precipitation Scattering from Clear-Air Scattering, J. Atmos. Ocean. Technol. 12, 257 267.

Rogers, R. R., Ecklund, W. L., Carter, D. A., Gage, K. S., and Ethier, S. A.:  1993,  Research Applications of a Boundary-Layer Wind Profiler, Bull. Amer. Meteor. Soc. 74, 567 580.

Sellers, P., F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P., F. Hall, K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P., F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M. Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J.

Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B. Goodison, D.E. Wickland, and F.E. Guertin. (1997). "BOREAS in 1997:

Experiment Overview, Scientific Results and Future Directions", Journal of Geophysical Research (JGR), BOREAS Special Issue, 102(D24), Dec. 1997, pp.

28731-28770.

Whiteman, C. D., and Bian, X.:  1994,  Semidurnal Solar Tides in the Mountain Atmosphere, Proc., 23rd Conf. on Alpine Meteorology (Lindau, Germany), Deutsche Wetterdienst, Offenbach, Germany.

Wilczak, J. M., Strauch, R. G., Ralph, F. M., Weber, B. L., Merritt, D. A., Jordan, J. R., Wolfe, D. E., Lewis, L. K., Wuertz, D. B., Gaynor, J. E., McLaughlin, S. A., Rogers, R. R., Riddle, A. C., and Dye, T. S.: 1995,  Contamination of Wind Profiler Data by Migrating Birds: Characteristics of Corrupted Data and Potential Solutions, J. Atmos. Ocean. Technol. 12, 449 467.

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None.

19. List of Acronyms

ABL     - Atmospheric Boundary Layer

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

DAAC    - Distributed Active Archive Center

EOS     - Earth Observing System

ETL     - Environment Technology Laboratory

EOSDIS  - EOS Data and Information System

GMT     - Greenwich Mean Time

GSFC    - Goddard Space Flight Center

NASA    - National Aeronautics and Space Administration

NOAA    - National Oceanic and Atmospheric Administration

OJP     - Old Jack Pine

ORNL    - Oak Ridge National Laboratory

RASS    - Radio Acoustic Sounding System

SSA     - Southern Study Area

URL     - Uniform Resource Locator

20. Document Information

20.1 Document Revision Dates

Written: 07-Jun-1996

Last Updated: 05-Feb-1999

20.2 Document Review Dates

BORIS Review: 29-Jan-1999

Science Review:

20.3 Document ID

20.4 Citation

Wind profiler (and/or surface meteorological) data provided by Dr. James Wilczak, NOAA Environmental Technology Laboratory

20.5 Document Curator

20.6 Document URL

Keywords

--------

Boundary Layer Heights

Inversion Height