BOREAS AFM-06 Mean Wind Profile Data





Summary:





The BOREAS AFM-06 team from the National Oceanic and Atmospheric Administration Environment Technology Laboratory (NOAA/ETL) operated a 915 MHz wind/Radio Acoustic Sounding System (RASS) profiler system in the Southern Study Area (SSA) near the Old Jack Pine (OJP) tower from 21-May-1994 to 20-Sep-1994.  The data set provides wind profiles at 38 heights, containing the variables of wind speed, wind direction and the u-, v-, and w-components of the total wind. 





Table of Contents





   *  1 Data Set Overview


   *  2 Investigator(s)


   *  3 Theory of Measurements


   *  4 Equipment


   *  5 Data Acquisition Methods


   *  6 Observations


   *  7 Data Description


   *  8 Data Organization


   *  9 Data Manipulations


   *  10 Errors


   *  11 Notes


   *  12 Application of the Data Set


   *  13 Future Modifications and Plans


   *  14 Software


   *  15 Data Access


   *  16 Output Products and Availability


   *  17 References


   *  18 Glossary of Terms


   *  19 List of Acronyms


   *  20 Document Information





1. Data Set Overview





1.1 Data Set Identification.





BOREAS AFM-06 Mean Wind Profile Data





1.2  Data Set Introduction





The data were collected by Boreas Ecosystem Atmospheric Study (BOREAS) Aircraft Flux and Meteorology Team #6 (AFM-06) team during 5 months covering late spring and summer in 1994.  The Wind profiler data were measured by the NOAA/ETL 915 MHz wind/RASS profiler.  The data were collected near the SSA-OJP tower.





1.3 Objective/Purpose





The BOREAS field work objectives were to measure continuous hourly profiles of wind velocity and temperature in the atmospheric boundary layer and lower troposphere, to measure the depth of the daytime convective boundary layer, and to measure the occurrence of precipitation, all using a 915 MHz radar wind/RASS profiler.  The data were then to be used to document average boundary layer structure, and especially changes in boundary layer structure during the course of the boreal summer growing season.   





1.4 Summary of the parameters.





The AFM-06 wind profile data includes vertical profiles of wind velocity and u-, v-, w-components of the wind.





1.5 Discussion.





NOAA/ETL operated a 915 MHz wind profiling radar and surface meteorological station near the Old Jack Pine site in the BOREAS Southern Study Area.  These instruments ran continuously from 21-May-1994 through 20-Sep-1994.





The data provided by the wind profiler are vertical profiles of wind speed and direction and virtual temperature, as well as boundary layer depth (Zi) and the presence of precipitation. These measurements were made with 100 m vertical resolution with the lowest measurement height at 150 m above ground level.  The maximum height sampled was 3850 m agl, although on many days the maximum height of the wind measurements was in the range of 2-3 km due to weak signal strength in the region of the lower troposphere above the atmospheric boundary layer (ABL).





1.6 Related Data Sets.





BOREAS AFM-06 Mean Temperature Profile Data


BOREAS AFM-06 Boundary Layer Height Data


BOREAS AFM-06 Surface Meteorological Data





2. Investigator(s)





2.1 Investigator(s) Name and Title





Robert Banta, Brooks Martner, James Wilczak


NOAA Environmental Laboratory





2.2 Title of Investigation





Outer Boundary Layer Effects on Surface Fluxes of Momentum, Heat, Moisture, and Greenhouse Gases from the Boreal Forest  





2.3 Contact Information





Contact 1


-------------


James Wilczak


NOAA/ETL


Boulder, CO


Phone: (303) 497-6245


E-mail:  jwilczak@etl.noaa.gov





Contact 2


------------


Jeffrey A. Newcomer


Raytheon ITSS


NASA GSFC


Greenbelt, MD     


(301) 286-7858


(301) 286-0239 (fax)


Jeffrey.Newcomer@gsfc.nasa.gov








3. Theory of Measurements





The above measurements were obtained by measuring the zeroth, first, and second moments of the radar Doppler spectrum.  The zeroth moment is the signal power.  The range corrected signal power can alternatively be expressed in terms of the turbulence structure parameter Cn2.  It is well-known that the vertical profile of Cn2 exhibits a sharp peak at the midpoint of the inversion transition region,  due to local mixing of relatively cool, moist boundary layer air with warmer and dryer air aloft.  Our measurements of Zi were obtained from the peak value in the vertical profile of Cn2 from a vertically pointing radar beam.  The first moment of the Doppler spectrum is the Doppler velocity. The vertical profile of wind velocity was measured by combining the Doppler velocities measured along three radar beams: one vertical, and two oblique beams pointing at elevations of 75 degrees, oriented 90 degrees apart.  The vertical profile of virtual temperature was measured using RASS (Radio Acoustic Sounding System), in which an array of acoustic speakers surround the radar and generate a sound pulse. The radar signal reflects off of this acoustic wave front, and the measured Doppler shift indicates the velocity of the sound pulse, which is proportional to the virtual temperature of the air.  The second moment of the Doppler spectrum, or spectral width, can provide a measure of the strength of the turbulence within the boundary layer.  The second moment has not been directly used in the present analysis.  Finally, the presence of precipitation is determined by using both signal power and the vertical velocity.  Rain and snow have much greater signal power than does clear air, and nearly uniform downward velocities. Rain can be distinguished from snow by its greater reflectivity, and by its greater fall velocity. Because of the high sensitivity of the profiler, it is capable of  detecting small amounts of rain that might not be measured by a traditional surface rain gauge. The profiler detects only the presence of precipitation, however, and at present cannot give a quantitative measure of rainfall amount.





4. Equipment:





4.1 Sensor/Instrument Description





915 MHz wind profiling radar with RASS.





4.1.1 Collection Environment





The 915 MHz profiler was used during various ambient weather conditions that occurred at the BOREAS SSA-OJP site.





4.1.2 Source/Platform





Ground based.





4.1.3 Source/Platform Mission Objectives





The ground supported the needed instrumentation.





4.1.4 Key Variables





Included in this data set are wind profiles at 38 heights, containing the variables of wind speed, wind direction and the u-, v-, and w-components of the total wind.





4.1.5 Principles of Operation





Standard Doppler radar techniques.





4.1.6 Sensor/Instrument Measurement Geometry





One vertical beam, two oblique beams 15 degrees from vertical at an elevation of 75 degrees.





4.1.7 Manufacturer of Sensor/Instrument





Wind Profiler: NOAA/ETL (Contact: James Wilczak at the address found in Section 2)





4.2 Calibration





4.2.1 Specifications





None given.





4.2.1.1 Tolerance





None given.





4.2.2 Frequency of Calibration





None given.





4.2.3 Other Calibration Information





None given.





5. Data Acquisition Methods





During the course of one hour the radar makes 18 cycles through each of the three radial beams, averaging for 60 seconds on each beam.  These measurements require a total of 54 minutes. Prior to this the RASS temperature profile is measured on the vertical beam during the first 5 minutes of the hour.  During BOREAS, the RASS temperature observations consisted of 15 measurements, each 15 seconds in length.  Each of these individual radial measurements of both wind and temperature are then quality controlled through an automated pattern recognition scheme, and then combined into a single value of wind and temperature reported for each hour. 





6. Observations





6.1 Data Notes





The wind profiler operated unattended for most of the 4 month observation period. 





6.2 Field Notes





The wind profiling radar and surface meteorological stations were located at a site 1.0 km south and 1.6 km east of the SSA-OJP tower flux site.  The radar site was in a clearing in the Jack Pine forest, with fetches (clear distances) of 200 m to the north, 500 m to the south, 150 m to the east, and 1.0 km to the west.  Ground cover within the clearing consisted of grass, brush, and young Jack Pine trees, approximately 1-2 m tall. 





7. Data Description





7.1 Spatial Characteristics





7.1.1 Spatial Coverage





The North American Datum 1983 (NAD83) coordinates of the site are:





Lat.    =  53.91 degrees, North


Long.   =  104.40 degrees, West


Alt.    =  511 m meters above sea level





This is located 1.0 km south, and 1.6 km east of the SSA-OJP flux tower.





7.1.2 Spatial Coverage Map





Not applicable.





7.1.3 Spatial Resolution





Beamwidth =  9.9 degrees (One-way, 3 dB)


Range resolution = 101 m


Range limits  = 0.112 - 3.889 km above ground level (38 range gates)





7.1.4 Projection





Not applicable.





7.1.5 Grid Description





Not applicable.





7.2 Temporal Characteristics





7.2.1 Temporal Coverage





Measurements were made from 21-May-1994 through 20-Sep-1994.





7.2.2 Temporal Coverage Map





Not available





7.2.3 Temporal Resolution





Measurements were made 15 times per hour during the period.





7.3 Data Characteristics





Data characteristics are defined in the companion data definition file (afm06pwd.def).





7.4 Sample Data Record





Sample data format shown in the companion data definition file (afm06pwd.def).





8. Data Organization





8.1 Data Granularity





All of the mean wind profile data are in one file.





8.2 Data Format(s)





The data files contain ASCII numerical and character fields of varying length separated by commas. The character fields are enclosed with single apostrophe marks. There are no spaces between the fields. Sample data records are shown in the companion data definition file (afm06pwd.def).





9. Data Manipulations





9.1 Formulae





9.1.1 Derivation Techniques and Algorithms





None given.





9.2 Data Processing Sequence





9.2.1 Processing Steps





During the course of one hour the radar makes 18 cycles through each of the three radial beams, averaging for 60 seconds on each beam.  These measurements require a total of 54 minutes. Prior to this the RASS temperature profile is measured on the vertical beam during the first 5 minutes of the hour.  During BOREAS, the RASS temperature observations consisted of 15 measurements, each 15 seconds in length.  Each of these individual radial measurements of both wind and temperature are then quality controlled through an automated pattern recognition scheme, and then combined into a single value of wind and temperature reported for each hour. 





9.2.2 Processing Changes





None given.





9.3 Calculations





9.3.1 Special Corrections/Adjustments





None given.





9.3.2 Calculated Variables





None given.





9.4 Graphs and Plots





None given.





10. Errors





10.1 Sources of Error





During spring and autumn seasons it is possible that the profiler winds can be contaminated by the presence of migrating birds. These errors are now well-understood, and can be recognized from large values of signal power, spectral width, and sudden changes in wind speed occurring near sunset and sunrise.  Periods of contaminated winds have been hand edited from the data set.  Birds do not directly effect RASS temperatures, although they could have a secondary effect by contaminating vertical velocity, which is used to correct RASS temperatures. No corrections for contaminated vertical velocities on RASS have been made.





10.2 Quality Assessment








10.2.1 Data Validation by Source





See 10.2.3





10.2.2 Confidence Level/Accuracy Judgement





See 10.2.3





10.2.3 Measurement Error for Parameters





During the first 3 days and last three days of operation, ETL personnel were at the site taking balloon intercomparisons.  These assessments have shown typical values of agreement of the balloons with profiler, typically 1-2 m/s and 1 deg C.  Winds velocity differences between 915 MHz wind profilers and precision research aircraft have been found to be on the order of 0.9 m/s.





10.2.4 Additional Quality Assessments





None given.





10.2.5 Data Verification by Data Center





BORIS personnel verified that the delivered data agreed with the information provided by the AFM-06 team.





11. Notes





11.1 Limitations of the Data





None given.





11.2 Known Problems with the Data





None given.





11.3 Usage Guidance





None given.





11.4 Other Relevant Information





None given.





12. Application of the Data Set





These data would be used to study and model wind motion at various levels of the atmosphere above the site.





13. Future Modifications and Plans





None given.





14. Software





14.1 Software Description





None given.





14.2 Software Access





None given.





15. Data Access





15.1 Contact Information





Ms. Beth Nelson


BOREAS Data Manager


NASA GSFC


Greenbelt, MD


(301) 286-4005


(301) 286-0239 (fax)


Elizabeth.Nelson@gsfc.nasa.gov





15.2 Data Center Identification





See section 15.1





15.3 Procedures for Obtaining Data





Users may place requests on line or by telephone, electronic mail, or FAX. oper





15.4 Data Center Status/Plans





The AFM-06 wind profiler data are available from the EOSDIS ORNL DAAC (Earth Observing System Data and Information System) (Oak Ridge National Laboratory) (Distributed Active Archive Center). The BOREAS contact at ORNL is: 





ORNL DAAC User Services


Oak Ridge National Laboratory


(865) 241-3952


ornldaac@ornl.gov


ornl@eos.nasa.gov





16. Output Products and Availability





16.1 Tape Products





None.





16.2 Film Products





None.





16.3 Other Products





Tabular ASCII files.





17. References





17.1 Platform/Sensor/Instrument/Data Processing Documentation 





Angevine, W. M., and Ecklund, W. L.:  1994,  Errors in Radio Acoustic Sounding of Temperature, J. Atmos. Ocean. Technol. 11, 42 49.





Angevine, W. M., and MacPherson, J. I.:  1995,  Comparison of Wind Profiler and Aircraft Wind Measurements at Chebogue Point, Nova Scotia, J. Atmos. Ocean. Technol. 12(2), 421 426.





Gage, K. S., Williams, C. R., and Ecklund, W. L.:  1994,  UHF Wind Profilers:  A New Tool for Diagnosing Tropical Convective Cloud Systems.  Bull. Amer. Meteor. Soc. 75, 2289 2294.





Gossard, E. E., and Strauch, R. G.:  1983, Radar Observations of Clear Air and Clouds, Elsevier, Amsterdam, 280 pp. 





May, P. T., Moran, K. P., and Strauch, R. G.:  1989,  The Accuracy of RASS Temperature Measurements, J. Appl. Meteor. 28, 1329 1335.





Moran, K. P., and Strauch, R. G.:  1994,  The Accuracy of RASS Temperature Measurements Corrected for Vertical Air Motion, J. Atmos. Ocean. Technol. 11, 995 1001.





Peters, G.:  1994,  Correction of Turbulence Induced Errors of RASS Temperature Profiles, Proc., 3rd Intl Symp. on Tropospheric Profiling:  Needs and Technologies, Hamburg, Max Planck-Gesellschaft zur F"rderung der Wissenschaften, pp. 266 268.





17.2 Journal Articles and Study Reports





Angevine, W. M., White, A. B., and Avery, S. K.:  1994b,  Boundary-Layer Depth and Entrainment Zone Characterization with a Boundary-Layer Profiler, Boundary-Layer Meteorol. 68, 375 385.





May, P. T., and Wilczak, J. M.:  1993,  Diurnal and Seasonal Variations of Boundary Layer Structure Observed with a Radar Wind Profiler and RASS, Mon. Wea. Rev. 121, 673 682.





Merritt, D. A.:  1995,  A Statistical Averaging Method for Wind Profiler Doppler Spectra, J. Atmos. Ocean. Technol. (accepted for publication).  





Ralph, F. M.:  1995,  Using Radar-Measured Radial Vertical Velocities to Distinguish Precipitation Scattering from Clear-Air Scattering, J. Atmos. Ocean. Technol. 12, 257 267. 





Rogers, R. R., Ecklund, W. L., Carter, D. A., Gage, K. S., and Ethier, S. A.:  1993,  Research Applications of a Boundary-Layer Wind Profiler, Bull. Amer. Meteor. Soc. 74, 567 580.  





Sellers, P. and F. Hall.  1994.  Boreal Ecosystem-Atmosphere Study:  Experiment Plan.  Version 1994-3.0, NASA BOREAS REPORT (EXPLAN 94).





Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577. 





Sellers, P., F. Hall, K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94). 





Sellers, P., F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96). 





Sellers, P., F. Hall, K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96). 





Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M. Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J.


Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B. Goodison, D.E. Wickland, and F.E. Guertin. (1997). "BOREAS in 1997:


Experiment Overview, Scientific Results and Future Directions", Journal of Geophysical Research (JGR), BOREAS Special Issue, 102(D24), Dec. 1997, pp.


28731-28770.





Whiteman, C. D., and Bian, X.:  1994,  Semidurnal Solar Tides in the Mountain Atmosphere, Proc., 23rd Conf. on Alpine Meteorology (Lindau, Germany), Deutsche Wetterdienst, Offenbach, Germany.





Wilczak, J. M., Strauch, R. G., Ralph, F. M., Weber, B. L., Merritt, D. A., Jordan, J. R., Wolfe, D. E., Lewis, L. K., Wuertz, D. B., Gaynor, J. E., McLaughlin, S. A., Rogers, R. R., Riddle, A. C., and Dye, T. S.: 1995,  Contamination of Wind Profiler Data by Migrating Birds: Characteristics of Corrupted Data and Potential Solutions, J. Atmos. Ocean. Technol. 12, 449 467.





17.3 Archive/DBMS Usage Documentation





None.





18. Glossary of Terms





None given.





19. List of Acronyms





    ABL     - Atmospheric Boundary Layer


    BOREAS  - BOReal Ecosystem-Atmosphere Study


    BORIS   - BOREAS Information System


    DAAC    - Distributed Active Archive Center


    EOS     - Earth Observing System


    ETL     - Environment Technology Laboratory


    EOSDIS  - EOS Data and Information System


    GMT     - Greenwich Mean Time


    GSFC    - Goddard Space Flight Center


    NASA    - National Aeronautics and Space Administration


    NOAA    - National Oceanic and Atmospheric Administration


    OJP     - Old Jack Pine


    ORNL    - Oak Ridge National Laboratory


    RASS    - Radio Acoustic Sounding System


    SSA     - Southern Study Area


    URL     - Uniform Resource Locator





20. Document Information





20.1 Document Revision Dates





     Written: 07-Jun-1996


     Last Updated:  05-Feb-1999





20.2 Document Review Dates





     BORIS Review: 29-Jan-1999   


     Science Review: 





20.3 Document ID 





20.4 Citation





Wind profiler (and/or surface meteorological) data provided by Dr. James Wilczak, NOAA Environmental Technology Laboratory





20.5 Document Curator 





20.6 Document URL





Keywords


--------


Atmospheric wind profiles


Wind Speed


Wind Direction


� FILENAME �AFM06_WindProf.doc�


03/03/99











