BOREAS HYD-01 Under-Canopy Precipitation Data





Summary





Under-canopy precipitation measurements were made by the BOREAS HYD-01 science team in 1994, 1995, and 1996 at various flux tower sites in the NSA and SSA.  In 1994, these data were collected at the NSA-OJP, NSA-YJP, SSA-OJP, and SSA-YJP sites.  Starting in 1995 and ending in 1997, data were collected at the NSA-OBS, NSA-OJP, NSA-YJP, and SSA-OA.  These data were collected to support HYD-01 research by measuring the amount of water that falls through the canopy and is intercepted by the ground or moss.  These data coincide with volumetric soil moisture measurements made by HYD-01. 





Table of Contents





   *  1 Data Set Overview


   *  2 Investigator(s)


   *  3 Theory of Measurements


   *  4 Equipment


   *  5 Data Acquisition Methods


   *  6 Observations


   *  7 Data Description


   *  8 Data Organization


   *  9 Data Manipulations


   *  10 Errors


   *  11 Notes


   *  12 Application of the Data Set


   *  13 Future Modifications and Plans


   *  14 Software


   *  15 Data Access


   *  16 Output Products and Availability


   *  17 References


   *  18 Glossary of Terms


   *  19 List of Acronyms


   *  20 Document Information





1. Data Set Overview





1.1 Data Set Identification





BOREAS HYD-01 Under-Canopy Precipitation Data





1.2 Data Set Introduction





Under canopy precipitation measurements were made by the BOReal Ecosystem-Atmosphere Study (BOREAS) Hydrology team number 1 (HYD-01) in 1994, 1995, and 1996 at various flux tower sites in the Northern Study Area (NSA) and the Southern Study Area (SSA).  In 1994, these data were collected at the NSA-Old Jack Pine (OJP), NSA-Young Jack Pine (YJP), SSA-OJP, and SSA-YJP sites.  Starting in 1995 and ending in 1997, data were collected at the NSA-Old Black Spruce (OBS), NSA-OJP, NSA-YJP, and SSA-Old Aspen (OA).  





1.3 Objective/Purpose





The objective of this study was to measure under-canopy precipitation at the flux towers where soil moisture was being measured.





1.4 Summary of Parameters





Under-Canopy Precipitation





1.5 Discussion





Under-canopy precipitation was used to close the local hydrologic balance in the vicinity of the soil profiles.  By placing an under-canopy rain gauge device in the vicinity of each soil moisture profile, ideally, the volumetric soil moisture increase in the profile should equal the applied precipitation measured by the rain gauge.  This provides an important check for the soil moisture measurements.  Additionally, the under-canopy precipitation can be used to estimate canopy interception by comparing to gauges mounted above the canopy on the towers.





1.6 Related Data Sets





BOREAS HYD-01 Volumetric Soil Moisture Data


BOREAS HYD-01 Soil Hydraulic Properties


BOREAS HYD-06 Moss/Humus Moisture Data


BOREAS HYD-06 Ground Measurements of Soil Moisture


BOREAS HYD-06 Aircraft Gamma Ray Soil Moisture Data





2. Investigator(s)





2.1 Investigator(s) Name and Title





Richard H. Cuenca, Professor


Oregon State University





2.2 Title of Investigation





Coupled Atmosphere-Forest Canopy-Soil Profile Monitoring and Simulation





2.3 Contact Information





Contact 1


------------


Richard H. Cuenca, Professor


Oregon State University


Corvallis, OR 


(541) 737-6307


(541) 737-2082 (fax)


cuencarh@pandora.bre.orst.edu





Contact 2


------------


For questions regarding 1995, 1996, and 1997 data collection:





Shaun F. Kelly, Research Assistant


Oregon State University


Corvallis, OR


(541) 737-6314 


(541) 737-2082 (fax)


kellys@engr.orst.edu





Contact 3


------------


For questions regarding 1994 data collection:





David Stangel


Oregon State University


Corvallis, Oregon


(503) 737-6314


(503) 737-2082  (fax)


stangel@pandora.bre.orst.edu





Contact 4


------------


David Knapp


Raytheon ITSS


NASA GSFC


Greenbelt, MD


(301) 286-1424


(301) 286-0239  (fax)


David.Knapp@gsfc.nasa.gov





3. Theory of Measurements





These measurements of under-canopy precipitation were made to determine the amount of precipitation that hit the soil, below a forested canopy.  These measurements are useful in determining the amount of water that went into the soil, increasing the volumetric soil moisture.





4. Equipment





4.1 Sensor/Instrument Description





4.1.1 Collection Environment





The wedge-shaped rain gauge is inserted into a bracket that is supplied with the gauge.  The bracket is mounted on a short wood stake that has been driven into the ground a few inches.  To read the gauge, water levels are recorded within the gauge with the highest accuracy possible for the corresponding water level.  After each reading, the gauge is removed from the bracket and emptied of its contents.





Tipping bucket rain gauges were mounted on a 0.5-in. diameter metal pipe (3 ft long) inserted into the ground. The tipping bucket was secured to the pipe using hose clamps at a height of 0.5 m (from funnel lip). The tipping bucket was leveled and debris cleaned from the screen during site visits.  Under-canopy rain gauges were located in the vicinity of soil moisture measurement profiles.





4.1.2 Source/Platform





The rain gauge is mounted on a wooden stake. 





4.1.3 Source/Platform Mission Objectives





The wooden stake is used to hold the rain gauge.





4.1.4 Key Variables





Under canopy precipitation�


4.1.5 Principles of Operation





Rain Gauge





The wedge-shaped rain gauge is mounted on a stake at ground level.  It can measure up to 150 cm of water and the accuracy decreases as more water accumulates in the gauge.  Measurement line density varies from +/- 0.1 cm at the bottom to +/- 2.5 cm at the top.





The tipping bucket rain gauge is a smaller adaptation of the standard Weather Bureau tipping bucket rain gauge. It measures precipitation at rates up to 2 in. per hour with an accuracy of +/-1%. Output is a switch closure for each bucket tip.  A tip occurs with each 0.1 mm of precipitation.





In 1994, the rain gauges were read every other day during the Intensive Field Campaigns (IFCs) corresponding to a neutron probe water content measurement.  All water contents are for the time interval between the date of the measurement and the last recorded precipitation event.  The rain gauges were located at the OJP and YJP sites in both the NSA and the SSA.  The rain gauges were installed less than 2 feet from the neutron probe access tubes.   In general terms the gauges were located between 50 and 150 meters in a northeasterly direction out from the flux tower.





4.1.6 Sensor/Instrument Measurement Geometry





Not applicable





4.1.7 Manufacturer of Sensor/Instrument





Wedge-shaped Rain Gauges:





Tru-Check


Edwards Mfg.Co


Box 166


Albert Lea, MN  56007


(507) 373-8206





Tipping Bucket Rain Gauges:





Texas Electronics


P.O. Box 7225, Inwood-Station


Dallas, TX 75209


(214) 631-2490





4.2 Calibration





4.2.1 Specifications





Wedge-shaped Rain Gauges:





None given.





TE525 Tipping Bucket Rain Gauge





Range of Indication:


Infinite, in increments of 0.1 mm


Accuracy:


	1.0% at 2 inch/hr or less


Signal Output:


	Momentary switch closure approximately 135 ms


Environmental Limits:


Temperature: 0 to 50 °C


Humidity: 0 – 100%


Physical Data:


	Diameter: 6.25 in. overall


	Height: 12 in.


	Weight: 2.5 lbs.


Receiving Orifice: Gold anodized spun aluminum knife-edge collector ring


and funnel assembly


	Ring Diameter: 9.664 in.


	Resolution: 0.1 mm


	Calibration: 16.00 fluid oz. (100 bucket tips)


	Mounting: Side bracket with clamps mounted to pole


	Material: Aluminum


	Cable: 2-conductor standard shielded cable





4.2.1.1 Tolerance





None given.





4.2.2 Frequency of Calibration





The wedge rain gauge was not field calibrated.





TE525 Tipping Bucket Rain Gauge





Calibration/Cleaning Frequency:


	Sensor is factory calibrated and does not require field calibration.


	Debris filters, funnel orifices, and bucket reservoirs were cleaned during


	site inspections.





4.2.3 Other Calibration Information





None.





5. Data Acquisition Methods





The data were acquired by reading the wedge-shaped rain gauges (1994) on a regular bassis, when soil moisture was measured.





After the 1994 data collection, the data were read from the tipping bucket rain gauges.


 


6. Observations





6.1 Data Notes





Some clogging occurred during the measurement periods at long-term measurement sites, which allowed water to pool in the funnel.





6.2 Field Notes





None.





7. Data Description





7.1 Spatial Characteristics





7.1.1 Spatial Coverage





Multiple in situ measurements were made in the vicinity of the flux towers for each respective site.  In 1994, these data were collected at the OJP and YJP sites in the NSA and SSA.  After 1994, they were collected at the OBS, OJP, and YJP sites in the NSA and at the OA in the SSA.  The North American Datum 1983 (NAD83) coordinates of the sites are:


�SITE                   LONGITUDE      LATITUDE  


------------------   -------------  -------------


NSA-OJP               98.62396° W    55.92842° N


NSA-YJP               98.28706° W    55.89575° N


NSA-OBS               98.48139° W    55.88007° N


SSA-OA               106.19779° W    53.62890° N


SSA-OJP              104.69203° W    53.91634° N


SSA-YJP              104.64529° W    53.87581° N





7.1.2 Spatial Coverage Map





The following maps were provided showing the sites where measurements were made in 1996.





1996 Measurements at NSA OJP





�





1996 Measurements at NSA YJP





�





7.1.3 Spatial Resolution





These data represent point measurements at the designated sites.





7.1.4 Projection





Not applicable.





7.1.5 Grid Description





Not applicable.





7.2 Temporal Characteristics





7.2.1 Temporal Coverage





The periods over which data were collected at each site varied.  The overall period of data collection was from 23-MAY-1994 to 24-JUN-1997.





7.2.2 Temporal Coverage Map





              Data Collection


Site        Start           End______         


NSA-OJP   15-Jun-1994    15-Sep-1994


NSA-YJP   31-May-1994    15-Sep-1994


SSA-OJP   23-May-1994    06-Sep-1994


SSA-YJP   23-May-1994    06-Sep-1994





After 1994





              Data Collection


Site        Start           End______         


NSA-OJP   25-Jun-1996    06-Nov-1996


NSA-YJP   27-Jun-1996    06-Nov-1996


NSA-OBS   14-Jul-1995    24-Jun-1997


SSA-OA    17-Jun-1996    02-Nov-1996





7.2.3 Temporal Resolution





In 1994, the measurements were made every other day during the field campaigns, corresponding to soil moisture measurements.





After 1994, with the automated equipment in place, measurements were taken every hour while precipitation events were occurring.  





7.3 Data Characteristics





Data characteristics are defined in the companion data definition file (h01uncpd.def).





7.4 Sample Data Record





Sample data format shown in the companion data definition file (h01uncpd.def).





8. Data Organization





8.1 Data Granularity





Data for 1994 is in one file and data for 1995-1997 is in a second.





8.2 Data Format(s)





The data files contain numerical and character fields of varying length separated by commas. The character fields are enclosed with single apostrophe marks. There are no spaces between the fields. Sample data records are shown in the companion data definition file (h01uncpd.def).





9. Data Manipulations





9.1 Formulae





9.1.1 Derivation Techniques and Algorithms





The amount of precipitation is read directly from the wedge-shaped gauge.





For the tipping bucket gauges, the amount of precipitation is determined from the number of tips (see Section 4.2.1).





9.2 Data Processing Sequence





9.2.1 Processing Steps





The BOREAS Information System (BORIS) staff processed the data by:





1) Reviewing the initial data files and loading them on-line for BOREAS team access


2) Designing relational data base tables to inventory and store the data


3) Loading the data into the relational data base tables


4) Working with the HYD-01 team to document the data set


5) Extracting the standardized data into logical files





9.2.2 Processing Changes





None.





9.3 Calculations





9.3.1 Special Corrections/Adjustments





None given.





9.3.2 Calculated Variables





None given.





9.4 Graphs and Plots





None given.





10. Errors





10.1 Sources of Error





Wedge Rain Gauge





The device is so simple that errors were reduced to leaves falling in the gauges or a gauge being tipped over.  The high frequency of data collection ensured that evaporation from the gauges was a minor factor in the readings.  The only major limitation is simply the accuracy in which one can read the level of water within the gauge.





Tipping Bucket Rain Gauge





Unattended automated tipping bucket devices did not function in the winter during freezing conditions. Spring and fall readings may indicate collected snow and subsequent melting in the funnel.





10.2 Quality Assessment





10.2.1 Data Validation by Source





None given.





10.2.2 Confidence Level/Accuracy Judgment





Unattended tipping bucket rain gauges used from 1995-97 were periodically cleaned, yet they almost all invariably included debris that collected in the screen, and some were completely clogged. For this reason, at most sites a minimum of two gauges were installed. Rarely were both gauges clogged. Questionable data may be noted when large differences exist between gauges.





10.2.3 Measurement Error for Parameters





None given.





10.2.4 Additional Quality Assessments





None given.





10.2.5 Data Verification by Data Center





The data that were received from HYD-01 were loaded into the relational data base and checked to make sure that no errors were introduced in loading the data.





11. Notes





11.1 Limitations of the Data





None given.





11.2 Known Problems with the Data





None given.





11.3 Usage Guidance





None given.





11.4 Other Relevant Information





None given.





12. Application of the Data Set





This data set can be used with the volumetric soil moisture data to determine how soil moisture changes with time during rain events and during dry periods.  These under-canopy precipitation data indicate how much precipitation falls on the soil.  These data can be used in various kinds of hydrological and ecological models.





13. Future Modifications and Plans





None given.





14. Software





14.1 Software Description





None given.





14.2 Software Access





None given.





15. Data Access





15.1 Contact Information





Ms. Beth Nelson


BOREAS Data Manager


NASA GSFC


Greenbelt, MD


(301) 286-4005


(301) 286-0239 (fax)


Elizabeth.Nelson@gsfc.nasa.gov





15.2 Data Center Identification





See 15.1.





15.3 Procedures for Obtaining Data





Users may place requests by telephone, electronic mail, or FAX.





15.4 Data Center Status/Plans





The HYD-01 under-canopy precipitation data are available from the EOSDIS ORNL DAAC (Earth Observing System Data and Information System) (Oak Ridge National Laboratory) (Distributed Active Archive Center). The BOREAS contact at ORNL is: 





ORNL DAAC User Services


Oak Ridge National Laboratory


(865) 241-3952


ornldaac@ornl.gov


ornl@eos.nasa.gov





16. Output Products and Availability





16.1 Tape Products





None.





16.2 Film Products





None.





16.3 Other Products





Tabular ASCII files.





17. References





17.1 Platform/Sensor/Instrument/Data Processing Documentation





None given.





17.2 Journal Articles and Study Reports





Cuenca, R.H., D.E. Stangel, and S.F. Kelly. 1997. Soil water balance in a boreal forest. Journal of Geophysical Research 102(D24): 29355-29365.





Sellers, P. and F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94). 





Sellers, P. and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96). 





Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94). 





Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96). 





Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.





Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M. Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J. Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B. Goodison, D.E. Wickland, and F.E. Guertin. 1997.  BOREAS in 1997: Experiment Overview, Scientific Results and Future Directions.  Journal of Geophysical Research, 102 (D24): 28,731-28,770.





17.3 Archive/DBMS Usage Documentation





None.





18. Glossary of Terms





None.





19. List of Acronyms





    ASCII   - American Standard Code for Information Interchange


    BOREAS  - BOReal Ecosystem-Atmosphere Study


    BORIS   - BOREAS Information System


    CD-ROM  - Compact Disk - Read Only Memory 


    DAAC    - Distributed Active Archive Center


    EOS     - Earth Observing System


    EOSDIS  - EOS Data and Information System


    GSFC    - Goddard Space Flight Center


    HYD     - Hydrology


    IFC     - Intensive Field Campaign


    NASA    - National Aeronautics and Space Administration


    NSA     - Northern Study Area


    OA      - Old Aspen


    OBS     - Old Black Spruce    


    OJP     - Old Jack Pine    


    ORNL    - Oak Ridge National Laboratory


    PANP    - Prince Albert National Park


    SSA     - Southern Study Area


    TE      - Terrestrial Ecology


    URL     - Uniform Resource Locator


    YA      - Young Aspen


    YJP     - Young Jack Pine





20. Document Information





20.1 Document Revision Dates





     Written:         23-Apr-1997


     Last Updated:    07-Dec-1998





20.2 Document Review Dates





     BORIS Review: 27-Nov-1998


     Science Review: 24-Nov-1998





20.3 Document ID





20.4 Citation





Please contact Dr. Richard Cuenca before publishing results based on this data set.





20.5 Document Curator





20.6 Document URL





Keywords


Under-canopy Precipitation


Soil moisture


� FILENAME �HYD01_UNCP.doc�


01/13/99














