BOREAS HYD-03 Snow Measurements

Summary

The BOREAS HYD-03 team collected several data sets related to the hydrology of forested areas. This data set contains measurements of snow depth, snow density in 3-cm intervals, an integrated snow pack density and snow water equivalent (SWE), and snow pack physical properties from snow pit evaluation taken in 1994 and 1996.  The data were collected from several sites in both the SSA and the NSA.  A variety of standard tools were used to measure the snowpack properties, including a meter stick (snow depth), a 100 cc snow density cutter, a dial stem thermometer and the Canadian snow sampler as used by HYD-04 to obtain a snow pack-integrated measure of SWE. This study was undertaken to predict spatial distributions of snow properties important to the hydrology, remote sensing signatures, and the transmissivity of gases through the snow.  The data are available in tabular ASCII files.

Table of Contents

*  1 Data Set Overview

*  2 Investigator(s)

*  3 Theory of Measurements

*  4 Equipment

*  5 Data Acquisition Methods

*  6 Observations

*  7 Data Description

*  8 Data Organization

*  9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS HYD-03 Snow Measurements

1.2 Data Set Introduction

The data pertaining to this documentation include all snow-related

measurements made during the field campaigns.  These measurements include

snow depth and density in 3-cm intervals and integrated throughout the

snow pack as well as snow temperatures. The data were collected from several sites in both the BOReal Ecosystem-Atmosphere Study (BOREAS) Southern Study Area (SSA) and the Northern Study Area (NSA).  A variety of standard tools were used to measure the snow pack properties including a meter stick (snow depth), a

100-cc snow density cutter, a dial stem thermometer, and the Canadian snow sampler as used by HYD-04 to obtain a snow pack-integrated measure of snow water equivalent (SWE).

1.3 Objective/Purpose

This study was undertaken to predict spatial distributions of snow properties important to the hydrology, remote sensing signatures, and the transmissivity of gases through the snow.

1.4 Summary of Parameters

Parameters measured with respect to this documentation are snow depth variability and snow density specific to land cover types at the flux tower sites visited.  These data allow the calculation of SWE.  Additional parameters measured include snow pack temperatures.

1.5 Discussion

This study was conducted under the hypothesis that energy transfer and SWE would vary spatially as a function of both the canopy closure and the distance from tree stems. Therefore, to obtain an accurate spatial average, random locations were measured irrespective of the location of trees. The representativeness of the snow depths to the site depends partially on the number of measurements. Raw measurements of snow depths near tree stems and under different canopy closures are available from the Principal Investigator (PI).  Certain snow metamorphic processes are driven by snow pack temperature gradients and an effort was made to measure that variable in the boreal forests.

1.6 Related Data Sets

BOREAS HYD-04 Standard Snow Course Data

BOREAS HYD-04 Areal Snow Course Data

2. Investigator(s)

2.1 Investigator(s) Name and Title

Robert E. Davis

Research Physical Scientist

U.S. Army Cold Regions Research and Engineering Laboratory (CRREL)

2.2 Title of Investigation

Distributed Energy Transfer Modeling in Snow and Soil for Boreal Ecosystems

2.3 Contact Information

Contact 1:

----------------

Janet P. Hardy

U.S. Army CRREL

Hanover, NH

(603) 646-4306

(603) 646-4397 (fax)

jhardy@.crrel.usace.army.mil

Contact 2:

----------------

Dr. Robert E. Davis

U.S. Army CRREL

Hanover, NH

(603) 646-4219

(603) 646-4397 (fax)

bert@crrel.usace.army.mil

Contact 3:

----------------

David Knapp

NASA GSFC

Greenbelt, MD

(301) 286-1424

(301) 286-0239 (fax)

David.Knapp@gsfc.nasa.gov

3. Theory of Measurements

Several random snow depth measurements were made over the area around each site to assess the variability of snow depth.   At one or more locations in the forest, snow pits were dug and profiles of the snow density and temperature were included in the measurements.  The snow density profiles were used to calculate an average snow pack density to test the assumption that average density was more conservative than depth.  This assumption proved valid; thus measurements of snow depth, in conjunction with average snow pack density, provide accurate estimates of SWE. SWE is the vertical depth of water that would be obtained by melting the snow.

Snow temperature measurements were made in part to initialize the snow

process model as well as to provide important information for estimating the timing of snow ablation.

4. Equipment

4.1 Sensor/Instrument Description

Centimeter scale (meter stick) - for snow depth measurements.

100-cc snow density cutter - allows weight measurement of 100-cc volume of snow, from which the snow density is determined.  The dimensions of the cutter are 3 cm x 5.5 cm x 6 cm.  This technique measures snow density at intervals of 3 cm height.

Electronic top loader balance - provides weight of snow, which allows determination of snow densities accurate within 5% (cutter and scale together).

Canadian snow sampler -  measures snow depth and provides data on an integrated snow density and SWE.

4.1.1 Collection Environment

All data were collected during winter environments.  The equipment used is

designed for winter use, so the collection environment was

appropriate for these measurements.

4.1.2 Source/Platform

Ground.

4.1.3 Source/Platform Mission Objectives

This work was undertaken at several sites within the BOREAS modeling area

to obtain a better understanding of the variations of snow depth and density in

different land cover types.

4.1.4 Key Variables

snow depth

snow pack density

SWE

snow temperature

4.1.5 Principles of Operation

The centimeter scale is inserted into the snow pack, and the depth of the snow is read from the scale.  For snow density, a known volume of snow is weighed and its volume density is then determined from the formula in Section 9.1.  Two different techniques were used to determine snow density.  One used the 100-cc snow cutter, and the other used the Canadian snow sampler.

Snow temperatures are read from a horizontally inserted thermometer.

4.1.6 Sensor/Instrument Measurement Geometry

Not applicable.

4.1.7 Manufacturer of Sensor/Instrument

Snow density cutter:

SNOWMETRICS

Box  52

Wilson, WY  83014

(307) 739-9458

Electronic balance:

ACCULAB

8 Pheasant Run

Newtown, PA  18940

(215) 579-3170

Canadian snow sampler:

(No manufacturer’s address was given)

1-Eastern Snow Conference (ESC)-30 snow sampler

1-spring balance for ESC-30

1-cradle

1-measuring stick/ruler (cm).

Thermometer:

Cole - Palmer Instrument Co.

7425 North Oak Park Ave.

Niles, IL  60714-9930

4.2 Calibration

The electronic balance was calibrated using a 200-gram calibration weight.

Thermometers were calibrated using the ice bath calibration method.  This

method involves placing the temperature sensors in a well mixed combination

of water and ice, which will have a known temperature of 0 °C.  Thermometers

are then adjusted as close as possible to 0 °C while in the ice bath.

4.2.1 Specifications

Not available.

4.2.1.1 Tolerance

Electronic balance:

Accuracy is within 5% when used in conjunction with snow density cutter (+/- 0.1 g when used alone).

Thermometer:

Range:  -50 °C to 150 °C

+/- 0.8% full-scale precision or +/- 1.5 °C

Resolution = 0.1 °C

4.2.2 Frequency of Calibration

Prior to field use.

4.2.3 Other Calibration Information

Not available.

5. Data Acquisition Methods

100-cc Snow Cutter:

Snow depth measurements were made with a centimeter scale by walking through the area taking random depth measurements.  A zero snow depth occurred when the measurement landed at a tree stem.  For the snow density profiles, a representative area was chosen, a vertical exposure of the snow pack was exposed to the north, and snow density measurements were made with the 100cc snow cutter every 3 vertical cm until the entire snow pack was measured (i.e. a 45 cm deep snow pack would require 15 measurements of snow density to obtain the snow pack density profile).

Canadian Snow Sampler:

The Canadian snow sampler is used by inserting the tube through the snow

pack to the soil, twisting the tube, and removing the tube and snow core.

The tube and snow core are weighted using the spring scale, and the snow

depth is read from the centimeter scale on the tube.

Snow Temperature:

Snow temperature measurements are made by inserting the thermometer

horizontally into the snow pit at 10-cm height intervals.  Temperatures are

read directly off the thermometer dial to the nearest degree once the

thermometer has stabilized.

6. Observations

6.1 Data Notes

None.

6.2 Field Notes

None.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

Point measurements were scattered over a 1-hectare area within 50 meters of the flux tower, if it was near a flux tower site.  The following coordinates are approximate and based on the North American Datum of 1983 (NAD83).

SWE:

SITE_ID                    LONGITUDE   LATITUDE

------------------------- ---------- ----------

SSA-OBS-HYD03-HYD03-SWE01 -105.11779   53.98717

SSA-AGR-HYD03-HYD03-SWE01 -104.78041   53.57649

NSA-OJP-FLXTR-HYD03-SWE01  -98.62028   55.93011

NSA-9BS-HYD3A-HYD03-SWE01  -97.89026   55.81011

NSA-YBS-HYD03-HYD03-SWE01  -97.87026   55.83011

NSA-MIX-HYD03-HYD03-SWE01  -97.84025   55.85011

NSA-9BS-HYD3B-HYD03-SWE01  -97.82025   55.87011

NSA-YJP-FLXTR-HYD03-SWE01  -98.29027   55.90011

SSA-MIX-110B1-HYD03-SWE01 -105.82606   54.58848

SSA-999-110C1-HYD03-SWE01 -105.82461   54.57386

SSA-ASP-110E1-HYD03-SWE01 -105.81461   54.54696

SSA-BSH-110G1-HYD03-SWE01 -105.81221   54.52526

SSA-ASP-110H1-HYD03-SWE01  -105.8067   54.50956

SSA-BRN-110J1-HYD03-SWE01  -105.8123   54.48146

SSA-ASP-110K1-HYD03-SWE01    -105.81   54.46696

SSA-CLR-110L1-HYD03-SWE01  -105.8024   54.43746

SSA-YJP-122D1-HYD03-SWE01 -104.61914   53.84426

SSA-999-122E1-HYD03-SWE01 -104.61944   53.84916

SSA-MIX-122F1-HYD03-SWE01 -104.62214   53.85586

SSA-MIX-122G1-HYD03-SWE01 -104.60623   53.89836

SSA-999-WSK01-HYD03-SWE01  -106.0705   53.94005

SSA-9OA-FLXTR-HYD03-SWE01 -106.19051   53.63005

NSA-OBS-FLXTR-HYD03-SWE01  -98.48027    55.8801

SSA-OJP-HYD03-HYD03-SWE01 -104.69044   53.92006

SSA-9PR-HYD03-HYD03-SWE01 -105.27048   53.56005

Snow Depth Sites:

SITE_ID                    LONGITUDE   LATITUDE

------------------------- ---------- ----------

SSA-OJP-FLXTR-HYD03-SDP01 -104.69203   53.91634

SSA-AGR-HYD03-HYD03-SDP01 -104.78041   53.57649

SSA-WAT-FLXTR-HYD03-SDP01 -106.04122   53.83105

SSA-9OA-FLXTR-HYD03-SDP01 -106.19779   53.62889

SSA-OBS-FLXTR-HYD03-SDP01 -105.11779   53.98717

Snow Pits:

SITE_ID                    LONGITUDE   LATITUDE

------------------------- ---------- ----------

SSA-AGR-HYD03-HYD03-SPT01 -104.78041   53.57649

SSA-WAT-FLXTR-HYD03-SPT01 -106.04122   53.83105

SSA-9OA-FLXTR-HYD03-SPT01 -106.19779   53.62889

SSA-OBS-FLXTR-HYD03-SPT01 -105.11779   53.98717

SSA-999-WSK04-HYD03-SPT01 -106.09068    53.9232

SSA-OJP-FLXTR-HYD03-SPT01 -104.69203   53.91634

Snow Temperature:

SITE_ID                    LONGITUDE   LATITUDE

------------------------- ---------- ----------

NSA-9BS-HYD3B-HYD03-SHT06  -97.82025   55.87011

NSA-9BS-HYD3A-HYD03-SHT01  -97.89026   55.81011

NSA-9BS-HYD3A-HYD03-SHT02  -97.89026   55.81011

NSA-YBS-HYD03-HYD03-SHT03  -97.87026   55.83011

NSA-MIX-HYD03-HYD03-SHT04  -97.84025   55.85011

NSA-9BS-HYD3B-HYD03-SHT05  -97.82025   55.87011

NSA-YJP-FLXTR-HYD03-SHT01  -98.29027   55.90011

NSA-OJP-FLXTR-HYD03-SHT01  -98.62028   55.93011

NSA-OBS-FLXTR-HYD03-SHT01  -98.48027    55.8801

SSA-9PR-HYD03-HYD03-SHT01 -105.27048   53.56005

Subcanopy Meteorological:

SITE_ID                    LONGITUDE   LATITUDE

------------------------- ---------- ----------

SSA-OBS-FLXTR-HYD03-SCM01 -105.11779   53.98717

SSA-OJP-FLXTR-HYD03-SCM01 -104.69203   53.91634

SSA-9OA-FLXTR-HYD03-SCM01 -106.19779   53.62889

Subcanopy Radiation:

SITE_ID                    LONGITUDE   LATITUDE

------------------------- ---------- ----------

SSA-OBS-FLXTR-HYD03-SCR01 -105.11779   53.98717

SSA-9OA-FLXTR-HYD03-SCR01 -106.19779   53.62889

SSA-OJP-FLXTR-HYD03-SCR01 -104.69203   53.91634

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

Point source data (snow pits).

7.1.4 Projection

The locations of these point sites are based on NAD83.

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

1994: Focused Field Campaign-Winter (FFC-W) (05-Feb-1994 to 15-Feb-1994) and FFC-Thaw (FFC-T) (17-Apr-1994 to 27-Apr-1994)

1996: FFC-W (29-Feb-1996 to 12-Mar-1996)

7.2.2 Temporal Coverage Map

05-Feb-1994	SSA-Prairie

06-Feb-1994	SSA-Old Jack Pine (OJP)

07-08-Feb-1994	SSA:  Transect near Montreal Lake (Gamma Calibration Lines)

09-Feb-1994	SSA-Waskesui Lake

10-Feb-1994	SSA-Old Aspen (OA)

13-Feb-1994	NSA:  near AYJP on Gilliam Road.

14-Feb-1994	NSA-Young Jack Pine (YJP)

15-Feb-1994	NSA-OJP

17-Apr-1994	NSA-YJP

18-Apr-1994	NSA-Old Black Spruce (OBS)

20-Apr-1994	NSA-OBS

22-Apr-1994	NSA-YJP

24-Apr-1994	NSA-YJP

24-Apr-1994	NSA-YJP

25-Apr-1994	NSA-OJP

26-Apr-1994	NSA-YJP

27-Apr-1994	NSA-OPEN

29-Feb-1996	SSA-OBS

01-Mar-1996	SSA-AG

02-Mar-1996 SSA-OBS

04-Mar-1996 SSA-OA

05-Mar-1996 SSA-OJP

07-Mar-1996 SSA-Namekus

11-Mar-1996 SSA-OJP

12-Mar-1996 SSA-Waskesui

7.2.3 Temporal Resolution

Snow depth, SWE: biweekly during FFC-W 1994, 3-5 days during FFC-T 1994, more frequently depending on weather.

Snow temperatures: FFC-W 1994 - 1-3 days (less for the upper portion of the snow pack).

FFC-T 1994 -  Once the snow pack is isothermal at 0 °C during the thaw period,

the top portion of the snow pack may show some diurnal temperature

fluctuations, but otherwise the snow pack may remain at the melting point

until the snow is gone.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition files (h03sd96d.def), (h03sp96d.def), (h03swed.def), (h3swe96d.def), and (h03sntmd.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition files (h03sd96d.def), (h03sp96d.def), (h03swed.def),  (h3swe96d.def), and (h03sntmd.def).

8. Data Organization

8.1 Data Granularity

All of the Snow Measurement Data are contained in the following datasets:   (h03sd96d.dat), (h03sp96d.dat), (h03swed.dat), (h3swe96d.dat), and (h03sntmd.dat).

8.2 Data Format(s)

The data files contain numerical and character fields of varying length separated by commas. The character fields are enclosed with  a single apostrophe marks. There are no spaces between the fields.  Sample data records are shown in the companion data definition files (h03sd96d.def), (h03sp96d.def), (h03swed.def), (h3swe96d.def), and (h03sntmd.def).

9. Data Manipulations

9.1 Formulae

To determine snow pack SWE:

Snow depth (mm) x [snow density (kg/m3)/1000] = SWE (mm)

9.1.1 Derivation Techniques and Algorithms

Not applicable.

9.2 Data Processing Sequence

9.2.1 Processing Steps

For snow density and snow water equivalence:

1).  Determine mean snow depth at site.

2).  Determine mean snow pack density at site (if more than one snow pack density measurement exists at any site then average the means).

3).  Use formula above to calculate SWE.

9.2.2 Processing Changes

None.

9.3 Calculations

9.3.1 Special Corrections/Adjustments

None.

9.3.2 Calculated Variables

None.

9.4 Graphs and Plots

None.

10. Errors

10.1 Sources of Error

1.  In measuring snow depth, the probe may at times hit a fallen branch or understory and underestimate snow depth at that point.

2.  Snow pack density data were often derived from a single snow pit evaluation.  Error would be reduced if it was practical to obtain several measurements of mean snow pack density.

3.  An unresolved, systematic discrepancy exists between the determination of snow water equivalence using the Canadian Snow Sampler and the technique using mean snow depths and mean snow pack density determined from the 100 cc density cutter.

10.2 Quality Assessment

10.2.1 Data Validation by Source

Comparison was attempted with HYD-04 snow survey data.  Data were similar,

but time and location of data collection points were not the same and

therefore cannot be directly compared.

10.2.2 Confidence Level/Accuracy Judgment

The confidence in snow depth data is a function of the number of measurements made (n) at each site.  The more measurements made, the better the variability is represented and therefore the greater the confidence.

The snow temperature data are good indications of the temperature gradient

at that point.  The temperature gradient will vary with snow depth,

proximity to a tree, or snow pack base (i.e., forest floor, ice on pond).

10.2.3 Measurement Error for Parameters

Snow density measurement accuracy = 5%.

10.2.4 Additional Quality Assessments

The data were doublechecked.  Calculations were performed at least twice, and more often if a discrepancy existed.

10.2.5 Data Verification by Data Center

These data were reviewed to make sure that data were loaded properly.

11. Notes

11.1 Limitations of the Data

Snow depth and density and temperatures can be highly variable in forested

environments.  A single data point cannot accurately represent a forest

snow pack.   Also, during periods of thaw, the snow pack changes rapidly, and

a measurement made on one day may not have much bearing on the snow pack

the next day.  Note that on 09-Mar-1996 the daily high air temperature

reached 0 °C and stayed above freezing for most of the remainder of the

field campaign.  During this period, the snow pack changed rapidly.

11.2 Known Problems with the Data

An unresolved, systematic discrepancy exists between the determination of snow water equivalence using the Canadian Snow Sampler and the technique using mean snow depths and mean snow pack density determined from the 100 cc density cutter.

11.3 Usage Guidance

See Section 11.1.

11.4 Other Relevant Information

Canadian snow samplers are brittle when very cold, as Piers Sellers found out.

12. Application of the Data Set

This data set could be used for a quantitative analysis to compare SWE

among different land cover types.  The data are also useful for snow

modeling purposes or estimating the water potentially available to the soil

systems.

13. Future Modifications and Plans

None.

14. Software

14.1 Software Description

An undetermined spreadsheet software program was used to organize the data.

14.2 Software Access

None given.

15. Data Access (This section for BORIS and ORNL DAAC Use)

Primary contact:

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

beth@ltpmail.gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax.

15.4 Data Center Status/Plans

The HYD-03 snow measurement data are available from the Earth Observing System Data and Information System (EOSDIS) Oak Ridge National Laboratory (ORNL) Distributed Active Archive Center (DAAC).

The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1 Tape Products

Contact BORIS staff.

16.2 Film Products

Contact BORIS staff.

16.3 Other Products

Contact BORIS staff.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

Not applicable.

17.2 Journal Articles and Study Reports

Davis, R.E., C. Woodcock, and J.P. Hardy. 1996. Toward spatially distributed modeling of snow in the boreal forest.  Eos Transactions, AGU 1995 Fall Meeting, Abstract, p. 218.

Davis, R.E., J.P. Hardy, W. Ni, C. Woodcock, C.J. McKenzie, R. Jordan, and

X. Li. 1997.  Variation of snow ablation in the boreal forest: A sensitivity study on the effects of conifer canopy.  Journal of Geophysical Research. 102(D24):29389-29396.

Hardy, J.P., R.E. Davis, and G.C. Winston. 1995.  Evolution of factors

affecting gas transmissivity of snow in the boreal forest.  In: Biogeochemistry of Seasonally Snow-Covered Catchments (ed. by K. Tonnessen, M.W. Williams, and M. Tranter)  (Proc. Boulder Symp., July 1995). IAHS publication no. 228, p. 51-60.

Hardy, J.P., R.E. Davis, and R. Jordan. 1996. Snow melt modeling in the boreal

forest. Eos Transactions, AGU 1996 Fall Meeting, abstract, p. 196.

Hardy, J.P., R.E. Davis, and J.C. McKenzie. 1995.  Snow Distribution Around

Trees:  Incorporation of snow interception patterns into spatially distributed snow models.  Eos Transactions, AGU 1995 Fall Meeting, Abstract, p. 202.

Hardy, J.P., R.E. Davis, R. Jordan, X. Li, C. Woodcock, W. Ni, and J.C.

McKenzie. 1997.  Snow ablation modeling at the stand scale in a boreal

jack pine forest.  Journal of Geophysical Research. 102(D24): 29397-29406.

Sellers, P. and F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P. and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M. Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J. Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B. Goodison, D.E. Wickland, F.E. Guertin. 1997. BOREAS in 1997: Experiment overview, scientific results, and future directions. Journal of Geophysical Research. 102(D24):28731-28770.

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Winston, G.C., B.B. Stephens, E.T. Sundquist, J.P. Hardy, and R.E. Davis.

1995.  Seasonal variability in gas transport through snow in a boreal

forest.  In:  Biogeochemistry of Seasonally Snow-Covered Catchments (ed. by

K. Tonnessen, M.W. Williams, and M. Tranter)  (Proc. Boulder Symp., July

1995). IAHS publication no. 228, p. 61-70.

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None.

19. List of Acronyms

ASCII   - American Standard Code for Information Interchange

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

cc      - cubic centimeters

CGR     - Certified by Group

CPI     - Certified by Principal Investigator

CPI-??? - CPI but questionable

CRREL   - Cold Regions Research Engineering Laboratory

DAAC    - Distributed Active Archive Center

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

FFC-T   - Focused Field Campaign-Thaw

FFC-W   - Focused Field Campaign-Winter

GMT     - Greenwich Mean Time

GSFC    - Goddard Space Flight Center

HYD     - Hydrology

NAD83   - North American Datum of 1983

NASA    - National Aeronautics and Space Administration

NSA     - BOREAS Northern Study Area

OBS     - Old Black Spruce

OJP     - Old Jack Pine

ORNL    - Oak Ridge National Laboratory

PANP    - Prince Albert National Park

PI      - Principal Investigator

PRE     - Preliminary

SSA     - BOREAS Southern Study Area

SWE     - Snow Water Equivalent

URL     - Uniform Resource Locator

YBS     - Young Black Spruce

YJP     - Young Jack Pine

20. Document Information

20.1 Document Revision Date

Written:    25-Mar-1997

Revised:    20-Mar-1998

20.2 Document Review Date(s)

BORIS Review:   12-Mar-1998

Science Review: 15-Jul-1997

20.3 Document ID

20.4 Citation

20.5 Document Curator

20.6 Document URL

Keywords

SNOW

SNOW WATER EQUIVALENT