BOREAS HYD-09 Streamflow Data

Summary

These streamflow  data were collected by the HYD-09 science team to support its research into meltwater supply to the soil during the spring melt period.  These data were also collected for HYD-09's research into the evolution of soil moisture, evaporation, and runoff from the end of the snowmelt period through freeze up. Data were collected in the BOREAS SSA and NSA from April until October in 1994, 1995, and 1996.  Gauges SW1 and NW1 were operated year-round; however, data may not be available for both gauges for all 3 years.  The data are available in tabular ASCII files.

Table of Contents

*  1 Data Set Overview

*  2 Investigator(s)

*  3 Theory of Measurements

*  4 Equipment

*  5 Data Acquisition Methods

*  6 Observations

*  7 Data Description

*  8 Data Organization

*  9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS HYD-09 Streamflow Data

1.2 Data Set Introduction

These streamflow data were collected by the Hyrdology (HYD-09) science team to support its research into meltwater supply to the soil during the spring melt period.  These data were also collected for HYD-09's research into the evolution of soil moisture, evaporation, and runoff from the end of the snowmelt period through freeze up. Data were collected in the BOReal Ecosystem-Atmosphere Study (BOREAS) Southern Study Area (SSA) and Northern Study Area (NSA) from April until October in 1994, 1995, and 1996.  Gauges SW1 and NW1 were operatedyear-round; however, data may not be available for both gauges for all 3 years.

1.3 Objective/Purpose

This project will seek to identify, through field measurements and computer modeling, the space-time distribution  of meltwater supply to the soil during the spring melt period and the evolution of soil moisture, evaporation, and runoff from  the end of the snowmelt period through freeze up.  The snow  modeling activity will consist of two components.  The first will  make use of existing "off-the-shelf" models to forecast the  onset and spatial extent of snowmelt and meltwater supply to the  soil column prior to the 1994 Intensive Field Campaign (IFCs).  The second phase will  extend, implement, and verify a physically based energy balance  snowmelt model of the two sites and will evaluate approaches to  aggregating detailed snowmelt predictions and measurements based  on the model to larger scales, up to the size of a rectangle of  several hundred km containing the northern and southern sites.  The soil moisture modeling is based on a grouped response unit  method that will allow characterization of soil moisture,  evaporation, and runoff for the entire northern and southern  sites.

1.4 Summary of Parameters

The following phenomena and their parameters are being reported in this data set:

Discharge Rate of Streams.

1.5 Discussion

The locations for 12 tipping bucket measuring devices, 10  Belfort gauges, and 5 stream sites were selected within the two BOREAS study sites (NSA and SSA). These instruments were  installed during the 1994 Focused Field Campaign-Thaw (FFC-T) in  the last week of April.  They were in operation until October 1994, when they were removed from service.  The gauges were reinstalled in April 1995 and collected data until October 1995.  The tipping buckets and  Belfort gauges provided an approximate measure of the  precipitation in the study areas and the discharge rates of streams  provided a measurement of water leaving the study area.  When used together, these data sets provide a balance of the water cycle.

1.6 Related Data Sets

HYD-09 Belfort Rain Gauge Data

HYD-09 Tipping Bucket Rain Gauge Data

2. Investigator(s)

2.1 Investigator(s) Name and Title

Prof. Ric Soulis

University of Waterloo

Department of Civil Engineering

2.2 Title of Investigation

From Micro-Scale to Meso-Scale Snowmelt, Soil Moisture and Evapotranspiration from Distributed Hydrologic Models

2.3 Contact Information

Contact 1

-----------------------

Dr. Nicholas Kouwen

Univ. of Waterloo

Waterloo, ON

(519) 885-1211 x3309

(519) 888-6197 (fax)

kouwen@sunburn.uwaterloo.ca

Contact 2

-----------------------

Dr. Ric Soulis

Univ. of Waterloo

Waterloo, ON

(519) 885-1211 x2175

(519) 888-6197 (fax)

ric@sunburn.uwaterloo.ca

Contact 3

-----------------------

David Knapp

NASA/GSFC

Greenbelt, MD

(301) 286-1424

David.Knapp@gsfc.nasa.gov

3. Theory of Measurements

To continuously measure the discharge rate of a stream as a function of depth, it is first necessary to construct a stage-discharge rating curve.  To find the discharge rate at a specific  stage, the cross section of the stream must be divided into  subsections.  No one subsection should account for more than 10% of the total stream flow.  In the center of each  subsection, a current meter is lowered into the water at various  depths to measure velocity.  Two types of current meters were  used in this study, a propeller meter and an electromagnetic  meter.  A propeller meter measures the rate of flow by relating  it to the rotation of its propeller, while an electromagnetic  meter measures the voltage produced when water passes through a  magnetic field produced by the meter.  Two different types of  meters were used to reduce the error associated with each device.

When the velocities have been determined, the total discharge  of the stream can be calculated.  This, along with the level of the  stream at that time, can be used to compare the rate of flow at that time with other times.  The discharge rate must be found at several different stream levels so that a relationship can be  established between the height of the stream and its discharge.  This relationship is represented graphically as a rating curve.

Once a rating curve is established, the discharge can be found at any time if the height of the stream is known. A float tube and a data logger were used to constantly monitor the stream height. The stream height was manually checked periodically using a staff gauge.  From these methods, a detailed  description of the stream's water level over several months was  possible.

4. Equipment

4.1 Sensor/Instrument Description

Propeller Meter:

The Swoffer 2100 STDX current velocity meter consists of a propeller that rotates about an axis parallel to the flow of the  stream.  An onboard computer calculates the speed and displays it  in the desired units.  The computer averages the velocity over a  given time (i.e. 90 sec).  The propeller meter was used to determine the rating curve for the stream.

Electromagnetic Meter:

The MMI model 2000 flo-mate portable water flowmeter  measures the velocity of a liquid using an electromagnetic method.  When a fluid that has conductive properties passes  through a magnetic field at a right angle, the magnetic field  induces an electromotive force in the fluid at right angles to  both the magnetic field and the velocity of the fluid.  The  voltage produced by the movement of the water through the meter  is measured by electrodes and is proportional to the average  velocity of the fluid.  A built-in computer uses this information  to calculate and display the velocity.  The electromagnetic meter  was used to determine the rating curve for the stream.

Float Tube:

A float tube consists of a hollow perforated plastic tube  mounted perpendicular to the water's surface near the stream bank  where it is accessible to observers.  A float inside the tube  reacts to different water heights that the data logger  electronically records every 15 minutes.  It is used to monitor the height of water over small intervals of time (i.e. 15 minutes) during long periods of field measurement.

Data Logger:

The chart pac CP-X data logger was connected to the float  tube so that it could record stream levels every 15 minutes.  The  data were stored in the logger's memory until they were retrieved.

4.1.1 Collection Environment

The equipment was operated in variable ambient atmospheric conditions at the field sites in Saskatchewan and Manitoba during 1994.  The instrumentation was redeployed in 1995 and 1996.

4.1.2 Source/Platform

The propeller meter was mounted on a pole that was lowered manually into a stream.

The electromagnetic meter was mounted on a pole that was lowered manually into a stream.

The float tube was mounted in a stream near the bank where observers could reach it easily.

The data logger was mounted inside the float tube.

4.1.3 Source/Platform Mission Objectives

A measurement of the stream discharge rate was necessary to make a precise estimate of the total amount of water leaving the  watershed because of surface and subsurface flows.  The data logger stored the information until it was retrieved.

4.1.4 Key Variables

Propeller Meter - Water Velocity

Electromagnetic Meter - Water Velocity

Float Tube - Stream Height

Data Logger - Voltage

4.1.5 Principles of Operation

A propeller meter and an electromagnetic meter are manually operated devices that measure the velocity of water.  The  propeller meter counts the number of propeller revolutions over a given time period.  The computer compares this to a calibration  coefficient and then displays the resulting velocity.  The  electromagnetic meter measures the voltage produced by water moving through a magnetic field, which is proportional to the  water's velocity.  The float tube and the data logger are self-contained devices that automatically record the height of water every hour over an indefinite time period.

4.1.6 Sensor/Instrument Measurement Geometry

The propeller meter and the electromagnetic meter are  mounted on a pole and lowered to various depths in a stream.  The  tester must repeat this for each subsection of the stream so that the average velocity can be calculated.

The float tube is mounted near the stream bank so that the tube is perpendicular to the surface of the water.  The tube must  be in an area that is accessible for data retrieval and can  measure high and low water levels.  The data logger is attached to the float tube.

4.1.7 Manufacturer of Sensor/Instrument

Propeller Meter - Swoffer Instruments Inc.

1048 Industry Drive

Seattle, WA  98188 U.S.A.

(206) 575-0160

(206) 575-1329 (fax)

Electromagnetic Meter - Marsh-McBirney Inc.

4539 Metropolitan Court

Frederick, MD 21701, U.S.A.

(301) 874-5599

(301) 874-2172 (fax)

Float Tube -  Lakewood Systems

9258-34A Avenue

Edmonton, Alberta, Canada

T6E 5P4

Data Logger - Lakewood Systems

Edmonton, Alberta, Canada

4.2 Calibration

The propeller meter and the electromagnetic meter were calibrated by dragging them through a still body of water (a long  tank, or a lake) at a known velocity and then adjusting the  instrument as needed.

The float tube was calibrated by measuring the height of the water directly with a staff gauge and comparing that to the reading determined by the float gauge.

4.2.1 Specifications

Propeller Meter - temperature range: -10°C to 49°C

Electromagnetic Meter - analog display: 0.1v per 1 m/sec

material: polyurethane shell

temperature range: 0°C to 50°C

Float Tube - range: 0 to 4.6 m (0 to 15 feet)

accuracy: +/- 1 cm. (0.4 inches)

operating temperatures: -66°F to 140°F

4.2.1.1 Tolerance

The propeller meter can measure velocities from 0.1 to 25 ft/sec.

The electromagnetic meter can measure velocities from -0.5 to 19.99 ft/sec (-0.15 to 6 m/sec).  The meter measures the velocity to within 2% of the reading +/- 0.05 ft/sec.

The float tube can measure stream heights from 0 to 4.6 meters.

The data logger can record voltage from 0 to 2.5 volts  D.C.  It can store 64,000 samples with an accuracy of 1/4095.

4.2.2 Frequency of Calibration

The propeller meter and the electromagnetic meter were calibrated once before the readings were made and once afterwards.

The float tube was calibrated during the beginning of the  study period.  The staff gauge readings were compared to those of the float tubes.

4.2.3 Other Calibration Information

None.

5. Data Acquisition Methods

Stream discharge measurements were made on five streams within  the two study areas.  Measurements were made on each stream to determine its rating curve so that stream height could be related  to the rate of discharge.  A float tube was set up to  electronically monitor the height of the stream and record the  information on a data logger.  The data logger was connected to a notebook computer onsite where the logger's stored information  was transferred to the notebook.  The data were then used with the  rating curve to determine the rate of discharge every hour and were checked for quality assurance.

6. Observations

6.1 Data Notes

None given.

6.2 Field Notes

None given.

7. Data Description

7.1 Spatial Characteristics

The stream sites were located so that they would give an overall view of water movement throughout the basin.  In the  large study areas (NSA and SSA), smaller basins were chosen so  that a more detailed study could be performed.  Two basins were  chosen in the NSA and one in the SSA.  In each basin, the stream sites were chosen so that the flow contributions from a number of land cover types could be determined.

The stream sites were also chosen for other characteristics; they must be accessible during all water levels, the location  must be suitable for measuring the water height at high and low  water levels the river bed must be uniform in shape and of a material that resists erosion so that the rating curve will not  change significantly over the period of observation and areas that did not overflow their banks and were away from human traffic were given preference.

The stream gauge at SW1 was chosen by HYD-09 Canada before the BOREAS project.  During the project, the Environment Canada Water Survey operated the NW1 gauge.

7.1.1 Spatial Coverage

The five stream gauges measured the discharges throughout the two areas.  The NSA basins were both 27 km2 while the SSA basin was 574 km2.  Two additional stream gauges, SW1 and NW1, were operated by the water survey.

The stream gauges were located at the following coordinates:

SITE_ID                LONGITUDE    LATITUDE   DRAINAGE AREA (km2)

--------------------  ----------  ----------   -------------------

NSA-NW1-HYD09-STGAN1   98.49168W   55.90877N       433

NSA-NW2-HYD09-STGAN2   98.52746W   55.91528N        35

NSA-NW3-HYD09-STGAN3   98.37563W   55.91683N        31

SSA-SW1-HYD09-STGAS1  104.61986W   53.86453N       595

SSA-SW2-HYD09-STGAS2  104.68167W   53.895N          81

SSA-SW3-HYD09-STGAS3  104.79116W   53.92669N       470

SSA-SW4-HYD09-STGAS4  104.82028W   53.92639N       204

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

The stream discharge rates reported in this data set represent the discharge rate at the point in the stream where they were located.

The collected data are designed to provide a reasonable estimate  of the total surface and subsurface runoff from the White Gull Creek and Sapochi River watersheds during the study period.

7.1.4 Projection

Not applicable.

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

The data were collected from the end of April until October in 1994, 1995, and 1996.  Gauges SW1 and NW1 were operated year-round.

7.2.2 Temporal Coverage Map

Not available.

7.2.3 Temporal Resolution

The data were collected at 15-minute intervals over the study period and were converted to hourly flow during the processing phase.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (h09stmgd.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (h09stmgd.def).

8. Data Organization

8.1 Data Granularity

All of the Streamflow Data are contained in one dataset.

8.2 Data Format(s)

The data files contain numerical and character fields of varying length separated by commas. The character fields are enclosed with  a single apostrophe marks. There are no spaces between the fields.  Sample data records are shown in the companion data definition files (h09stmgd.def).

9. Data Manipulations

9.1 Formulae

To find the average velocity in a subsection:

Velocity = the average of the velocity measured at 0.8 of the depth and at 0.2 of the depth

u = (u(0.8D)+u(0.2D))/2

To find the flow in a subsection:

Flow = Average velocity in subsection * area of subsection

Q = u * A

To find total discharge from velocity readings:

Flow = the sum of the flows in all of the subsections

Q = (sum from i=1 to i=N) of (u to the ith power) * A

To find the flow at a particular stream height:

Q = a2(volts-a1) + a3(volts-a1)2 + a4(volts-a1)3 +

a5(volts-a1)4 + a6(volts-a1)5

where  q = flow

a1 to a6 = coefficients of the rating curve

volts = the voltage recorded by the float tube for a specific height

To find the height of the stream from the data logger information:

height of stream = voltage output * calibration coefficient

9.1.1 Derivation Techniques and Algorithms

At frequent intervals during the monitoring period, the flow  of the stream (using the propeller and electromagnetic metering  devices), the voltage produced by the float tube, and the true height of the stream measured from a staff gauge were recorded.  These data showed a relationship between the level of the stream  (staff and voltage gauges) and the rate of flow.  The voltage  produced by the float tube was converted to stream height using a calibration coefficient.

The information was entered into a computer program called  'FitFlow' that calculated the coefficients for the rating curve of a stream (a1 to a6).  After this was done, it was a simple matter to find the rate of flow using the equation.

9.2 Data Processing Sequence

9.2.1 Processing Steps

The following steps were performed to collect the data:

1)	Set up necessary equipment.

2)	Measure the information necessary to develop rating curve.

3)	Measure the stream height over the desired period of time.

4)	Perform the necessary data manipulations.

5)	Calculate the stream flow rates using the rating curve.

6)	Enter the flow rates into ASCII files with the appropriate identifying

7)	information noted beside each row (location, year, day, month).

8)	Add the necessary column headings.

9)	Transfer the information to the data base.

BOREAS Information System (BORIS) Staff processed the data by:

1)	Reviewing the initial data files and loading them online for BOREAS team

2)	access.

3)	Designing relational data base tables to inventory and store the data.

4)	Loading the data into the relational data base tables.

5)	Working with the HYD-09 team to document the data set, and

6)	Extracting the standardized data into logical files.

9.2.2 Processing Changes

None.

9.3 Calculations

9.3.1 Special Corrections/Adjustments

None.

9.3.2 Calculated Variables

None.

9.4 Graphs and Plots

See associated report file HYD9REP.DOC.

10. Errors

10.1 Sources of Error

Most errors will occur in the actual measuring of the initial data.  Turbulent water flow will effect the velocity readings by  causing the meter to measure a larger or smaller velocity than actual.  The stream site where the velocity measurements are taken must be a uniform shape to reduce variations in flow. If  an instrument is allowed to get dirty, it may become clogged and  produce faulty readings.  The propeller meter suffers from  rotational friction that becomes more apparent at low velocities.  Careful cleaning and calibration will prevent this, though.  As the temperature of water changes, its volume will also change.

Some of the gauges experienced shifting during the  observation period.  This movement made the development of rating  curves more difficult.

10.2 Quality Assessment

10.2.1 Data Validation by Source

The electronic readings of the float gauge were routinely checked with the staff gauge readings taken directly from the  stream.  To account for the movement of the float tube, shifting  of the streambed, or the growth of vegetation, the rating curves  were broken up into different time periods.  For example, there  were different rating curves for the spring thaw than for the fall freezing period.

After the information had been collected, it was run through  an algorithm to detect any data that were abnormal when compared  to the rest of the data.

10.2.2 Confidence Level/Accuracy Judgment

The confidence level of the data varies with the particular stream and the level of the stream at the time of measurement.

10.2.3 Measurement Error for Parameters

None given.

10.2.4 Additional Quality Assessments

None.

10.2.5 Data Verification by Data Center

The data that were loaded into the data tables were spot checked against the original ASCII data to identify any data loading errors.

11. Notes

11.1 Limitations of the Data

None given.

11.2 Known Problems with the Data

For short periods of time some of the monitoring stations  were inoperative.  The data lost during these periods made the final results less accurate.

In April and May  there was ice in the streams.  This changed the  cross section of the stream, thereby affecting the rating curves  that relate stage to discharge.

The gauge at NW2 had weed growth cleaned out on 04-Aug-1994,  12-Aug-1994,  and 04-Sep-1994.

At NW3, several very low flows occurred in September 1994 when the gauge was unattended.  These flows were  outside the range of the rating curve and are therefore  unreliable.  On 21-Jun-1994, a culvert was removed in the head waters, resulting in the drainage of a swamp.  This caused a sharp peak in the flows that was not caused by rainfall. In 1996, road construction forced a relocation of the float tube approx. 75 m downstream from the original location.

On May 23 and August 25, storms washed out a beaver dam near  the SW2 culvert.  The alteration of the flow control resulted in  different stage vs. discharge relationships.

A beaver dam was built by SW3 in September 1994 that affected the rating curve.  Data from this gauge after 07-Sep-1994 cannot be used. Beaver problems persisted after approximately 05-Jun-1995.

Between 21-Jun-1994 and 13-Jul-1994 the gauge at SW4 was tampered with was unserviceable.  On 19-Jul-1994, a different cross section flow was metered because of excessive water levels at the original location.

11.3 Usage Guidance

The float tubes and data loggers were switched to double precision in May 1994.  This effected the resolution of the reported data.

11.4 Other Relevant Information

HYD-09 wrote a report that is available through its Web page.  See Section 9.4 for details.

Kouwen, N., R. Soulis, W. Jenkinson, A. Graham and T. Neff.  1997. BOREAS: Boreal Forest Hydrological Research Study.  Hydrology 9 Group: From Micro-scale to meso-scale snowmelt, soil moisture and evapotranspiration from distributed hydrological models,  University of Waterloo, Dept. of Civil Engineering, August 1997.

12. Application of the Data Set

The discharge rates of streams  provide a measurement of water leaving the study area.  When used together with precipitation data, these two sets of data provide a balance of the water cycle.

13. Future Modifications and Plans

None.

14. Software

14.1 Software Description

Several computer programs are required to develop the rating curves and the stream discharge rates.

FitFlow is a program written in Quickbasic to fit polynomial functions to stage-discharge tables.  This task can be performed by any curve fitting program. This program is not needed by users of this data set.

14.2 Software Access

None given.

15. Data Access

15.1 Contact Information

Primary contact:

Ms. Beth Nelson

BOREAS Data Manager

NASA/GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

beth@ltpmail.gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, fax, or electronic mail.

15.4 Data Center Status/Plans

The HYD-09 stream flow data are available from the Earth Observing System Data and Information System (EOSDIS) Oak Ridge National Laboratory (ORNL) Distributed Active Archive Center (DAAC).

The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1 Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

The data and documents are available as ASCII files.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

Hoskin Scientific Limited.  1992.  Chart pac Cp-X (price and specification sheet).

Kouwen, N., R. Soulis, W. Jenkinson, A. Graham, and T. Neff.  1997. BOREAS: Boreal Forest Hydrological Research Study.  Hydrology 9 Group: From Micro-scale to meso-scale snowmelt, soil moisture and evapotranspiration from distributed hydrological models,  University of Waterloo, Dept. of Civil Engineering, August 1997.

Lakewood Systems Ltd.: float sensor fs-15: data sheet.

Marsh-McBirney, Inc.  Flo-Mate Model 2000 Portable Water Flowmeter Instruction Manual.  1990.

Swoffer Model 2100 Indicator Operation Manual

17.2 Journal Articles and Study Reports

Sellers, P. and F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P. and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P. and F. Hall. 1997. BOREAS Overview Paper. JGR Special Issue (in press).

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None.

19. List of Acronyms

AES     - Atmospheric Environment Service of Canada

ASCII   - American Standard Code for Information Interchange

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

CD-ROM  - Compact Disk (optical), Read-Only Memory

DAAC    - Distributed Active Archive Center

DC      - Direct Current

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

FFC-T   - Focused Field Campaign - Thaw

GMT     - Greenwich Mean Time

GSFC    - Goddard Space Flight Center

HYD     - Hydrology

IFC     - Intensive Field Campaign

NASA    - National Aeronautics and Space Administration

NSA     - Northern Study Area

ORNL    - Oak Ridge National Laboratory

PANP    - Prince Albert National Park

SSA     - Southern Study Area

URL     - Uniform Resource Locator

20. Document Information

20.1 Document Revision Dates

Written:         20-Nov-1996

Last Updated:    26-Feb-1998

20.2 Document Review Dates

BORIS Review: 15-Jul-1997

Science Review: 01-Oct-1997

20.3 Document ID

20.4 Citation

The efforts of Drs. Ric Soulis and Nick Kouwen from the University of Waterloo, in collecting these data and making them available as well as the efforts of BORIS staff in processing the data are greatly appreciated.

20.5 Document Curator

20.6 Document URL

KEYWORDS

STREAMFLOW