BOREAS HYD-03 Subcanopy Meteorological Measurements

Summary

The BOREAS HYD-03 team collected several data sets related to the hydrology of forested areas. This data set includes measurements of wind speed and direction; air temperature; relative humidity; and canopy, trunk, and snow surface temperatures within three forest types.  The data were collected in the SSA-OJP (1994) and SSA-OBS and SSA-OA (1996).  Measurements were taken for 3 days in 1994 and 4 days at each site in 1996.  These measurements were intended to be short term to allow the relationship between subcanopy measurements and those collected above the forest canopy to be determined. The subcanopy estimates of wind speed were used in a snow melt model to help predict the timing of snow ablation.  The data are available in tabular ASCII files.

Table of Contents

*  1 Data Set Overview

*  2 Investigator(s)

*  3 Theory of Measurements

*  4 Equipment

*  5 Data Acquisition Methods

*  6 Observations

*  7 Data Description

*  8 Data Organization

*  9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS HYD-03 Subcanopy Meteorological Measurements

1.2 Data Set Introduction

This data set includes measurements of wind speed and direction within one aspen and two conifer forests.  The data were collected in the BOReal Ecosystem-Atmosphere Study (BOREAS) Southern Study Area (SSA) Old Jack Pine (OJP) (1994) and the SSA-Old Black Spruce (OBS) and SSA-Old Aspen (OA) (1996).  Measurements were taken for only 3 days in 1994 and 4 days at each site in 1996.  An RM Young wind monitor, a Vaisala temperature and relative humidity (temp/RH) probe, and infrared thermometers were used to measure canopy, trunk, and snow surface temperatures.  The wind monitor and temp/RH probe were mounted 2 meters above the snow surface, and a Campbell Scientific CR10 datalogger was used for all data collection.

1.3 Objective/Purpose

This study was undertaken to predict spatial distributions of energy transfer and snow properties important to the hydrology, remote sensing signatures, and transmissivity of gases through the snow and their relation to forests in boreal ecosystems.

The purpose of these measurements was to allow the relationship between subcanopy measurements and those collected above the forest canopy to be determined.  Once they were determined, the above-canopy measurements were modified to estimate the subcanopy measurements.  The subcanopy estimates of wind speed were used in the snow melt model to help predict the timing of snow ablation.

1.4 Summary of Parameters

Parameters measured with respect to this documentation are canopy wind speed and direction, air temperature, relative humidity, stem temperature and snow surface temperature.

1.5 Discussion

During the Focused Field Campaign-Winter (FFC-W) 1994 and 1996, meteorological parameters were measured at 2 m height in SSA-OJP (1994) and SSA-OBS and OA (1996).  The data were collected for only 3 days (1994) or 4 days (1996) and are intended for comparison with above-canopy meteorological data.  The data are averages of several measurements over a 10-min. (1994) and 1-min. (1996) interval. An RM Young wind monitor, a Vaisala temp/RH probe mounted 2 meters above the snow surface and a Campbell Scientific CR10 datalogger were used for data collection.  Infrared thermometers were aimed at tree canopies, trunks and the snow surface to provide measurements.  The sensors and the datalogger system are among the best available. Because of the nature of the forest canopy, wind speeds were VERY low, and in many cases below the threshold value of the sensor (1.0 m/s).  For this reason, the data are somewhat questionable as to the absolute magnitude of the wind, but provide good relative information as to the timing and magnitude of wind events.  The wind direction data are believed to be as accurate as the manufacturer's specifications.

1.6 Related Data Sets

BOREAS TF-02 SSA-OA Tower Flux Data

BOREAS TF-01 SSA-OA Tower Flux Data

BOREAS TF-05 SSA-OJP Tower Flux Data

BOREAS TF-09 SSA-OBS Tower Flux Data

BOREAS HYD-03 Subcanopy Incoming Solar Radiation Measurements

2. Investigator(s)

2.1 Investigator(s) Name and Title

Robert E. Davis

Research Physical Scientist

U.S. Army Cold Regions Research and Engineering Laboratory (CRREL)

2.2 Title of Investigation

Distributed Energy Transfer Modeling in Snow and Soil for Boreal Ecosystems

2.3 Contact Information

Contact 1

------------

Janet P. Hardy

U.S. Army CRREL

Hanover, NH

(603) 646-4306

(603) 646-4278 (fax)

jhardy@crrel.usace.army.mil

Contact 2

-----------

Dr. Robert E. Davis

US Army CRREL

Hanover, NH

(603) 646-4219

(603) 646-4278  (fax)

bert@crrel.usace.army.mil

Contact 3

-----------

David Knapp

NASA GSFC

Greenbelt, MD

(301) 286-1424

(301) 286-0239 (fax)

David.Knapp@gsfc.nasa.gov

3. Theory of Measurements

The meteorological data were collected to investigate the effect of forest

structure on the within-canopy winds, temperatures, and humidity.  Data were

compared with those collected from BOREAS flux towers at heights above the canopy to assist in developing a relationship between subcanopy and above-canopy winds in species of the boreal forest.  This understanding is essential in modeling snow ablation in the forest.

4. Equipment

4.1 Sensor/Instrument Description

4.1.1 Collection Environment

All data were collected during winter campaigns; therefore the instruments were subjected to cold temperatures.  Days were relatively clear and cold, and forest winds were light during the collection period.  Cold temperatures would not

affect the sensors nor the data quality, but low wind speeds (below the 1.0

m/s threshold) affect the quality of wind data.

4.1.2 Source/Platform

2-meter tower in forest.

4.1.3 Source/Platform Mission Objectives

To measure within-canopy winds, temperature, and humidity.

4.1.4 Key Variables

Within Canopy:

Wind speed and wind direction, air temperature, relative humidity, trunk and snow surface temperature.

4.1.5 Principles of Operation

Wind Monitor:  The wind monitor measures horizontal wind speed and direction.  Propeller rotation produces an AC signal with frequency proportional to wind speed.  The AC signal is monitored and data are processed by a Campbell datalogger.  Wind direction is measured by applying constant voltage to a potentiometer and the output signal is an analog voltage directly proportional to azimuth angle.

Temp/RH Probe:  Sensors within the probe measure the air temperature and relative humidity according to specifications discussed below.

Infrared Thermometers:  An infrared thermometer measures radiant energy.  Temperature readings are taken with an infrared thermometer by aiming  the infrared temperature transducer at the desired object.  The infrared thermometers used in this study have fields-of-view (FOV) of 15° and 4°.  It was important in orienting the temperature sensor that the entire FOV was filled with the desired object.

Infrared Radiometers:  The Eppley Precision Infared Radiometer (PIR) (Pyrgeometer) measures incoming long-wave radiation of wavelengths between 4 µm and 50 µm.  This instrument is believed to be the most accurate radiometer produced commercially for the measurement of long-wave radiation.  The pyrgeometer measures the exchange of radiation between a horizontal blackened surface (i.e. the detector) and the target viewed (i.e. sky or ground). The signal is monitored and data are processed on a Campbell Scientific datalogger (CR10).

4.1.6 Sensor/Instrument Measurement Geometry

Wind Monitor:  This sensor was located on top of a tower, 2 meters above the snow surface.  The sensor was oriented to true south in 1994 during installation, except in 1996, when the sensor was oriented to magnetic south.

Temp/RH Probe:  This sensor with radiation shield was mounted on the same tower

approximately 2 m above the snow surface.

Infrared Thermometer:  The infrared thermometers used to measure canopy and trunk temperatures were mounted on tripods, approximately 1 m above the snow surface, and the sensor was pointed at the west or east side of the tree trunk.  For infrared thermometers pointing at the canopy, care was taken to find a thick part of the canopy and to avoid measuring any background.  The radiometer used for snow surface temperature measurements was similarly mounted on a tripod and aimed at the snow surface.

Infrared Radiometers (pyrgeometers):  Sensors were located on the snow surface using either a foam block (1994) or the radiometer case (1996) for support on the snow surface.  Sensors were leveled daily using the bubble level mounted on the radiometer base.

4.1.7 Manufacturer of Sensor/Instrument

Wind Monitor:

Manufacturer:  R.M. Young Company

Distributor: Campbell Scientific Inc.

815 W. 1800 N.

Logan, Utah 84321-1784

(801) 753-2342

Vaisala Temp/RH Probe, Model HMP35C:

Manufacturer:  Vaisala, Inc.,  Woburn, MA

Distributor: Campbell Scientific, Inc.

815 W. 1800 N.

Logan, UT 84321-1784

(801) 753-2342

Everest Series 4000 Infrared Temperature Transducer (low temperature model)

Manufacturer:  Everest Interscience, Inc.

Everest Interscience, Inc.

1120 S. Raymond

Fullerton, CA  92631

(800) 422-4342

Eppley Precision Infrared Radiometer (pyrgeometer)

Manufacturer: Eppley Laboratory, Inc.

12 Sheffield Ave.

Newport, RI  02840

(401) 847-1020

4.2 Calibration

Wind Monitor:  The sensor was oriented to true south during installation, except in 1996 when the sensor was oriented to magnetic south.  A Brunton compass was used in the orientation of the sensor.  This sensor is better oriented to the

south because of a 5° "dead zone" between 355° and 360°.

Temp/RH probe:  Probes are calibrated to specifications of +/- 3% RH. Recalibration is performed at room temperature at 20%, 50%, and 85% RH.

Infrared Thermometers: Infrared temperature transducers were calibrated by Everest upon purchase.  Laboratory tests were conducted periodically for comparison of sensors and to provide confidence in the data.

Infrared Radiometers (pyrgeometers): All pyranometers were new in 1994 and were therefore factory calibrated, with reference to Eppley primary standards, just prior to deployment in the field in 1994.

4.2.1 Specifications

Wind Monitor:

The RM Young sensor has a 5°, wind direction, "dead zone" between 355° and

360°.

Temp/RH Probe:

The probe is used only with a white radiation shield obtained from the

distributor.

Infrared Thermometers:

Spectral pass-band = 8 m to 14 m.

emmissivity preset at factory at 0.98.

FOV = 4° and 15°.

Operating distance = 0.2 m to 1,000 ft focus.

Optical configuration = 35-mm precision corrected refractive optics.

Infrared Radiometers (pyrgeometers):

Sensitivity = 4 µVolts per Watt per meter2

Receiver:  circular 1 cm2 in area.

Linearity = +/- 1%, 0 to 700 Watts per m2

Cosine response = better than 5% from normalization, insignificant for a

diffuse source.

4.2.1.1 Tolerance

Wind Speed:

Accuracy = +/- 0.3 m/s.

Wind speed threshold sensitivity = 1.0 m/s (the wind speed data are not accurate below 1.0 m/s).

Wind Direction:

Accuracy = +/- 3.0° (<1%).

Temp/RH probe:

RH range = 0-100%.

Temperature range:  -35 °C to 50 °C.

Accuracy at temperatures between -24°C and 48°C = <+/-0.1°C.

Accuracy at temperature of -40°C = +/-0.5°C.

Infrared thermometers:

Temperature range = -25 °C to 75 °C.

Accuracy = +/-0.5 °C.

Resolution = +/- 0.1 °C.

Infrared radiometers:

Temperature dependance = +/- 2%, -20 °C to 40 °C.

4.2.2 Frequency of Calibration

Wind Monitor:  The RM Young wind sensor was fully calibrated when purchased on 19-Jan-1994 and has not been recalibrated since purchase.  The RM Young manual provides details on calibrating the sensor.

Temp/RH Probe:  On a regular basis and prior to field use, several Vaisala Temp/RH  probes are run adjacent to each other and concurrently to compare precision with other sensors.  Probes that appear to be imprecise are either returned to the manufacturer for recalibration, or retired.  Only probes with a high degree of precision are used in the field.  This instrument was bought on 30-Jun-1994.

Infrared Thermometers:  Factory calibrated upon initial purchase.

Infrared thermometer #1: bought in 1994.

Infrared thermometer #2: bought in 1994.

Infrared thermometer #3: bought in 1991, recalibrated 1992.

Infrared thermometer #3 was returned to manufacturer 1 year after purchase to improve its cold weather handling and recalibrated, since it is an older model.

Prior to field use we conducted

laboratory tests using 0 °C ice baths to provide confidence in

instrument.

Infrared Radiometers (pyrgeometers):  The manufacturer of the pyranometers recommends calibration after a cumulative use of 2 years.  These radiometers were new at the beginning of the FFC-W 1994 and therefore are well within calibration. Because they have been used for only ~20 days per year and stored in their dark case when not in use, the calibration should be valid for several years at the current rate of usage.

4.2.3 Other Calibration Information

Available from the manufacturer.

5. Data Acquisition Methods

All sensors were installed according to manufacturer procedures.  Data were recorded on a Campbell Scientific datalogger.  The datalogger was programmed to measure parameters every minute and output 10-minute averages (1994) and measure parameters every second and output 1-minute averages (1996).

6. Observations

6.1 Data Notes

None given.

6.2 Field Notes

Wind direction oriented to true south in 1994.

Wind direction oriented to magnetic south in 1996.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

Site        Year       Longitude      Latitude

-------------------------------------------------

SSA-OJP      1994      104.69203W     53.91634N

SSA-OBS      1996      105.11779W     53.98718N

SSA-OA       1996      106.19779W     53.6289N

All measurements were made within 50 meters of flux tower sites.

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

Point data, 2-meter height in forest.

7.1.4 Projection

All latitude/longitude locations are given in the North American Datum of 1983 (NAD83).

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

FFC-W  1994: 06-10-Feb-1994

SSA-OJP: 06-10-Feb-1994

SSA-OBS: 28-Feb-03-Mar-1996

SSA-OA: 04-08-Mar-1996

7.2.2 Temporal Coverage Map

SSA-OJP: 06-10-Feb-1994

SSA-OBS: 28-Feb-03-Mar-1996

SSA-OA: 04-08-Mar-1996

7.2.3 Temporal Resolution

10-minute averages (1994)

1-minute averages (1996)

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (h3scmet.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (h3scmet.def).

8. Data Organization

8.1 Data Granularity

All of the Subcanopy Meteorological Measurements Data are contained in one dataset.

8.2 Data Format(s)

The data files contain numerical and character fields of varying length separated by commas. The character fields are enclosed with  a single apostrophe marks. There are no spaces between the fields.  Sample data records are shown in the companion data definition files (h3scmet.def).

9. Data Manipulations

9.1 Formulae

Not applicable.

9.1.1 Derivation Techniques and Algorithms

Not applicable.

9.2 Data Processing Sequence

Not applicable.

9.2.1 Processing Steps

Not applicable.

9.2.2 Processing Changes

Not applicable.

9.3 Calculations

9.3.1 Special Corrections/Adjustments

Infrared thermometer #3 did not provide reliable data when air temperatures were below -15°C, so all the bad thermal data were replaced with -999.  Reliable data from infrared radiometer #3 were obtained only when air temperatures were greater than -15 °C. Infrared thermometer #3 was used to collect trunk temperature at the SSA-OBS and snow surface temperature at the SSA-OA.

It is important to note that the wind direction sensor was oriented to true south during installation, except in 1996 when the sensor was oriented to magnetic south.  A Brunton compass was used in the orientation of the sensor.  This sensor is better oriented to the south because of a 5° "dead zone" between 355° and 360°.

Any wind speed data with a value less than 0.0 were changed to 0.

9.3.2 Calculated Variables

None.

9.4 Graphs and Plots

None.

10. Errors

10.1 Sources of Error

Assuming an operative instrument, the primary source of error for the wind direction sensor is in the initial installation and the ability of the installer to accurately orient the monitor.

10.2 Quality Assessment

10.2.1 Data Validation by Source

Wind, air temperature, and relative humidity data were compared with Saskatechewan Research Council (SRC) data measured above the canopy.

10.2.2 Confidence Level/Accuracy Judgment

Great care was taken to orient the wind monitor during installation.  Quantification of the accuracy beyond the manufacturer’s accuracy is difficult.

The wind speed data are all below the threshold value of 1.0 m/s;  therefore, the data are not absolute.  These wind speed data are useful only for determining the occurrence of wind events.  Similarly, wind direction data are also useful only during the wind events because wind direction data under calm conditions are meaningless.  Temperature and relative humidity data are as good as the accuracy of the instrument.  Canopy, trunk, and snow surface temperature data quality are limited by the accuracy of the infrared thermometer.

10.2.3 Measurement Error for Parameters

Not available.

10.2.4 Additional Quality Assessments

Not available.

10.2.5 Data Verification by Data Center

Data that was loaded into the data tables were spot checked against the original ASCII data that was submitted to check for data loading errors.

11. Notes

11.1 Limitations of the Data

The wind speed data are all below the threshold value of 1.0 m/s and

therefore, the data are not absolute.  These wind speed data are useful only

for determining the occurrence of wind events.  Similarly, wind direction

data are also useful only during the wind events because wind direction data

under calm conditions are meaningless.

11.2 Known Problems with the Data

Infrared thermometer #3 did not provide reliable data when air

temperatures were below -15 °C, so all the bad thermal data were replaced with -999.  Reliable data from infrared radiometer #3 were obtained only when

air temperatures were greater than -15 °C. Infrared thermometer #3 is the

third one in the data field.

11.3 Usage Guidance

The wind speed data are all below the threshold value of 1.0 m/s; therefore, the data are not absolute.  These wind speed data are useful only for determining the occurrence of wind events.  Similarly, wind direction data are also useful only during the wind events because wind direction data under calm conditions are meaningless.

It is important to note that the wind direction sensor was oriented to true south during installation, except in 1996 when the sensor was oriented to magnetic south.  A Brunton compass was used in the orientation of the sensor.  This sensor is better oriented to the south because of a 5° "dead zone" between 355° and 360°.

11.4 Other Relevant Information

Not available.

12. Application of the Data Set

This data set can provide information on the timing and relative magnitude

of wind events in the forest and an approximate direction of wind.  The

data set, in conjunction with data from the tower, also provides insight

into the relationship between above-canopy and below-canopy meteorology.

13. Future Modifications and Plans

None.

14. Software

14.1 Software Description

An undetermined spreadsheet program was used to organize the data.

14.2 Software Access

None given.

15. Data Access (This section for BORIS and ORNL DAAC Use)

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

beth@ltpmail.gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax.

15.4 Data Center Status/Plans

The HYD-03 subcanopy meteorological data are available from the EOSDIS ORNL DAAC (Earth Observing System Data and Information System) (Oak Ridge National Laboratory) (Distributed Active Archive Center).

The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1 Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

The data are available in tabular ASCII files.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

wind sensor:  manual available from manufacturer:

R.M. Young Company

2801 Aero-Park Drive

Traverse City, MI  49684

(616) 946-3980

datalogger and temp/RH probe: manual available from manufacturer/distributor:

Campbell Scientific, Inc.

815 W. 1800 N.

Logan, UT 84321-1784

(801) 753-2342

Infrared thermometer manual available from manufacturer:

Everest Interscience, Inc.

1120 S. Raymond

Fullerton, CA  92631

(800) 422-4342

17.2 Journal Articles and Study Reports

Davis, R.E., C. Woodcock, and J.P. Hardy. 1996. Toward spatially distributed modeling of snow in the boreal forest.  Eos Transactions, AGU 1995 Fall Meeting, Abstract, p. 218.

Davis, R.E., J.P. Hardy, W. Ni, C. Woodcock, C.J. McKenzie, R. Jordan, and

X. Li. 1997.  Variation of snow ablation in the boreal forest: A sensitivity study on the effects of conifer canopy.  Journal of Geophysical Research. 102(D24):29389-29396.

Hardy, J.P., R.E. Davis, and J.C. McKenzie. 1995.  Snow Distribution Around

Trees:  Incorporation of snow interception patterns into spatially

distributed snow models.  Eos Transactions, AGU 1995 Fall Meeting, Abstract,

p. 202.

Hardy, J.P., R.E. Davis, R. Jordan, X. Li, C. Woodcock, W. Ni, and J.C.

McKenzie. 1997.  Snow ablation modeling at the stand scale in a boreal

jack pine forest.  Journal of Geophysical Research. 102(D24): 29397-29406.

Ni, W., X. Li, C.E. Woodstock, J.L. Roujean, and R.E. Davis. 1997.

Transmission of solar radiation in boreal conifer forests: Measurements and

models.  Journal of Geophysical Research. 102(D24):29555-29566.

Sellers, P. and F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P. and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M. Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J. Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B. Goodison, D.E. Wickland, F.E. Guertin. 1997. BOREAS in 1997: Experiment overview, scientific results, and future directions. Journal of Geophysical Research. 102(D24):28731-28770.

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

17.3 Archive/DBMS Usage Documentation

18. Glossary of Terms

None.

19. List of Acronyms

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

CGR     - Certified by Group

CPI     - Certified by Principal Investigator

CPI-??? - CPI but questionable

CRREL   - Cold Regions Research and Engineering Laboratory

DAAC    - Distributed Active Archive Center

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

FFC-W   - BOREAS Focused Field Campaign - Winter

FOV     - Field of View

GMT     - Greenwich Mean Time

GSFC    - Goddard Space Flight Center

HYD     - Hydrology

IR      - infrared

NASA    - National Aeronautics and Space Administration

NAD83   - North American Datum of 1983

NSA     - Northern Study Area

OA      - Old Aspen

OBS     - Old Black Spruce

OJP     - Old Jack Pine

ORNL    - Oak Ridge National Laboratory

PANP    - Prince Albert National Park

PIR     - Precision Infrared Radiometer

PRE     - Preliminary

RH      - relative humidity

SRC     - Saskatchewan Research Council

SSA     - Southern Study Area

temp    - Temperature

URL     - Uniform Resource Locator

20. Document Information

20.1 Document Revision Dates

Written: 24-Mar-1997

Revised: 19-Mar-1998

20.2 Document Review Dates

BORIS Review: 12-Jan-1998

Science Review: 15-Jul-1997

20.3 Document ID

20.4 Citation

The BOREAS HYD-03 subcanopy meteorological data were collected and processed by Janet P. Hardy and Robert E. Davis of US Army CRREL.  Their efforts in making these data available are greatly appreciated.

20.5 Document Curator

20.6 Document URL

TEMPERATURE

WIND SPEED

CANOPY TEMPERATURE

RELATIVE HUMIDITY