BOREAS RSS-03 Atmospheric Conditions from a Helicopter-Mounted Sunphotometer

Summary:

The BOREAS RSS-03 team collected and processed helicopter-based measurements of atmospheric conditions to estimates of aerosol optical thickness and atmospheric water vapor.  The automatic sun-tracking photometer for helicopters was deployed during all three IFC’s of 1994 at numerous tower and auxiliary sites in both the NSA and SSA.  Seven spectral channels (440, 540, 613, 670, 870 and 1030 am) were chosen to span the visible and NIR wavelengths and to avoid gaseous absorption.  One additional channel, 940 nm, was selected to measure the water column abundance above the helicopter platform.

Table of Contents

* 1 Data Set Overview

* 2 Investigator(s)

* 3 Theory of Measurements

* 4 Equipment

* 5 Data Acquisition Methods

* 6 Observations

* 7 Data Description

* 8 Data Organization

* 9 Data Manipulations

* 10 Errors

* 11 Notes

* 12 Application of the Data Set

* 13 Future Modifications and Plans

* 14 Software

* 15 Data Access

* 16 Output Products and Availability

* 17 References

* 18 Glossary of Terms

* 19 List of Acronyms

* 20 Document Information

1. Data Set Overview

Sun photometer measurements were taken from a helicopter platform at BOReal Ecosystem-Atmosphere Study (BOREAS) forested tower and auxiliary sites simultaneous with radiometric ground measurements from the same platform.  The data were collected in 1994 during the green-up, peak, and senescent stages of the growing season at numerous tower and auxiliary sites in both the Northern Study Area (NSA) and Southern Study Area (SSA).  The instrumentation used was designed and developed at National Aeronautics and Space Administration’s (NASA) Goddard Space Flight Center (GSFC).

1.1 Data Set Identification

BOREAS RSS-03 Atmospheric Conditions from a Helicopter-Mounted Sunphotometer

1.2 Data Set Introduction

The remote sensing science (RSS)-03 helicopter-based optical depth measurements are used to perform atmospheric corrections to radiance to obtain at-ground reflectance estimates from the helicopter-mounted radiometers.  The data derived from the sunphotometer covers the periods:

May 31, 1994 - June 10, 1994 (IFC1);

July 21, 1994 - August 8, 1994 (IFC2);

September 6, 1994 - September 16, 1994 (IFC3).

1.3 Objective/Purpose

To acquire atmospheric optical depth data of the study sites for assessments of spectral, spatial, and temporal variability of atmospheric aerosols and water vapor, and assessments of the impacts of these variabilities on atmospheric correction of surface reflectance and vegetation indices.  A helicopter with a pointable, stabilized mount was used to carry a spectrometer (Visible and Near- IR), a spectroradiometer, an infrared thermometer and a video camera.  The automatic sun tracking photometer for helicopters (ASTPH) was deployed to provide data for calculations of irradiance for atmospheric correction of the other sensors.

1.4 Summary of Parameters

Helicopter-based, optical depth measurements during all 3 IFCs in 1994 at tower and auxiliary sites.  Aerosol optical depths (ranging from 440 to 1030 nm) and atmospheric water vapor are reported.

1.5 Discussion

The measurements which comprise this data set were collected as part of the effort to evaluate models which estimate surface biophysical characteristics from remotely-measured optical signatures.

Successful use of a helicopter-mounted sunphotometer is demonstrated. Due to the rapid response time of the silicon detector and the associated electronics, the passage of the rotor blade is a nuisance that can be removed during data analysis.  Sufficiently accurate values of the aerosol optical thickness are obtained in all channels.  Variability in the measured voltages translates directly to variability in derived aerosol optical thicknesses.

The addition of an on-board automatic sun-tracking sunphotometer system has made the helicopter optical remote sensing system a self-contained mobile unit that can be used to acquire calibrated remote measurements of surface parameters. Initial experience with this system shows that accurate and reliable measurements of surface irradiance, surface reflectance and temperature can be made in remote areas where surface access is difficult or impractical.

1.6 Related Data Sets

BOREAS RSS-01 PARABOLA Surface Reflectance and Transmittance Data

BOREAS RSS-02 Level-1b ASAS Imagery: At-sensor Radiance in BSQ Format

BOREAS RSS-03 Reflectance Measured from a Helicopter-Mounted SE-590

BOREAS RSS-03 Reflectance Measured from a Helicopter-Mounted Barnes MMR

BOREAS RSS-11 Ground Network of Sun Photometer Measurements

BOREAS RSS-12 Airborne Tracking Sunphotometer Measurements

BOREAS RSS-12 Automated Ground Sun Photometer Measurements in the SSA

BOREAS RSS-19 Background Spectral Reflectance Data

BOREAS RSS-20 POLDER Measurements of Surface BRDF

2. Investigator(s)

2.1 Investigator(s) Name and Title

Dr. Charles L. Walthall, Physical Scientist

2.2 Title of Investigation

Biophysical Significance of Spectral Vegetation Indices in the Boreal Forest

2.3 Contact Information

Contact 1

-------------

Dr. Charles L. Walthall

Physical Scientist

USDA Agricultural Research Service

Remote Sensing and Modeling Laboratory

Beltsville, MD

Tel: 301-504-6074

Fax: 301-504-5031

Email.: cwalthal@asrr.arsusda.gov

Contact 2

----------------

Sara Loechel

Faculty Research Assistant

Department of Geography

University of Maryland

Remote Sensing and Modeling Laboratory

Beltsville, MD

Tel: 301-504-6823

Fax: 301-504-5031

E-mail: sloechel@asrr.arsusda.gov

Contact 3

-------------

Jaime Nickeson

Raytheon ITSS

NASA GSFC

Greenbelt, MD

(301) 286-3373

(301) 286-0239 (fax)

Jaime.Nickeson@gsfc.nasa.gov

3. Theory of Measurements

Radiation striking a vegetative canopy interacts with individual phytoelements (leaves, stems, branches) and the underlying substrate.  The interaction depends on light quality, radiative form (direct or diffuse), illumination incidence angle, vegetative component optical properties, and canopy architecture.  Radiation is reflected, transmitted or absorbed.

Reflected radiation measurements were converted to radiances and reflectance factor values.  The reflectance factor is the ratio of the target reflected radiant flux to an ideal radiant flux reflected by a Lambertian standard surface irradiated in exactly the same way as the target. Reflected radiation from a field reference panel corrected for nonperfect reflectance and sun angle was used as an estimate of the ideal Lambertian standard surface (Walter-Shea and Biehl, 1990).

The BOREAS RSS-03 helicopter missions were designed to provide a rapid means of intensive spectral characterization of sites and to provide an intermediate scale of sampling between the surface measurements and the higher altitude aircraft and spacecraft multispectral imaging devices.  The instruments onboard the helicopter were chosen to provide compatibility with surface-based radiometers and Thematic Mapper (TM) spaceborne sensors.

The RSS-03 helicopter-based optical depth measurements are used to perform atmospheric corrections to radiance to obtain at-ground reflectance estimates from the helicopter-mounted radiometers.  The addition of an on-board automatic sun-tracking sunphotometer system has made the helicopter optical remote sensing system a self-contained mobile unit that can be used to acquire calibrated remote measurements of surface parameters. Initial experience with this system shows that accurate and reliable measurements of surface irradiance, surface reflectance and temperature can be made in remote areas where surface access is difficult or impractical.

4. Equipment

4.1 Sensor/Instrument Description

The primary instruments for the BOREAS RSS-03 deployment are the SE-590, a Barnes Modular Multiband Radiometer (MMR), a color charge coupled device (CCD)-based video camera, and a sun-tracking photometer.

Design, development and fabrication of the automatic sun tracking photometer for use with the helicopter took place during the year prior to the 1994 BOREAS field season. This activity was overseen by the principal investigator. The principal design, software development, and management was performed by Mr. Greg Elman (SSAI).  The engineering expertise of Mr. Max Strange, who had a major role in the development of the airborne tracking sun photometer used on the NASA C-130 fixed-wing aircraft, was an important part of the system development. Dr. Steven Chan (SSAI), Ms. Needa Walsh (SSAI), and Mr. David Rosten (Ressler Assoc.) contributed software expertise, optics design, and bench-testing.  Mr. John Schafer (SSAI) contributed to the system fabrication and provided hardware support in the field.  Mr. Moon Kim (Univ. of Maryland) provided software support in the field.

The automatic sun tracking photometer consists of an optical head containing the sensors for the 8 spectral channels and a quad-detector. The quad-detector is used for tracking the sun.  The field-of-view (FOV) on the data channels is 2 degrees, while the FOV on the quad-detector is 30 degrees. The optical head is mounted on a motorized mount with azimuth and zenith axes. An off-the-shelf mount from Aerotech Corporation was used for time and cost savings.  The entire optical sensor unit is mounted on the roof of the helicopter cabin on the starboard side, directly above the primary instrument operator.  Data and control cables are fed down through a port in the helicopter cabin roof to the rear of the center instrument rack.  The length of the cables and the location of the sun photometer with respect to the helicopter main rotor mast created a zone of azimuthal occlusion.  The usable azimuth range was roughly 0 to 150 degrees on the starboard side of the aircraft, with 0 degrees being the direction of the aircraft nose.

The 2-axis mount controls are handled by a controller with electronics that are isolated from the data collection system.  Operator inputs for moving the mount in both the azimuthal and vertical directions are via a joystick.  Both the detector system and the mount controller system are located in the center equipment rack.  The laptop computer used for data logging was mounted on a small shelf in the center rack.

Analog voltages from the detectors are sent to a circuit that performs the analog-to-digital conversion and performs the quad-detector operations for solar tracking.  The digital data streams from this device were then sent to the port of a 486-based PC laptop computer.  Data logging and real-time readout of sensor voltages were accomplished with a DOS Windows version of Labtech software.  An LED readout was positioned on the front panel of the sensor system box with a rotary switch for selection of the detector channel to be displayed there.  The temperature of the detector assembly is also recorded with the detector data.

Sampling rate considerations were key issues in the design of the instrument.  A major problem of mounting a sun photometer on a helicopter is that the system must acquire data and stay locked on the solar disk while viewing between the moving rotor blades.  Reduction of irradiance beneath moving rotor blades can be considerable.  A sampling rate programmable up to 333ks/sec can be obtained, but was not necessary with the rotor blade frequency of 9Hz for a complete rotation (18 Hz for blade-to-blade rotation).  The sampling of the solar irradiance through the main rotor blades was fast enough to plot the chopping motion of the blades.  A filtering procedure was used to separate the higher, unobstructed data from the sun, from chopper-interfered signal.

The band centers chosen for 7 of the possible 10 channels of the system were 0.440 , 0.540, 0.613, 0.670, 0.870, 0.940 and 1.030 µm.  Each spectral band was approximately 0.10 µm wide.  These bands were chosen because of their compatibility with the spectral channels of the Cimel surface-based sun photometers being used by other BOREAS teams at various sites within the BOREAS study areas.

Computer control of the instruments provides precise, automatic control and also assures proper timing of data collection.  The radiometric instruments are configured such that all sensors except the photographic camera can be triggered near-simultaneously with a single computer keyboard keystroke.  The command sent from the keyboard is first sent to the SE-590, then to the A/D systems.  Raw data from each of the instruments is displayed via graphics and tabular listings on the main computer screen immediately after scanning.

4.1.1 Collection Environment

In general, the helicopter was flown during relatively clear days when possible.  Data collection was attempted during conditions of highest possible solar elevation.  All observations were attempted from a nadir observation point and usually at 300 m above ground level (AGL).  Exceptions are noted in the helicopter log.

4.1.2 Source/Platform

A Bell UH-1H "Iroquois" helicopter, operated by NASA’s Wallops Flight Facility (WFF) was used as the airborne platform during BOREAS.  This particular aircraft, call number N415, was built in 1965 and was acquired by WFF in 1993. Upon acquisition, the aircraft was slightly modified for use as a scientific platform.

Helicopter N415 operates with standard or low mount, rear-leaning skids. The engine is a Lycoming T53/L13 which provides 1,400 shaft HP with 1,290 transmission HP. The fuel capacity provides 2.0 hours flying time with a 20 minute fuel reserve under normal modes of operation. The addition of an auxiliary fuel tank in the port-side door crewman's position provided an additional 15 minutes of flight time during BOREAS given optimum flight conditions.

The weight of the entire helicopter system with full instrumentation, full fuel, and crew members was 9,500 lbs.

4.1.3 Source/Platform Mission Objectives

One solution for atmospheric correction and calibration of remotely sensed data from airborne platforms is the use of radiometrically calibrated instruments, sunphotometers, and an atmospheric radiative transfer model.  Sunphotometers are used to measure the direct solar irradiance at the level at which they are operating and the data are used in the computation of atmospheric optical depth. Atmospheric optical depth is an input to atmospheric correction algorithms that convert at-sensor radiance to required surface properties such as reflectance and temperature.  Airborne sun photometry has thus far seen limited use and has not been used before with a helicopter platform.  The addition of the sun photometer to the helicopter system adds another tool for monitoring the environment and makes the helicopter remote sensing system capable of collecting calibrated, atmospherically corrected data independent of the need for measurements from other systems.

Although the primary motivation for development of the helicopter automatic sun tracking photometer was to providing data for calibration and correction of remotely sensed measurements, the system is also useful for the acquisition of measurements in support of atmospheric research.  Optical thickness as a function of height in the boundary layer, which an airborne sunphotometer easily provides, is necessary to better understand vertical aerosol distributions.

4.1.4 Key Variables

Aerosol optical thickness and atmospheric water vapor.

4.1.5 Principles of Operation

Computer control of the instruments provides precise, automatic control and ensures proper timing of data collection.  The radiometric instruments are configured such that all sensors except the photographic camera can be triggered near-simultaneously with a single computer keyboard keystroke.  The command sent from the keyboard is first sent to the SE-590, then to the A/D systems.  Raw data from each of the instruments are displayed via graphics and tabular listings on the main computer screen immediately after scanning.

The system is configured for multiple sensor data collection.  The MMR, SE-590, infrared thermometer, autotracking sunphotometer, and video sensor were the primary payload during BOREAS.

4.1.6 Sensor/Instrument Measurement Geometry

The NASA GSFC/WFF helicopter-based optical remote sensing system was deployed to acquire canopy multispectral data simultaneous with atmospheric properties while hovering approximately 300 meters AGL (Walthall et al., 1996).

4.1.7 Manufacturer of Sensor/Instrument

The ASTPH was designed and built for the special environmental conditions of a helicopter platform.  The sun photometer is the latest of a series of modifications to a helicopter-based optical remote sensing system developed since 1984 by researchers at NASA’s GSFC and WFF (Williams et al., 1984; Walthall, 1996; Walthall et al., 1996).  Design, development and fabrication of the ASTPH took place in 1993 prior to the field deployment for BOREAS in 1994.

4.2 Calibration

Calibration of the sun photometers used during BOREAS were calibrated prior to the field season and again following the field season.  The Cimel units had been extensively calibrated and were considered a source of calibration themselves. The helicopter sun photometer was shipped to the calibration site without the thermal control boards operating prior to the field season. The thermal control boards were working in time for the field deployments and for the post-season calibration.  Hence, the calibration values changed.  It was decided to use data from comparisons of the voltages from the helicopter unit with nearby Cimel units as a means of calibration.

4.2.1 Specifications

Calibration of a sunphotometer involves determining the exoatmospheric voltage response in each of the channels.  Langley plots and intercomparison methods are employed that use the Bouguer law of atmospheric extinction for those channels that do not include discrete gaseous absorption.

The raw data were first screened for voltage dropouts caused by the passage of a rotor blade.  The resulting "clear" data were then processed to obtain aerosol optical thickness.  Calibration was performed by two methods. In April 1994, the sunphotometer was taken to Mount Lemmon (elevation 9167') to perform a Langley calibration (Halthore et al., 1992) for the non water absorption channels.  Since the instrument wiring was reconfigured after the calibration, it was felt that the Mount Lemmon calibration may not be valid for flights in the BOREAS IFCs.  Thus, a special effort was made to perform calibration by intercomparison with sunphotometers that were thought to be better calibrated.

During IFC1 in May of 1994, intercomparison was performed with the NASA Ames sunphotometer at Candle Lake (Wrigley, R., private communication).  The resulting calibration coefficients differed from the Mount Lemmon calibrations by at most 3% and typically 2% in most channels, thus showing that the instrument response had not been drastically altered by the reconfiguration.  However, it was decided that the Ames intercomparison coefficients for both IFCs 1 and 2 would be used.

4.2.1.1 Tolerance

None given.

4.2.2 Frequency of Calibration

None given.

4.2.3 Other Calibration Information

Due to problems with data logging during IFC3 in September 1994, the signals from 3 channels were lost (channels 2, 5 and 6).  Calibration once again became a problem of utmost concern.  Intercomparison with an 8 channel sunphotometer, commonly called SXM-2, was performed at the BOREAS SSA Operations Center near Candle Lake on a clear day (September 16).  In the absence of a high mountain calibration, the NASA-built SXM-2 sunphotometer, with detector temperature control and automatic operation and data logging, was calibrated by comparison with a "standard" Cimel sunphotometer at GSFC in October following the conclusion of IFC3.  The transferred calibration shows deviations of less than 3% in all functioning channels.  It was decided that the calibration from IFC3 [September 16 ?] would be sufficient for analyzing data.

The fact that different calibration methods yield coefficients within about 3% indicates the uncertainty of the measured aerosol optical thickness will also be on the order of about 0.03; the actual uncertainty is probably a little higher than this due to variability in the data.  Considering the conditions under which the helicopter sunphotometer operated, this level of uncertainty is acceptable.

5. Data Acquisition Methods

See Ref: Walthall et al, 1996.

The UNIDEX-I I [is this second I a typo? should it look like it does below, UNIDEX-11?] operates in two different modes: TRAC [TRAC or TRACK?], and REGULAR.  The REGULAR mode is used to move the mount to the desired starting position (zenith and azimuth).  The TRACK mode is used when the quad detectors are commanded to take control and track the sun.

The data collection process begins by moving the mount from the HOME (azimuth angle = 12:00 [this isn’t an angle - keep?], zenith angle = 0 degrees) to the desired zenith and azimuth angles as specified from operator input.  This initial input must be within 30 degrees of the sun.  The PC-486 then switches the UNIDEX-11 into the TRACK mode and the quad-detectors take control, "locking on" the sun.  The analog output of the photo detectors is sampled for 10C ms [what is 10C ms? ten cycles per millisecond?] and usually contains at least one blade passing in the data stream.  The data are acquired from the hardware at a rate of 5 [per?] ms (which yields 20 data points), and then all data are plotted on the operator screen.  The digital  raw solar irradiance data are saved to disk along with barometric pressure and altitude data that are used later in the data processing sequence.  Analog voltages from the seven photo-detectors located in the optical head are digitized by an analog to digital converter.

6. Observations

An extensive helicopter log is available.  Environmental, technical, instrumental, and operator conditions are noted for each observation where applicable.

6.1 Data Notes

None given.

6.2 Field Notes

See helicopter log.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

The helicopter visited all of the NSA and SSA tower and category-1 auxiliary sites.

Each site listed below was observed by this instrument at least once during the 1994 campaign at BOREAS:

--------------------------------------------------------------------------

Site Id   Operat’l  Longitude   Latitude       UTM         UTM      UTM

Grid ID                           Easting     Northing   Zone

--------------------------------------------------------------------------

Flux Tower Sites

Southern Study Area:

SSA-FEN-SE501  F0L9T  104.61798° W 53.80206° N  525159.8   5961566.6  13

SSA-OBS-SE501  G8I4T  105.11779° W 53.98717° N  492276.5   5982100.5  13

SSA-OJP-SE501  G2L3T  104.69203° W 53.91634° N  520227.7   5974257.5  13

SSA-YJP-SE501  F8L6T  104.64529° W 53.87581° N  523320.2   5969762.5  13

SSA-9OA-SE501  C3B7T  106.19779° W 53.62889° N  420790.5   5942899.9  13

SSA-9YA-SE501  D0H4T  105.32314° W 53.65601° N  478644.1   5945298.9  13

--------------------------------------------------------------------------

Northern Study Area:

NSA-OBS-SE501  T3R8T   98.48139° W 55.88007° N  532444.5   6192853.4  14

NSA-OJP-SE501  T7Q8T   98.62396° W 55.92842° N  523496.2   6198176.3  14

NSA-YJP-SE501  T8S9T   98.28706° W 55.89575° N  544583.9   6194706.9  14

NSA-BVP-SE501  T4U6T   98.02747° W 55.84225° N  560900.6   6188950.7  14

NSA-FEN-SE501  T7S1T   98.42072° W 55.91481° N  536207.9   6196749.6  14

--------------------------------------------------------------------------

Auxiliary Sites

Southern Study Area:

SSA-9BS-SE501  D0H6S  105.29534° W 53.64877° N  480508.7   5944263.4   13

SSA-9BS-SE501  G2I4S  105.13964° W 53.93021° N  490831.4   5975766.3   13

SSA-9BS-SE501  G2L7S  104.63785° W 53.90349° N  523793.6   5972844.3   13

SSA-9BS-SE501  G6K8S  104.75900° W 53.94446° N  515847.9   5977146.9   13

SSA-9BS-SE501  G9I4S  105.11805° W 53.99877° N  492291.2   5983169.1   13

SSA-9JP-SE501  F5I6P  105.11175° W 53.86608° N  492651.3   5968627.1   13

SSA-9JP-SE501  F7J0P  105.05115° W 53.88336° N  496667.0   5970323.3   13

SSA-9JP-SE501  F7J1P  105.03226° W 53.88211° N  497879.4   5970405.6   13

SSA-9JP-SE501  G1K9P  104.74812° W 53.90880° N  516546.7   5973404.5   13

SSA-9JP-SE501  G4K8P  104.76401° W 53.91883° N  515499.1   5974516.6   13

SSA-9JP-SE501  G7K8P  104.77148° W 53.95882° N  514994.2   5978963.8   13

SSA-9JP-SE501  G8L6P  104.63755° W 53.96558° N  523778.0   5979752.7   13

SSA-9JP-SE501  G9L0P  104.73779° W 53.97576° N  517197.7   5980856.0   13

SSA-9JP-SE501  I2I8P  105.05107° W 54.11181° N  496661.4   5995963.1   13

SSA-ASP-SE501  B9B7A  106.18693° W 53.59098° N  421469.8   5938447.2   13

SSA-ASP-SE501  D6H4A  105.31546° W 53.70828° N  479177.5   5951112.1   13

SSA-ASP-SE501  D6L9A  104.63880° W 53.66879° N  523864.0   5946733.2   13

SSA-ASP-SE501  D9G4A  105.46929° W 53.74019° N  469047.1   5954718.4   13

SSA-MIX-SE501  D9I1M  105.20643° W 53.72540° N  486379.7   5952989.7   13

SSA-MIX-SE501  F1N0M  104.53300° W 53.80594° N  530753.7   5962031.8   13

SSA-MIX-SE501  G4I3M  105.14246° W 53.93750° N  490677.3   5976354.9   13

SSA-CLR-SE501  FRSHCL 104.69194° W 53.91639° N  520205.2   5974269.4   13

--------------------------------------------------------------------------

Northern Study Area:

NSA-9BS-SE501  S8W0S   97.84024° W 55.76824° N  572761.9   6180894.9   14

NSA-9BS-SE501  T0P7S   98.82345° W 55.88371° N  511043.9   6193151.1   14

NSA-9BS-SE501  T0P8S   98.80225° W 55.88351° N  512370.1   6193132.0   14

NSA-9BS-SE501  T0W1S   97.80937° W 55.78239° N  574671.7   6182502.0   14

NSA-9BS-SE501  T3U9S   97.98339° W 55.83083° N  563679.1   6187719.2   14

NSA-9BS-SE501  T4U8S   97.99325° W 55.83913° N  563048.2   6188633.4   14

NSA-9BS-SE501  T4U9S   97.98364° W 55.83455° N  563657.5   6188132.8   14

NSA-9BS-SE501  T5Q7S   98.64022° W 55.91610° N  522487.2   6196800.5   14

NSA-9BS-SE501  T6R5S   98.51865° W 55.90802° N  530092.0   6195947.0   14

NSA-9BS-SE501  T6T6S   98.18658° W 55.87968° N  550887.9   6192987.9   14

NSA-9BS-SE501  T7R9S   98.44877° W 55.91506° N  534454.5   6196763.6   14

NSA-9BS-SE501  T7T3S   98.22621° W 55.89358° N  548391.8   6194505.6   14

NSA-9BS-SE501  T8S4S   98.37111° W 55.91689° N  539306.4   6197008.6   14

NSA-9BS-SE501  U5W5S   97.70986° W 55.90610° N  580655.5   6196380.8   14

NSA-9BS-SE501  U6W5S   97.70281° W 55.91021° N  581087.8   6196846.5   14

NSA-9JP-SE501  99O9P   99.03952° W 55.88173° N  497527.8   6192917.5   14

NSA-9JP-SE501  Q3V3P   98.02473° W 55.55712° N  561517.9   6157222.2   14

NSA-9JP-SE501  T7S9P   98.30037° W 55.89486° N  543752.4   6194599.1   14

NSA-9JP-SE501  T8Q9P   98.61050° W 55.93219° N  524334.5   6198601.4   14

NSA-9JP-SE501  T8S9P   98.28385° W 55.90456° N  544774.3   6195688.9   14

NSA-9JP-SE501  T8T1P   98.26269° W 55.90539° N  546096.3   6195795.3   14

NSA-9JP-SE501  T9Q8P   98.59568° W 55.93737° N  525257.1   6199183.2   14

NSA-9OA-SE501  T2Q6A   98.67479° W 55.88691° N  520342.0   6193540.7   14

NSA-ASP-SE501  P7V1A   98.07478° W 55.50253° N  558442.1   6151103.7   14

NSA-ASP-SE501  Q3V2A   98.02635° W 55.56227° N  561407.9   6157793.5   14

NSA-ASP-SE501  R8V8A   97.89260° W 55.67779° N  569638.4   6170774.8   14

NSA-ASP-SE501  S9P3A   98.87621° W 55.88576° N  507743.3   6193371.6   14

NSA-ASP-SE501  T4U5A   98.04329° W 55.84757° N  559901.6   6189528.2   14

NSA-ASP-SE501  T8S4A   98.37041° W 55.91856° N  539348.3   6197194.6   14

NSA-ASP-SE501  V5X7A   97.48565° W 55.97396° N  594506.1   6204216.6   14

NSA-ASP-SE501  W0Y5A   97.33550° W 56.00339° N  603796.6   6207706.6   14

NSA-MIX-SE501  Q1V2M   98.03769° W 55.54568° N  560718.3   6155937.3   14

NSA-MIX-SE501  T0P5M   98.85662° W 55.88911° N  508967.7   6193747.3   14

NSA-BRS-SE501  BRSOL   98.28889° W 55.90528° N  544441.4   6195777.7   14

NSA-TMK-SE501  TAMRK   98.42111° W 55.91583° N  536165.1   6196874.8   14

NSA-BRN-SE501  BRNJP   99.04383° W 55.88184° N  497240.1   6192940.9   14

--------------------------------------------------------------------------

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

The data channels of the ASTPH view the sun with a FOV of 2 degrees, while the FOV on the quad-detector is 30 degrees.

7.1.4 Projection

Not applicable.

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

Observations were made during all three BOREAS 1994 IFCs, which occurred during the following periods:

IFC-1   24-May    - 16-June

IFC-2   19-July   - 10-August

IFC-3   30-August - 19-September

Measurements were made as conditions permitted during each IFC.

7.2.2 Temporal Coverage Map

Observations were made at several sites on the following dates:

-----------------------------

Date	Study Area

-----------------------------

31-May-94 	SSA

1-Jun-94	SSA

4-Jun-94	SSA

6-Jun-94	SSA

7-Jun-94	SSA

8-Jun-94	NSA

10-Jun-94	NSA

21-Jul-94	NSA

22-Jul-94	SSA

23-Jul-94	SSA

24-Jul-94	SSA

25-Jul-94	SSA

28-Jul-94	SSA

4-Aug-94	NSA

8-Aug-94	NSA

6-Sep-94	NSA

8-Sep-94	NSA

9-Sep-94	NSA

13-Sep-94	NSA

15-Sep-94	SSA

16-Sep-94	SSA

7.2.3 Temporal Resolution

Measurements were collected as conditions permitted during each IFC.  Each site was visited as often as possible during each IFC, with priority given to tower flux sites and category 1 auxiliary sites.  Helicopter flight time was limited to approximately 2 hours by fuel constraints.  As many sites as possible were visited during each flight.

The analog output of the photo detectors is sampled for 10C ms [what is 10C ms? ten cycles per millisecond?] and usually contains at least one blade passing in the data stream.  The data are acquired from the hardware at a rate of 5 [per?] ms (which yields 20 data points), and then all data are plotted on the operator screen.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (rs3atmos.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (rs3atmos.def).

8. Data Organization

8.1 Data Granularity

All of the atmospheric condition data are in one file.

8.2 Data Format(s)

The data files contain American Standard Code for Information Interchange (ASCII) numerical and character fields of varying length separated by commas. The character fields are enclosed with single apostrophe marks. There are no spaces between the fields. Sample data records are shown in the companion data definition file (rs3atmos.def).

9. Data Manipulations

9.1 Formulae

See reference list.

9.1.1 Derivation Techniques and Algorithms

See reference list.

9.2 Data Processing Sequence

9.2.1 Processing Steps

After data collection, the data set and relevant location and condition information were used to transform the at-sensor DNs to atmospheric optical depths and water vapor column estimates as described in Halthore et al. (1997). In order to eliminate the rotor blade swipes, for each site/time an "unobstructed" value was calculated.  This was achieved in the optical thickness data set by calculating the mininum value for the data collected over a given site. For the water vapor column estimates, a median value was given.  In addition, the number of observations used in calculating the minimum or median is reported; those values calculated from a larger source data set are more reliable.

9.2.2 Processing Changes

None.

9.3 Calculations

See reference list.

9.3.1 Special Corrections/Adjustments

None given.

9.3.2 Calculated Variables

See reference list.

9.4 Graphs and Plots

None.

10. Errors

10.1 Sources of Error

None given.

10.2 Quality Assessment

Visual quality assessment during data collection.  See also, reference list and helo logs.

10.2.1 Data Validation by Source

None given.

10.2.2 Confidence Level/Accuracy Judgment

None given.

10.2.3 Measurement Error for Parameters

None given.

10.2.4 Additional Quality Assessments

See helo logs.

10.2.5 Data Verification by Data Center

BOREAS Information System (BORIS) personnel have performed some quality checks of the data in the process of loading the data into the database.

11. Notes

11.1 Limitations of the Data

None given.

11.2 Known Problems with the Data

None given.

11.3 Usage Guidance

The RSS-03 helicopter-based optical depth measurements are relevant primarily to the belicopter-borne optical measurements, unless one is interested in the spatial distribution of atmospheric particulates over the boreal forest.

11.4 Other Relevant Information

None.

12. Application of the Data Set

The RSS-03 helicopter-based optical depth measurements are used to perform atmospheric corrections to radiance to obtain at-ground reflectance estimates from the helicopter-mounted radiometers.

Although the primary motivation for development of the helicopter automatic sun tracking photometer was to providing data for calibration and correction of remotely sensed measurements, the system is also useful for the acquisition of measurements in support of atmospheric research.  Optical thickness as a function of height in the boundary layer, which an airborne sunphotometer easily provides, is necessary to better understand vertical aerosol distributions.

13. Future Modifications and Plans

None.

14. Software

14.1 Software Description

Labtech.

14.2 Software Access

Labtech software is commercially available.  Software developed specifically for the ASTPH is not available for distribution.

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

Elizabeth.Nelson@.gsfc.nasa.gov

15.2 Data Center Identification

See 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax.

15.4 Data Center Status/Plans

The RSS-03 helicopter-based sunphotometer data are available from the EOSDIS ORNL DAAC (Earth Observing System Data and Information System) (Oak Ridge National Laboratory) (Distributed Active Archive Center). The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

Oak Ridge, TN

(423) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1 Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

The data are available as tabular ASCII files.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

Halthore, R. N., B. L. Markham, R. A. Ferrare and Theo. O. Aro. "Aerosol Optical Properties Over the Midcontinental United States". Journal of Geophysical Research. Vol. 97. No. D17. Panes 18.769 - 18.778. 1992.

Halthore et al, Journal of Geophysical Research, BOREAS Special Issue, 1997 (In Press).

Holben, B. N., T. F. Eck, I. Slutsker, D. Tanre, J. P. Buis, A. Setzer, E. Vermote, J. A. Reagan, Y. J. Kaufman, T. Nakajima and F. Lavenu, "Multi-Band Automatic Sun and Sky Scanning Radiometer System for Measurement of Aerosols." Remote Sensing of Environment. (In Press). 1996.

Lawrence, W. T., D.L. Williams, K.J. Ranson, J.R. Irons and C.L. Walthall, "Comparative Analysis of Data Acquired by Three Narrow-Band Airborne Spectroradiometers Over Subboreal Vegetation," Remote Sensing of Environment47:204-215. 1994.

Markham, B. L., F. Wood, and S. P. Ahmad, "Radiometric Calibration of the Reflective Bands of NS001-Thematic Mapper Simulator (TMS) and Modular Multispectral Radiometers (MMR)," in Recent .Advances in Sensors, Radiometry. and Data Processing for Remote Sensing. Orlando. FL Proceedings of the SPIE. 24. 96- 108. 1988.

Walthall, C. L., D. L. Williams, B. L. Markham, J. E. Kalshoven and R. Nelson, redevelopment and Present Configuration of the NASA GSFC/WFF Helicopter-Based Remote Sensing System," Lincoln, NB, Proceedings of IGARSS. In Press. 1996.

Walthall, C.L., R.N. Halthore, G.C. Elman, J.R. Schafer, and B.L. Markham, "An airborne sunphotometer for use with helicopters," ERIM, 1996.

Walthall, C., S.E. Loechel, K.F. Huemmrich, E. Brown de Colstoun, J. Chen, B. L. Markham, J. Miller, and E.A. Walter-Shea. 1997.  Spectral Information Content of the Boreal Forest, 10th International Colloquium on Physical Measurements and Signatures in Remote Sensing, International Society for Photogrammetry and Remote Sensing, Courchevel, France.

Williams, D. L., C. L. Walthall and S. N. Goward, "Collection of in-situ Forest Canopy Spectra Using a Helicopter: A Discussion of Methodology and Preliminary Results,"Proceedings of 1984 Symposium on Machine Processing of Remotely Sensed Data, Pursue Univ., West Lafayette, IN, pp. 94-106, 1984.

17.2 Journal Articles and Study Reports

Loechel, S.E., C.L Walthall, E. Brown de Colstoun, J. Chen, B.L. Markham and J. Miller.  1997.  Variability of boreal forest reflectances as measured from a helicopter platform.  Journal of Geophysical Research, BOREAS Special Issue, Vol 102, No. D24, PP. 29,495-29,503.

Sellers, P.and  F. Hall. 1994. Boreal Ecosystem-Atmosphere Study:  Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P.and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study:  Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M. Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J. Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B. Goodison, D.E. Wickland, and F.E. Guertin. (1997). "BOREAS in 1997: Experiment Overview, Scientific Results and Future Directions", Journal of Geophysical Research (JGR), BOREAS Special Issue, 102(D24), Dec. 1997, pp. 28731-28770.

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None.

19. List of Acronyms

A/D     - Analog-to-digital

AGL     - Above Ground Level

ASCII   - American Standard Code for Information Interchange

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

CCD     - Charge-Coupled Device

DAAC    - Distributed Active Archive Center

FOV     - Field of View

GSFC    - Goddard Space Flight Center

IFC     - Intensive Field Campaign

MMR     - Modular Multiband Radiometer

NASA    - National Aeronautics and Space Administration

NSA     - Northern Study Area

ORNL    - Oak Ridge National Laboratory

RSS     - Remote Sensing Science

SE-590  - Spectron Engineering spectroradiometer (SE590)

SSA     - Southern Study Area

TM      - Thematic Mapper

URL     - Uniform Resource Locator

UTM     - Universal Transverse Mercator

WFF     - Wallops Flight Facility

20. Document Information

20.1 Document Revision Date

Written:         30-Jul-1997

Last Updated:    03-Dec-1998

20.2 Document Review Dates

BORIS Review:    28-Nov-1998

Science Review:

20.3 Document

20.4 Citation

20.5 Document Curator

20.6 Document URL

Keywords:

Sunphotometer

Helicopter

Optical Thickness