BOREAS Level-3s SPOT Imagery: Scaled At-sensor Radiance in LGSOWG Format

Summary

For BOREAS, the level-3s SPOT data, along with the other remotely sensed images, were collected in order to provide spatially extensive information over the primary study areas.  This information includes radiant energy, detailed land cover, and biophysical parameter maps such as FPAR and LAI.  The SPOT images acquired for the BOREAS project were selected primarily to fill temporal gaps in the Landsat TM image data collection.  CCRS collected and supplied the level-3s images to BORIS for use in the remote sensing research activities. Spatially, the level-3s images cover 60-by 60-km portions of the BOREAS NSA and SSA.  Temporally, the images cover the period of 17-Apr-1994 to 30-Aug-1996.  The images are available in binary image format files.

Table of Contents

*   1 Data Set Overview

*   2 Investigator(s)

*   3 Theory of Measurements

*   4 Equipment

*   5 Data Acquisition Methods

*   6 Observations

*   7 Data Description

*   8 Data Organization

*   9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS Level-3s SPOT Imagery: Scaled At-sensor Radiance in LGSOWG Format

1.2 Data Set Introduction

The BOReal Ecosystem-Atmosphere Study (BOREAS) Staff Science effort covered those activities that were BOREAS community-level activities or required uniform data collection procedures across sites and time. These activities included the acquisition of the relevant satellite data. Data from the High-Resolution Visible (HRV) instruments on the Systeme Pour l'Observation de la Terre (SPOT) satellites were acquired by the Canada Centre for Remote Sensing (CCRS) and provided for use by BOREAS researchers.  BOREAS Information System (BORIS) and CCRS personnel subsequently reviewed and inventoried the images described here.

1.3 Objective/Purpose

For BOREAS, the SPOT imagery, along with the other remotely sensed images, was collected in order to provide spatially extensive information over the primary study areas.   The SPOT images acquired for the BOREAS project were selected primarily to fill temporal gaps in the Landsat Thematic Mapper (TM) image collection.

1.4 Summary of Parameters

SPOT level-3s data in BORIS contain the following parameters:

Original image header information, image coordinates, gains and offsets for each band for at-sensor radiance derivations, image bands 1 to 3 processed with systematic spatial corrections.

1.5 Discussion

Use and distribution of the level-3s SPOT images are subject to copyright restrictions.  CCRS and Radarsat International (RSI) granted permission to BOREAS to place a subset of the level-3a Landsat TM images on the BOREAS CD-ROM series. However, none of the other Landsat TM or level-3s SPOT images are included.  The level-3s SPOT images may not be available for public access.  Please see Sections 15 and 16 for further details.

BORIS Staff processed the SPOT level-3s imagery by:

1) Extracting pertinent header information from the level-3s image product and placing it in an American Standard Code for Information Interchange (ASCII) file on disk.

2) Reading the information in the ASCII disk file and loading the online data base with pertinent information.

1.6 Related Data Sets

BOREAS Level-3s Landsat TM Imagery: Scaled At-sensor Radiance in LGSOWG Format

BOREAS Level-3a Landsat TM Imagery: Scaled At-sensor Radiance in BSQ Format

BOREAS Level-3b Landsat TM Imagery: At-sensor Radiance in BSQ Format

2. Investigator(s)

2.1 Investigator(s) Name and Title

BOREAS Staff Science

2.2 Title of Investigation

BOREAS Staff Science Satellite Data Acquisition Program

2.3 Contact Information

Contact 1

----------

Josef Cihlar

Canada Centre for Remote Sensing

Ottawa, Ontario

Canada

(613) 947-1265

(613) 947-1406  (fax)

cihlar@ccrs.emr.ca

Contact 2

---------

Jeffrey A. Newcomer

Raytheon STX Corporation

NASA/GSFC

Greenbelt, MD

(301) 286-7858

(301) 286-0239 (fax)

Jeffrey.Newcomer@gsfc.nasa.gov

3. Theory of Measurements

The launch of France's SPOT satellite system on 22-Feb-1986 gave the remote sensing community the capability of applying high-resolution multispectral imagery to a range of land use and land cover analyses. The SPOT satellite platforms are equipped with two HRV linear array (pushbroom) sensors capable of operating in a panchromatic (PAN) mode with 10-m resolution, or a three-band multispectral (XS) mode with 20-m resolution. The SPOT-1 satellite was retired from active service on 31-Dec-1990 but was reactivated in Jan-1998. SPOT-2 was launched on 22-Jan-1990.  SPOT-3 was launched on 25-Sep-1993 and suffered an unrecoverable malfunction on 14-Nov-1997.  SPOT-4 was launched on 24-Mar-1998.  Currently, SPOT-1, SPOT-2, and SPOT-4 continue to fulfill the SPOT global mission.

Thematic considerations have dictated, within technical constraints, the choice of spectral band position and width in the multispectral mode. Three bands were selected for the multispectral mode: 1) A green (500- to 590-nm) band centered at the 550-nm maximum in the chlorophyll reflectance curve, which is on the long wavelength side of the broad attenuation minimum of water, thus giving access to turbidity assessment and bathymetric evaluation in the first 10 to 20 m of surface water. 2) A red band (610 to 680 nm), similar to the Landsat TM channel 3, which provides much information on crop identification, bare soil, and rocky surfaces. Atmospheric transmittance on a fine day is about 90 percent while water penetration is about 2 m with surface reflectance of 4 percent (attenuation coefficient: 5x10-1 m-1). This band corresponds to chlorophyll absorption; i.e., low vegetation reflectance.  3) The near-infrared band (790 to 890), which penetrates best through the atmosphere (transmittance is about 95 percent for a clear atmosphere model) and light haze. Vegetation stands out brightly and water surfaces appear very dark (1 percent reflectance with a high attenuation coefficient: 10 to 50 m). Although silicon spectral sensitivity extends out to 1,100 nm, the band was not extended beyond 900 nm in order to avoid response modulation by atmospheric water vapor and to limit the smearing effect of electron diffusion within the detectors. Vegetation biomass can be evaluated with the red and near-infrared bands taken together. All three color bands are coded linearly on 8 bits, with a choice of ground-controlled preset gains.

For the higher ground-resolution black-and-white, or panchromatic mode, a broader spectral band was required. In order to retain the capability for texture analysis in support of the color mode and a high information content over vegetated areas, the interval 510 to 730 nm was chosen for the broad band. The basic coding scheme is 6-bits linear with a choice of eight selectable preset gains. Higher radiometric resolution can be selected by ground command of a differential Pulse Code Modulation System, which compresses each 3-pixel packet to 18 bits, while retaining an 8-bit equivalent radiometric resolution.

4. Equipment

4.1 Sensor/Instrument Description

The HRV instruments form images without any moving mechanical part (e.g., scanning mirrors, disc choppers, or mechanical modulators). The HRV telescope is a pseudo-Schmidt design, since the corrector plate is a spherical doublet. In this folded arrangement, sufficient room is available in the focal plane for a dichroic prism separator followed by four multilinear array mounts. The spectral regions and bandwidths of each channel are given in the table below:

Channel  Wavelength (µm)

-------  ----------------

1        0.50 -  0.59

2        0.61 -  0.68

3        0.79 -  0.89

4.1.1 Collection Environment

The BOREAS SPOT level-3s imagery was acquired through the CCRS.  The SPOT satellites orbit Earth at a mean altitude of 805 km.  Radiometric corrections and systematic geometric corrections are applied to produce the images in a path-oriented, systematically corrected spatial form.  A full level-3s SPOT image contains 4,500 pixels in each of 3,000 lines.  Before any geometric corrections, the ground resolution is 20 m for bands 1-3 at nadir. The pixel values of the images can range from 0 to 255. This allows each pixel to be stored in a single-byte field.  The level-3s images were processed through the CCRS Geocoded Image Correction System (GICS); (Friedel, 1992).

4.1.2 Source/Platform

The BOREAS SPOT images were collected by the HRV instruments on the SPOT-2 and SPOT-3 satellites.

4.1.3 Source/Platform Mission Objectives

The objectives of the SPOT mission are to 1) experiment on desirable characteristics of (operational) remote sensing systems; 2) build up an archive and make available a wide data base for cartographic and Earth exploration purposes; 3) experiment on improving vegetative species discrimination and producing forecasting by frequent access and off-nadir viewing; 4) build up a stereo archive of areas of real interest for purposes of photo-interpretation, planimetric cartography, and cartographic updating at scales of 1/100,000 and 1/50,000; and 5) qualify the multimission platform and solar array camera in space.

4.1.4 Key Variables

Reflected radiation.

4.1.5 Principles of Operation

The SPOT system consists of an orbiting satellite with two HRV instruments as well as ground facilities for image reception, preprocessing, distribution, satellite monitoring, and preparation of imaging programs. The instruments are pointable in the across-track direction in order to allow rapid access to any point on the globe and acquisition of stereoscopic image pairs from different satellite passes. Imaging is accomplished by the Charge-Coupled Device (CCD) linear array using the "pushbroom" scanning principle. In a given spectral mode, the HRV instrument images a single line of the landscape at a given moment: all the points making up one line are analyzed simultaneously. The motion of the orbiting satellite and the corresponding shift of the imaged line allow acquisition of a complete image.

Image acquisitions are commanded by the satellite's onboard computer. An imaging sequence can comprise a succession of images acquired in panchromatic or multispectral mode (note that the satellite cannot operate the HRV sensors in both modes at the same time) and changes in the viewing direction of each of the

two HRV instruments (rotation of the strip-selection mirror at the entrance of each instrument). Data generated by the instruments are transmitted to the ground over the payload-specific X-band telemetry link or stored by means of two onboard recorders for later recovery by the Toulouse imagery receiving facility.

4.1.6 Sensor/Instrument Measurement Geometry

The HRV was designed to achieve a multispectral capability with a nominal nadir ground sampling interval of 20 m x 20 m; a 10-m sampling interval in a panchromatic mode. A ground resolution of 20 m over a 60-km swath is achieved using an array of 3,000 detectors (CCD) per spectral band, sampled every 3 milliseconds, while a ground resolution of 10 m over the same swath width uses 6,000 detectors per line, sampled every 1.5 milliseconds.

4.1.7 Manufacturer of Sensor/Instrument

Centre National d'Etudes Spatiales (CNES)

Centre Spatial de Toulouse

31055 Toulouse, France

4.2   Calibration

The calibration unit is an auxiliary device designed to illuminate the detection unit by providing light at the entrance to the HRV telescope (the strip selection mirror having been previously moved to the calibration position). One of two light sources may be selected: the calibration lamp or the fiber-optic sunlight collector. The calibration lamp illuminates all 16 CCD linear arrays of the HRV detection unit and is used for relative calibration (sometimes referred to as "in-band calibration".The fiber-optic sunlight collector illuminates a small number of detectors in each spectral band with sunlight gathered from outside the HRV instrument at certain periods and is used for absolute, interband, multidate calibration.

4.2.1 Specifications

Main Instrument Parameters

____________________________________________________________________

Color mode             B/W mode

____________________________________________________________________

Ground sampling step (m)               20                 10

Array sampling period (m/s)             3                 1.5

XS1  0.50-0.59

Spectral bands (µm)           XS2  0.61-0.68        P  0.51-0.73

XS3  0.79-0.89

Grey levels                        256 (8 bits)          128 (6 bits)

Image data bit rate (Mb/s)          25                    25

Number of pixels per line          3000                 6000

Swath width (km)                    60 (nadir)

Nominal altitude (km)              832

4.2.1.1 Tolerance

Central viewing direction          +0.163 and -0.163 deg.

Field steering direction           0+/-45 steps 0.6 deg. apart.

Outermost observable direction     +/-29.23 deg.

Corresponding distance to track    +/-475 km

Location accuracy level-1B          650 m (max)

Scale distortion                   0.07%

Anisomorphism                      0.07%

Multispectral band registration    0.15 pixels

Multidate registration accuracy    2.5 m

Relief plotting accuracy for

viewing angles between

0 to 27 deg.  7 m

-27 to +27 deg.  3.5 m

4.2.2 Frequency of Calibration

CNES maintains an ongoing calibration monitoring effort.  Every 3 to 6 months, analysis results of instrument calibration are released for use by data users.

4.2.3 Other Calibration Information

None given.

5. Data Acquisition Methods

The BOREAS SPOT level-3s imagery was acquired through CCRS.  Radiometric and systematic geometric corrections are applied to produce the images in a path-oriented, systematically corrected spatial form.  A full level-3s SPOT image contains 4,500 pixels in each of 3,000 lines.  Before any geometric corrections, the ground resolution is 20 m for bands 1-3 at nadir. The pixel values of the images can range from 0 to 255. This allows each pixel to be stored in a single-byte field.  The level-3s images were processed through the CCRS GICS.

6. Observations

6.1 Data Notes

None.

6.2 Field Notes

Not applicable.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

The BOREAS level-3s SPOT images cover portions of the Northern Study Area (NSA) and the Southern Study Area (SSA) which are located in the northeast and southwest portions of the overall region.  A full SPOT scene covers approximately 3,600 square kilometers.

The North American Datum of 1983 (NAD83) corner coordinates of the SSA are:

Latitude     Longitude

--------     ---------

Northwest    54.321 N     106.228 W

Northeast    54.225 N     104.237 W

Southwest    53.515 N     106.321 W

Southeast    53.420 N     104.368 W

The NAD83 corner coordinates of the NSA are:

Latitude     Longitude

--------     ---------

Northwest    56.249 N      98.825 W

Northeast    56.083 N      97.234 W

Southwest    55.542 N      99.045 W

Southeast    55.379 N      97.489 W

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

Before any geometric corrections, the spatial resolution is 20 m at nadir.  These values increase with scan angle away from the nadir path.  The level-3s SPOT images have had geometric corrections applied so that the spatial resolution for all pixels is 20 m in all bands.  These level-3s images have a high level of internal spatial integrity, but the actual geographic coordinates contained in the image header can be offset from their actual positions by as much as 10 km (personal communication with CCRS personnel, 1994).

7.1.4 Projection

The level-3s SPOT images are placed in a Universal Transverse Mercator (UTM) projection based on NAD83. Detailed projection parameter information for the individual images is contained in the leader file(s).

7.1.5 Grid Description

The grid spacing for each pixel in the level-3s SPOT images is 20 m in the UTM projection.  Detailed grid parameter information for the individual images is contained in the leader file(s).

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

The images cover the period of 17-Apr-1994 to 30-Aug-1996.  The SPOT images acquired for the BOREAS project were selected in order to fill temporal gaps in the Landsat image collection.

7.2.2 Temporal Coverage Map

NSA	28-Apr-94

NSA	09-May-94

NSA	25-May-94

NSA	06-Jun-94

NSA	06-Jun-94

NSA	26-Jun-94

NSA	26-Jun-94

NSA	12-Jul-94

NSA	18-Jul-94

NSA	23-Aug-94

NSA	23-Aug-94

NSA	08-Sep-94

NSA	16-Sep-94

NSA	17-Sep-94

NSA	29-Jul-95

NSA	26-Jul-96

NSA	27-Jul-96

NSA	30-Aug-96

NSA	30-Aug-96

SSA	17-Apr-94

SSA	21-Apr-94

SSA	15-May-94

SSA	06-Jun-94

SSA	06-Jun-94

SSA	21-Jul-94

SSA	24-Jul-94

SSA	21-Aug-94

SSA	23-Aug-94

SSA	13-Sep-94

SSA	16-Sep-94

SSA	16-Sep-94

SSA	05-Aug-95

SSA	05-Aug-95

SSA	09-Jul-96

SSA	09-Jul-96

SSA	09-Jul-96

SSA	30-Jul-96

SSA	30-Jul-96

7.2.3 Temporal Resolution

The SPOT satellite revisit frequency is 26 days for each path/row.  During the period of 17-Apr-1994 to 30-Aug-1996, 19 images were acquired over the NSA and the SSA on 13 different dates.

  - Data Characteristics

The maximum range of digital numbers in each level-3s SPOT image band is limited to the range 0 (zero) to 255 so that the values can be stored in a single 8-bit (byte) field.

The image inventory data characteristics are defined in the companion data definition file (spot_3s.def).

7.4 Sample Data Record

Sample data records are defined in the companion data definition file (spot_3s.def).

8. Data Organization

8.1 Data Granularity

The smallest unit of data for level-3s SPOT imagery is a full SPOT scene.

All the BOREAS Level-3s SPOT Imagery: Scaled At-sensor Radiance in LGSOWG Format

Data characteristics are defined in the companion data definition file (spot_3s.def).

8.2 Data Format(s)

The image inventory data file contains numerical and character fields of varying length separated by commas. The character fields are enclosed with a single apostrophe marks. There are no spaces between the fields.  Data record format is defined in the companion data definition file(spot_3s.def).

The level-3s SPOT imagery from CCRS is stored in either a band sequential (BSQ) or a band interleaved by line (BIL) form.  General information on these two formats is provided in the subsequent sections.  Detailed information on these formats can be obtained from the CCRS document, Standard SPOT MLA/PLA Format, referenced in Section 17.1.

8.2.1 Band Sequential Format

The files associated with a BSQ SPOT scene are as follows:

File 1  volume directory

File 2  leader file band 1

File 3  SPOT band 1

File 4  trailer file band 1

File 5  leader file band 2

File 6  SPOT band 2

File 7  trailer file band 2

File 8  leader file band 2

File 9  SPOT band 3

File 10  trailer file band 2

File 11 null volume file

If there are multiple scenes on a tape, the next scene would occupy files 12-22, 11 files exactly as above. Up to five SPOT scenes (55 files) are contained on one 8-mm tape. There are multiple-volume directory files on one tape media because the 8-mm tapes were generated by copying the original 9-track tapes, and each of the 9-track tapes had its own volume directory.  Each image file in BSQ format contains data for one spectral band.

8.2.1.1 BSQ Leader Files

File descriptor record

Scene header record

Map projection (scene-related) ancillary record

Type 1 radiometric transformation ancillary record

Type 2 radiometric transformation ancillary record

All leader files contain fixed-length records 6,120 bytes in length and contain both ASCII and binary data.  For specific details, see the CCRS documentation referenced in Section 17.1.

8.2.1.2 BSQ Imagery File

The BSQ image files have 3,001 records, with each record containing 4,500 bytes.  The first record in this file is a header record, followed by 3,000 image records.

The contents of the Scene Header record are specified by Landsat Ground Station Operations Working Group (LGSOWG) Technical Working Group (LTWG) standards and contain information relating to the mission, sensor parameters, processing options, and geometric parameters for the sensor.

Each image record contains 32 bytes of prefix data, 4,320 bytes of image data, and 36 bytes of suffix data. Image data consist of digital numbers and 0’s as fillers.  The record size is 4,500 bytes.  Although the width of the image is nominally 3,000 pixels, the number of pixels in the image grows proportionally with the view angle.  All 4,500 pixels were included because none of the parameters in any of the header records seemed to be reliable for determining how many nonzero pixels there were in a particular record.

Each image is oriented so that pixel 1, line 1 is in the upper left-hand corner (i.e., northwest) of the screen display.  Pixels and lines progress left to right and top to bottom so that pixel n, line n is in the lower right-hand corner.

8.2.1.3 BSQ Trailer File

The trailer file contains information associated with the image data not always available before writing the image data, such as data and recording quality and data summaries.  Each trailer file contains a file descriptor record and trailer records for all bands of imagery in the associated imagery file.  All trailer files contain fixed-length records 4,320 bytes in length and contain both ASCII and binary data.

8.2.2 Band Interleaved by Line Format

The files associated with a BIL SPOT scene are as follows:

File 1  volume directory

File 2  leader file bands 1-3

File 3  SPOT bands 1-3

File 4  trailer

File 5  null volume file

If there are multiple scenes on a tape, the next scene would occupy files 6-10, five files exactly as above. Up to four TM scenes (20 files) are contained on one 8-mm tape. There are multiple volume directory files on one tape media because the 8-mm tapes were generated from copying the original 9-track tapes, and each of the 9-track tapes had its own volume directory.  The image files in BIL format contain image data for all three spectral bands.

8.2.2.1 BIL Leader Files

A detailed description may be found in the SPOT Standard CCT Format document from SPOT Image Corporation.

Record 1: 		Header File descriptor			3960 bytes.

Record 2: 		Header					3960 bytes.

Record 3: 		Ancillary Ephemeris/Attitude 		3960 bytes.

Record 4-21: 	Ancillary Radiometric/Calibration   3960 bytes.

Record 22-24: 	Ancillary Histogram			3960 bytes.

Record 25: 		Ancillary Map projection		3960 bytes.

Record 26: 		GCP/RCP					3960 bytes.

Record 27: 		Annotation					3960 bytes.

8.2.2.2 BIL Imagery File

The BIL image files are contained in a single file of 9,000 5,400-byte records.

Each image is oriented so that pixel 1, line 1 is in the upper left-hand corner (i.e., northwest) of the screen display.  Pixels and lines progress left to right and top to bottom so that pixel n, line n is in the lower right-hand corner.

8.2.2.3 BIL Trailer File

The trailer file contains information associated with the image data not always available before writing the image data, such as data and recording quality and data summaries.  Each trailer file contains a file descriptor record and trailer records for all bands of imagery in the associated imagery file.  All trailer files contain fixed length records 4,320 bytes in length and contain both ASCII and binary data.

9. Data Manipulations

9.1 Formulae

9.1.1 Derivation Techniques and Algorithms

Not applicable.

9.2 Data Processing Sequence

The SPOT data are included in BORIS only as a supplement to the Landsat TM data.  Therefore, the SPOT images were not processed beyond level-3s.

9.2.1 Processing Steps

BORIS Staff processes a level-3s SPOT image by:

1) Extracting pertinent header information from the level-3s image product and

writing it to a disk file.

2) Reading the information in the disk file and loading the data base with

needed information.

9.2.2 Processing Changes

None.

9.3 Calculations

9.3.1 Special Corrections/Adjustments

None.

9.3.2 Calculated Variables

None.

9.4 Graphs and Plots

None.

10. Errors

10.1 Sources of Error

Errors could arise in the acquired imagery from location inaccuracy, distortion of lengths, anisomorphism, the instrument's local coherence, multispectral registrability, and relief plotting inaccuracy. Other errors could arise from inherent radiometric imperfections of the sensors.

10.2 Quality Assessment

10.2.1 Data Validation by Source

Whatever the processing level, the geometric quality of the image depends on the accuracy of the viewing geometry.

Spectral errors could arise from image-wide signal-to-noise ratio, saturation, cross-talk, spikes, response normalization caused by a change in gain.

10.2.2 Confidence Level/Accuracy Judgment

Assessment of accuracy of the absolute radiometric constants is difficult. The uncertainties in prelaunch and postlaunch updates of the absolute calibration constants are nominally specified to be less than 10%. A root mean square (rms) summing of known errors in the prelaunch calibration suggests that this may be a reasonable estimate of overall uncertainty in the prelaunch calibration.

10.2.3 Measurement Error for Parameters

Not available at this revision.

10.2.4 Additional Quality Assessments

Images are screened for level of cloud cover before BORIS processing.

10.2.5 Data Verification by Data Center

BORIS Staff used developed software to extract information for logging the data into a relational data base.  The software also read through the records of the files checking for proper record sizes.  A subset of the images was unpacked and displayed for visual review.  None of the displayed images showed any notable abnormalities.

11. Notes

11.1 Limitations of the Data

None.

11.2 Known Problems with the Data

None.

11.3 Usage Guidance

None.

11.4 Other Relevant Information

None.

12. Application of the Data Set

The SPOT images should be useful for anyone interested in high spatial resolution imagery over the entire NSA or SSA in between the Landsat TM acquisitions.

13. Future Modifications and Plans

None.

14. Software

14.1 Software Description

BORIS Staff developed software and command procedures to:

1) Extract header information from level-3s SPOT images on tape and write to

ASCII files on disk.

2) Read the ASCII disk file and log the level-3 SPOT image products into

the Oracle data base tables.

3) Convert coordinates in the leader file(s) between the geographic systems of

(latitude, longitude), UTM (northing, easting), and BOREAS (x,y) grid

locations.

The software mentioned under items 1 and 2 is written in the C language and is operational on VAX 6410 and MicroVAX 3100 systems at GSFC.  The primary dependencies in the software are the tape input/output (I/O) library and the Oracle data base utility routines.

The geographic coordinate conversion utility (BOR_CORD) has been tested and used on Macintosh, IBM PC, VAX, Silicon Graphics, and Sun workstations.

14.2 Software Access

All of the described software is available upon request.  BORIS staff would appreciate knowing of any problems discovered with the software, but cannot promise to fix them.

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

beth@pop900.gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax.

15.4 Data Center Status/Plans

The level-3s SPOT image data are available from the Earth Observing System Data and Information System (EOSDIS) Oak Ridge National Laboratory (ORNL) Distributed Active Archive Center (DAAC).  The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

Although the BOREAS level-3s SPOT images are being held in a public archive, copyright restrictions limit the distribution and use of the data.  The BOREAS CD-ROM series is publicly available and contains some of the level-3a Landsat TM images.  However, other Landsat TM and SPOT image products in the collection are available only to official BOREAS project personnel.  Please contact the ORNL DAAC User Services office to get the most recent information.

16. Output Products and Availability

16.1 Tape Products

The SPOT level-3s data can be made available on 8-mm, Digital Archive Tape (DAT), or 9-track tapes at 6250 or 1600 Bytes Per Inch (BPI).

Although the BOREAS level-3s SPOT images are being held in a public archive, copyright restrictions limit the distribution and use of the data.  The BOREAS CD-ROM series is publicly available and contains some of the level-3a Landsat TM images.  However, other Landsat TM and SPOT image products in the collection are available only to official BOREAS project personnel.  Please contact the ORNL DAAC User Services office (see Section 15.4) to get the most recent information.

16.2 Film Products

None.

16.3 Other Products

None.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

Standard SPOT MLA/PLA CCT Format. Technical Memorandum No. DMD-TM-85-428A, 1985. Digital Methods Division Canada Centre for Remote Sensing Dept. of Energy, Mines and Resources.

The SPOT Standard CCT Format. 1989. Document: SI/AT/85.0113 Version: 1.1 Revision 4, SPOT Image Corporation. Reston, Virginia.

17.2 Journal Articles and Study Reports

Asrar, G., R. Murphy, F. Hall, and P. Sellers. 1991. Use of multitemporal

SPOT data in First ISLSCP Field Experiment. Proc. 5th Intl.  Colloquium. Courchevel, France, 14-18 January.

Begni, G. 1982. Selection of the optimum spectral bands for the SPOT

satellite. Photogr. Engr. and Rem. Sen. 48:1613-1620.

Boissin, B. and J. Perbos. 1985. SPOT image quality and post launch

assessment. Advanced Space Res. 5:51-60.

Byrne, G.F., P.F. Crapper, and K.K. Mayo. 1980. Monitoring land-cover

change by principal component analysis of multitemporal Landsat data.

Remote Sens. Environ. 10:175-184.

Carper, J.W., T.M. Lillesand, and R.W. Kiefer. 1990. The use of

intensity-hue-saturation transformations for merging SPOT panchromatic

and multispectral image data. Photogr. Engr. and Rem. Sen. 56:459-467.

Chavez, P.S., Jr., and J.A. Bowell. 1988. Comparison of the spectral

information content of Landsat Thematic Mapper and SPOT for three

different sites in the Phoenix, Arizona. Region. Photogr. Engr. and

Rem. Sen. 54:1699-1708.

Chavez, P.C., S.C. Guptill, and J.A. Bowell. 1984. Image processing

techniques for Thematic Mapper data. Technical Papers. 50th Annual

Meeting of the Amer. Soc. of Photogr. 2:728-743.

Chevrel, M., M. Courtois, and G. Weill. 1981. The SPOT satellite remote

sensing mission. Photogr. Engr. and Rem. Sens. 47:1163-1171.

Cliche, G., F. Bonn, and P. Teillet. 1985. Integration of the SPOT

panchromatic channel into its multispectral mode for image sharpness

enhancement. Photogr. Engr. and Rem. Sen. 51:311-316.

Dinguirard, M., R.D. Jackson, and P.N. Slater. 1986. Absolute calibration

of the SPOT-1 HRV cameras. SPIE Proc. vol. 60.

Friedel, J. 1992. System description of the Geocoded Image Correction

System. Report GC-MA-50-3915, MacDonald Detwiller Associates, Richmond,

B.C.

Rodriguez, V., P. Gigord, A.C. de Gaujac, and P. Munier. 1988. Evaluation

of the stereoscopic accuracy of the SPOT satellite. Photogr. Engr. and

Rem. Sen. 54:217-221.

Sellers, P.and F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P.and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P.and F. Hall. 1997. BOREAS Overview Paper. JGR Special Issue.

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Welch, R. 1985. Cartographic products of SPOT image data. Photogr. Engr.

and Rem. Sen. 51:1085-1091.

Welch, R. and M. Ehlers. 1987. Merging multiresolution SPOT HRV and

Landsat TM data. Photogr. Engr. and Rem. Sen. 53:301-305.

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None.

19. List of Acronyms

ASCII   - American Standard Code for Information Interchange

BIL     - Band Interleaved by Lines

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

BPI     - Bytes per inch

BSQ     - Band Sequential

CCD     - Charge-Coupled Device

CCRS    - Canada for Remote Sensing

CCT     - Computer Compatible Tape

CD-ROM  - Compact Disk-Read-Only Memory

CNES    - Centre National d'Etudes Spatiales

DAAC    - Distributed Active Archive Center

DAT     - Digital Archive Tape

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

FPAA    - Fraction of Photosynthetically Active Radiation

GICS    - Geocoded Image Correction System

GMT     - Greenwich Mean Time

GSFC    - Goddard Space Flight Center

HRV     - High-Resolution Visible

IFOV    - Instantaneous Field-of-View

I/O     - Input/Output

LAI     - Leaf Area Index

LGSOWG  - Landsat Ground Station Operations Working Group

LTWG    - LGSOWG Technical Working Group

MSS     - Multispectral Scanner

NAD27   - North American Datum of 1927

NAD83   - North American Datum of 1983

NASA    - National Aeronautics and Space Administration

NSA     - Northern Study Area

ORNL    - Oak Ridge National Laboratory

PANP    - Prince Albert National Park

RMS     - Root-Mean-Square

RSI     - Radarsat International

SPOT    - Satellite Pour l’Observation de la Terre

SSA     - Southern Study Area

TIPS    - Thematic Mapper Image Processing System

TM      - Thematic Mapper

URL     - Uniform Resource Locator

UTM     - Universal Transverse Mercator

20.  Document Information

20.1 Document Revision Date

Written:         12-Apr-1995

Last Updated:    05-May-1998

20.2 Document Review Dates

BORIS Review:    17-Mar-1998

Science Review:  10-Apr-1988

20.3 Document ID

20.4 Citation

The SPOT level-3s images were acquired by CCRS and processed by RSI under an agreement with CCRS.

20.5 Document Curator

20.6 Document URL

Keywords

SPOT

HRV

REFLECTED RADIATION