BOREAS Level-1B TIMS Imagery: At Sensor Radiance in BSQ Format

Summary

The BOREAS Staff Science Aircraft Data Acquisition Program focused on providing the research teams with the remotely sensed satellite data products they needed to compare and spatially extend point results.  For BOREAS, the TIMS imagery, along with other aircraft images, was collected to provide spatially extensive information over the primary study areas.  The level-1B TIMS images cover the time periods of 16-Apr-1994 to 20-Apr-1994 and 06-Sep-1994 to 17-Sep-1994.  The system calibrated images are stored in binary image format files.

Table of Contents

   *  1 Data Set Overview

   *  2 Investigator(s)

   *  3 Theory of Measurements

   *  4 Equipment

   *  5 Data Acquisition Methods

   *  6 Observations

   *  7 Data Description

   *  8 Data Organization

   *  9 Data Manipulations

   *  10 Errors

   *  11 Notes

   *  12 Application of the Data Set

   *  13 Future Modifications and Plans

   *  14 Software

   *  15 Data Access

   *  16 Output Products and Availability

   *  17 References

   *  18 Glossary of Terms

   *  19 List of Acronyms

   *  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS Level-1B TIMS Imagery: At Sensor Radiance in BSQ Format

1.2 Data Set Introduction

The BOReal Ecosystem-Atmosphere Study (BOREAS) Staff Science effort covered those activities that were BOREAS community-level activities or required uniform data collection procedures across sites and time. These activities included the acquisition, processing, and archiving of 6-band Thermal Infrared Multispectral Scanner (TIMS) image data collected on the National Aeronautics and Space Administrator's (NASA's) C-130 aircraft.

1.3 Objective/Purpose

For BOREAS, the TIMS imagery, along with the other remotely sensed images, was collected to provide spatially extensive information over the primary study areas.  This information includes detailed land cover, biophysical parameter maps such as fraction of Photosynthetically Active Radiation (fPAR), Leaf Area Index (LAI) and surface thermal properties.

1.4 Summary of Parameters

The level-1b TIMS images contain JPL supplied header information and at sensor radiance values in units of milliwatts/(m2 sr µm) for bands 1 to 6 in a band sequential (BSQ) format.

1.5 Discussion

The Jet Propulsion Laboratory (JPL) personnel obtained the original data from NASA Ames Research center and processed them to the at-sensor radiance product described here.  The data are not corrected for look angle or atmospheric effects.

1.6 Related Data Sets

BOREAS Level-0 TIMS Imagery: Digital Counts in Band Interleaved (BIL) Format

BOREAS Level-2 NS001 TMS Images: Reflectance and Temperatures in BSQ Format

BOREAS Level-1b ASAS Imagery: At-sensor Radiance in Band Sequential (BSQ) Format

2. Investigator(s)

2.1 Investigator(s) Name and Title

BOREAS Staff.

2.2 Title of Investigation

BOREAS Staff Science Aircraft Data Acquisition Program.

2.3 Contact Information

Contact 1

-------------------

Sonia Chernobieff

NASA JPL

Pasadena, CA 

(818) 354-6363

Sonia.I.Chernobieff@jpl.nasa.gov

Contact 2

-------------------

Jeffrey A. Newcomer

Raytheon STX Corporation

NASA GSFC

Greenbelt, MD 

(301) 286-7858

(301) 286-0239 (fax)

Jeffrey.Newcomer@gsfc.nasa.gov

3. Theory of Measurements

According to Planck’s equation, all objects emit radiation, depending on their temperature and emissivity.  The temperature of an object is of interest in determining the radiation balance at Earth’s surface.  The emissivity of an object as a function of wavelength can provide information on the object’s composition.  Though much of the radiation emitted from an object is absorbed by the atmosphere, a few good atmospheric windows from 3 to 5 micrometers (um) and 8 to 14 um exist for the remote sensing of emitted surface radiation.

The NASA Earth Resources Aircraft Program at Ames Research Center (ARC) operates the C-130 aircraft to acquire data for Earth science research. The TIMS instrument used on the C-130 aircraft collects radiance measurements in six spectral bands covering the infrared spectrum from 8.2 to 12.2 µm.

Thematic considerations have dictated, within technical constraints, the choice of spectral band position and width in the TIMS sensor.  These bands were chosen after many years of analysis for their value in discrimination of geologic features, and they correspond to the emissivity anomalies associated with silicate and carbonate rocks.

4. Equipment

4.1 Sensor/Instrument Description

The TIMS instrument is an optomechanical scanner designed to collect multispectral thermal imagery for geologic mapping. The TIMS is generally flown at medium altitudes and provides 3- to 20-m resolution at nadir at an altitude of  1,200 to 8,000m., respectively. The TIMS is flown aboard NASA's C-130 aircraft based at the ARC.

The six spectral channels of the TIMS sensor have the following bandpasses:

TIMS Channel      Wavelength, um

-------------      --------------

     1               8.2-8.6

     2               8.6-9.0

     3               9.0-9.4

     4               9.4-10.2

     5               10.2-11.2

     6               11.2-12.2

4.1.1 Collection Environment

As part of the BOREAS Staff Science Data Collection effort, ARC personnel collected, NASA Jet Propulsion Laboratory (JPL) personnel calibrated, and BOREAS Information System (BORIS) personnel distributed 6-band level-1B TIMS image data. The TIMS was flown on NASA's C-130 aircraft during the various BOREAS missions (see the BOREAS Experiment Plan for flight pattern details and objectives).  The C-130 aircraft flew at nominal altitudes of 3000 and 5000 m during the BOREAS flights.

Maintenance and operation of the instrument are the responsibility of ARC. The C-130 Experimenter's Handbook (supplemental) produced by the Medium Altitude Missions Branch at ARC provides a description of the instrument, calibration procedures, and data format.

4.1.2 Source/Platform

NASA's C-130 Earth Resources Aircraft

4.1.3 Source/Platform Mission Objectives

The original purpose of the TIMS scanner was to provide low-altitude data in the thermal infrared region of the electromagnetic spectrum for use in geologic mapping.  For BOREAS, the TIMS was flown on the C-130 with a set of other scanners to provide full coverage of the reflected and emitted surface energy.  The C-130 aircraft housed and provided appropriate power and other electronic connections for operation of the TIMS instrument.

4.1.4 Key Variables

Emitted radiation

Reflected radiation

4.1.5 Principles of Operation

Design parameters of the TIMS are based on the specifications of Dr. Anne B. Kahle of the NASA JPL.  A rotating scan mirror scans the instrument’s Instantaneous Field-Of-View (IFOV) across track as the motion of the aircraft moves the sensor along the data collection path.

4.1.6 Sensor/Instrument Measurement Geometry

IFOV                   2.5 mrad

Total Scan Angle       76.56°

Pixels/Scan Line       638

Sensor footprint is 10 x 10 m at nadir at 4,000 m altitude.

4.1.7 Manufacturer of Sensor/Instrument

The TIMS instrument was built by Daedalus Enterprises, of Ann Arbor, Michigan.  It was further modified by the NASA Stennis Space Flight Center.

4.2 Calibration

As with the First International Satellite Land Surface Climatology Project (ISLSCP) Field Experiment (FIFE), BOREAS staff attempted to further relate remotely sensed radiance to land surface radiometers.  The TIMS instrument carries two onboard blackbody sources, which fill the full aperture of the system with energy of a preset, known temperature.  The two blackbody sources are viewed by the TIMS once every scan line.

The spectral bandpass of each channel was determined by the calibration laboratory at Stennis on an annual basis.

TIMS data may be intentionally overscanned, e.g., operated at some integral multiple of the desired scan rate and then subsampled in preprocessing. The subsampling factor is reported as a "demagnification factor."

4.2.1 Specifications

The wavelength ranges (in micrometers) of the bands for the TIMS are:

                                        Noise Equivalent Change

Band     Detector        Wavelength       in Temperature (NEdT)

------   --------      -------------    -----------------------

   1      HgCdTe         8.2 - 8.6             0.2°C

   2        “            8.6 - 9.0             0.2°C

   3        “            9.0 - 9.4             0.2°C

   4        “            9.4 - 10.2            0.2°C

   5        “           10.2 - 11.2            0.2°C

   6        “           11.2 - 12.2            0.2°C

DESIGN DATA:

IFOV                                    2.5 mrads

Across-track Field-Of-View              76.56°

Nominal aperture diameter               7.5 inches

Effective aperture area                 59.8 cm 2

f/number                                Not available

Primary focal length                    Not available

Inflight calibration                    Two controllable blackbodies

V/H range                               Variable, 0.025 to 0.25

Scan rate                               Variable, 7.3 to 25 scans/sec.

Scan speed ability                      One-third of the IFOV, scan

                                          line to scan line

Data quantization                       8 bits (256 discrete levels)

Number of video samples/scan line       638

Roll compensation                       +/-15°

Scan mirror                             45° rotating mirror

NEdt                                    0.25 K

4.2.1.1 Tolerance

The TIMS channels were designed for noise-equivalent temperature differences for the channels, represented by the radiometric sensitivity (NEdT) of 0.25° K.

4.2.2 Frequency of Calibration

The TIMS was spectrally calibrated prior to each flight season at Stennis to determine the spectral response function of each channel.

4.2.3 Other Calibration Information

The TIMS instrument periodically viewed an extended-area precision blackbody source at ARC to verify linearity of response over the range of 0 - 50°C.

5. Data Acquisition Methods

As part of the BOREAS Staff Science data collection effort, BORIS distributed 6-band level-1B TIMS image data. The TIMS was flown on NASA's C-130 aircraft during the BOREAS mission (see the BOREAS Experiment Plan for flight pattern details and objectives.

Personnel at NASA ARC processed the raw data to level-0 products which were supplied to BORIS and JPL personnel.  JPL personnel in turn processed selected level-0 images to the level-1b at-sensor radiance products described here.

6. Observations

6.1 Data Notes

The data obtained from NASA Ames processed easily into the level-1b products.

6.2 Field Notes

Flight summary reports and verbal records on videotapes are available for the BOREAS TIMS data.

7. Data Description

7.1 Spatial Characteristics

The BOREAS Level-1B TIMS images primarily cover the Northern Study Area (NSA) and the Southern Study Area (SSA).  A few images were acquired for the transect area between the SSA and the NSA.  The SSA and the NSA are located in the southwest and northeast portions of the overall region.

7.1.1 Spatial Coverage

The North American Datum 183 (NAD83) corner coordinates of the SSA are:

             Latitude     Longitude

             --------     ---------

Northwest    54.321 N     106.228 W

Northeast    54.225 N     104.237 W

Southwest    53.515 N     106.321 W

Southeast    53.420 N     104.368 W

The NAD83 corner coordinates of the NSA are:

             Latitude     Longitude

             --------     ---------

Northwest    56.249 N      98.825 W

Northeast    56.083 N      97.234 W

Southwest    55.542 N      99.045 W

Southeast    55.379 N      97.489 W

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

Typical altitudes for BOREAS flights were 5,000 and 3,000 m above ground level (surface elevation of 400 m), which normally required 25 scan lines per second.  These altitudes produced 12.5 m and 7.5 m pixels at nadir given the TIMS's 2.5 mrad IFOV.

7.1.4 Projection

Not applicable.

7.1.5 Grid Description

The BOREAS level-1B TIMS images are stored in their original data collection frame with increasing pixel sizes from nadir to the scanning extremes based on the scan angle.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

The data were collected during the BOREAS Focused Field Campaign-Thaw (FFC-T) and Intensive Field Campaign (IFC)-3, covering the periods of 16 to 20-Apr-1994 and 06 to 16-Sep-1994.

7.2.2 Temporal Coverage Map

IFC#                    Dates

-----          --------------------------

FFC-T          16-Apr-1994 -- 20-Apr-1994

IFC-3          06-Sep-1994 -- 17-Sep-1994

7.2.3 Temporal Resolution

Images were acquired on at least one day during the field campaigns.

7.3 Data Characteristics

Data characteristics for the image inventory file are defined in the companion data definition file (tims1bil.def).

7.3.1 Parameter/Variable

The main parameter contained in the image data files is:

At Sensor Radiance in milliwatts/(m2 sr µm).

7.3.2 Variable Description/Definition

For the image data files:

At-sensor radiance - The value representing the radiant energy incident on the 

                     sensor aperture at the time of data collection in the 

                     specific TIMS wavelength regions.

7.3.3 Unit of Measurement

For the image data files:

At-sensor radiance - milliwatts/(m2 sr µm)

7.3.4 Data Source

The level-1B TIMS data were derived by JPL personnel from the original level-0 data.

7.3.5 Data Range

The maximum range of DNs in each level-1B TIMS image band is limited from -16,384 to 16,383 so that the values can be stored in a two-byte field.

7.4 Sample Data Record

A sample data record for the level-1B TIMS images is not available here.

Data format for the image inventory file is shown in the companion data definition file(tims1bil.def).

8. Data Organization

8.1 Data Granularity

All of the BOREAS Level-1B TIMS Imagery: At Sensor Radiance in BSQ Format data are contained in one dataset.

Although the image inventory is contained on the BOREAS CD-ROM set, the actual level-1B TIMS images are not. See section 15 for information about how to obtain the data.

The smallest unit of data for level-1B TIMS images is a single image.

8.2 Data Format(s)

The image inventory listing file consists of numerical and character fields of varying length separated by commas. The character fields are enclosed with a single apostrophe marks. There are no spaces between the fields. The inventory file format is shown in the companion data definition file(tims1bil.def).

Each level-1B TIMS scene is stored in 6 files, one per spectral band. Each band in a scene is contained in a file of 1276 byte records, the first two of which are ASCII header information. The following records each contain one image line of 698 2-byte pixels. These 16-bit data are high-order byte first.  For computer systems using low-order byte first ordering, the bytes in these fields need to be swapped before they can be interpreted properly.

9. Data Manipulations

9.1 Formulae

9.1.1 Derivation Techniques and Algorithms

First, a header label is created for the file that includes the number of scan lines, number of samples, number of bands (default: six), and file organization (default: BSQ).  The TIMSCAL program is used next to convert the raw data to instrument perceived radiance data.  This file is then separated into six files constituting the six TIMS bands for further manipulation.

Additional calibration programs used by the JPL science team are FIT, XFORM, and C130RECT (see 9.2.1 for detailed description of these programs).

9.2 Data Processing Sequence

9.2.1 Processing Steps

TIMSCAL produces an output of instrument perceived radiance data.  The output is a data set of all six bands stored in two byte integers.  The units output for radiance images are: milliwatts/(m2 sr µm). The units output for temperature images are in hundredths of degrees Centigrade. Output is in two byte signed integer format.  Next the data are separated into the six TIMS bands for processing by the investigator, or further processing of the data to output a hardcopy quality image.

FIT is a VICAR applications program which performs automatic linear stretches on two-byte images anywhere in the two-byte range (-32768 to +32767).  FIT computes a grey level frequency table (histogram) of the input image.  The histogram has 65536 bins, hence spans the entire halfword range from -32768 to +32767 

The program determines linear stretch constants IMIN and IMAX such that:

 a) IMIN is the largest I which satisfies the equation

       A(-32768,I) <= PL * A(-32768,32767)

 b) IMAX is the smallest I which satisfies the equation

       A(I,32767) <= PH * A(-32768,32767)

The linear stretch which is applied to the image is defined as:

             HV - LV

     Y =   -----------  (X - IMIN) + LV

           IMAX - IMIN

where X and Y are the input and output DN values respectively for

each pixel.

XFORM" will perform a linear transformation on the input data.  The transformation is specified by a matrix input as a parameter. 

Each corresponding pixel from the input data sets is represented by a vector

x[T] = (x1,x2,...xm)[T], where [T} denotes Transpose. 

A gain and offset are then applied to each component before it is written to the output data set.

Auto-scale mode is the default condition and was used in the processing of this data.  In auto-scale mode, the gains and offsets for each band are calculated by fitting the output histogram to user - specified parameters.

C130RECT removes scan-angle distortion in images acquired by scanners that sample at equal angular increments. Tilt can be corrected and the aspect ratio of the image can be adjusted.  C130RECT is essentially divided into three parts.  The first of these handles simple initialization and computes (using basic trigonometry) values for the variables which are dependent on the image tilt and scan width.  The second part of the program fills a resampling address array which, for each input pixel position, gives a real-valued index into the input buffer from which values may be interpolated; this array mapping may be dumped to the screen by specifying the DEBUG option.  The third part of the program reads in each line of the image, and using the resampling address array and C routine resamp, corrects each line for distortion according to the tilt and scan width specified, finally outputing each line to the output image. 

BORIS staff processed the level-1B TIMS images by:

1) Extracting the American Standard Code for Information Interchange (ASCII) header record from the Level-1B image product and placing it on disk.

2) Reading the information in the disk file and loading the online data base with needed information

9.2.2 Processing Changes

None

9.3 Calculations

9.3.1 Special Corrections/Adjustments

The TIMS data are not geometrically corrected.  The data contain both panoramic distortion, as a function of the 76.56 degree total FOV, and other spatial perturbations induced by a moving aircraft.

9.3.2 Calculated Variables

Not applicable.

9.4 Graphs and Plots

Not applicable.

10. Errors

10.1 Sources of Error

See Section 9.3.1.  Other sources of error include possible nonunity emissivity of the onboard blackbodies and inexact knowledge of the exact blackbody temperatures in flight conditions.  In 1989 a honeycomb scheme container was used for the blackbodies which made the above errors much smaller.

10.2 Quality Assessment

10.2.1 Data Validation by Source

Spectral errors could arise because of image-wide signal-to-noise ratio, saturation, cross-talk, spikes, response normalization caused by a change in gain.

There was no error validation performed by JPL personnel.

10.2.2 Confidence Level/Accuracy Judgment

System optical focus is continually monitored by close observation of the apparent sharpness and resolution of objects appearing in scenes after data processing. Although this approach is somewhat subjective, it has proven to be a viable alternative compared to the classical resolution measurement method which requires removing the scanner system from the C-130 airplane with subsequent setup. This is not a practical option during the flying/deployment portion of the year. However, any observed focus degradation would be corrected by focus adjustment.

There was no reason to believe that the data was faulty, therefore, the confidence level was high for this data.

10.2.3 Measurement Error for Parameters

The NEdT for the channels is typically 0.2°C. or less, depending on aircraft flight regime, with variations caused by vibration.

10.2.4 Additional Quality Assessments

The TIMS has periodically viewed a precision extended-area blackbody calibration source to verify linearity over the 0 - 50°C. range.

The hardcopy images are visually reviewed for any obvious distortions that may be eliminated by the JPL programs.  None were noticed and the data was not manipulated further.

10.2.5 Data Verification by Data Center

BORIS personnel reviewed the values extracted from the tape files and loaded into the data base and visually reviewed a random set of the images on a display screen.  No anomalous items were discovered in the review.

11. Notes

11.1 Limitations of the Data

None given.

11.2 Known Problems with the Data

None given.

11.3 Usage Guidance

Because of variable conditions found in different flight regimes on the C-130 aircraft, the onboard blackbody temperatures reported in the housekeeping data may be artificially high, which will result in apparently elevated ground temperatures.  This is caused by cold air blasting on the front surface of these reference sources.  An airdam (air fence) was installed to shelter the sensor

from the wind, thereby minimize the effects of the wind blast.  

The TIMS data are not geometrically corrected.  The data contain both panoramic distortion, as a function of the 76-degree total FOV, as well as other spatial perturbations induced by a moving aircraft.

11.4 Other Relevant Information

None given.

12. Application of the Data Set

The TIMS data can be used to analyze the thermal properties of various surface targets.  The data provides a six channel spectral emmisivity curve, which

is used as a diagnostic tool to identify various minerals and man-made surfaces.

13. Future Modifications and Plans

None.

14. Software

14.1 Software Description

BORIS staff developed software and command procedures for:

1) Extracting header and calibration information from level-1B TIMS images on tape and writing it to ASCII files on disk

2) Reading the ASCII disk file and logging the level-1B TIMS image products into the Oracle data base tables

14.2 Software Access

The software is written in C and is operational on VAX 6410 and MicroVAX 3100 systems at Goddard Space Flight Center (GSFC).  The primary dependencies in the software are the Oracle data base utility routines.

15. Data Access 

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA/GSFC

Greenbelt, MD  

(301) 286-4005

(301) 286-0239 (fax)

Elizabeth.Nelson@gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax. 

15.4 Data Center Status/Plans

The level-1B TIMS image data are available from the Earth Observing System Data and Information System (EOSDIS), Oak Ridge National Laboratory (ORNL), Distributed Active Archive Center (DAAC).  The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

 (865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1 Tape Products

The BOREAS level-1B TIMS data can be made available on 1600- or 6250- BPI 9-track, 8-mm, or DAT tapes.

16.2 Film Products

Color aerial photographs and video records were made during data collection. The video record includes aircraft crew cabin intercom conversations and an audible tone that was initiated each time the sensor was triggered. BOREAS aircraft flight documentation, such as flight logs, videotapes, and photographs are available.

16.3 Other Products

Although the image inventory is contained on the BOREAS CD-ROM set, the actual level-1B TIMS images are not.  See section 15 for information about how to obtain the data.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

There is a Daedalus Operator’s Manual for TIMS, but it is proprietary and may not be reproduced without their permission.  Contact Daedalus Enterprises, Ann Arbor, MI for details.

NASA. 1990. C-130 Earth Resources Aircraft Experimenter's Handbook. National Aeronautics and Space Administration, Ames Research Center. Moffett Field, California.

Airborne Instrumentation Research Project.  Flight Summary Reports for Flight No. 94-004-09 to 94-009-09 or April 16, 1994 to September 19, 1994.  NASA Ames Research Center,  Airborne Missions and Applications Division, Moffett Field. California, 94035.

17.2 Journal Articles and Study Reports

Sellers, P., and F. Hall. 1994.  Boreal Ecosystem-Atmosphere Study:  Experiment Plan.  Version 1994-3.0, NASA BOREAS Report (EXPLAN-94).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M. G. Ryan, B. Goodison, P. Crill, K. J. Ranson, D. Lettenmaier, and D. E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577. 

Sellers, P., F. Hall, and K. F. Huemmrich. 1994.  Boreal Ecosystem-Atmosphere Study:  1994 Operations.  NASA BOREAS Report (OPS DOC 94).

Sellers, P., and F. Hall. 1996.  Boreal Ecosystem-Atmosphere Study:  Experiment Plan.  Version 1996-2.0, NASA BOREAS Report (EXPLAN-96).

Sellers, P., F. Hall, and K. F. Huemmrich. 1997.  Boreal Ecosystem-Atmosphere Study:  1996 Operations.  NASA BOREAS Report (OPS DOC 96).

Sellers, P., F. Hall, and K. F. Huemmrich. 1994.  Boreal Ecosystem-Atmosphere Study:  1994 Operations.  NASA BOREAS Report (OPS DOC 94).

Sellers, P. J., F. G.  Hall, R. D.  Kelly, A.  Black, D.  Baldocchi, J.  Berry, M.  Ryan, K. J.  Ranson, P. M.  Crill, D. P.  Lettenmaier, H.  Margolis, J.  Cihlar, J. Newcomer, D.  Fitzjarrald, P. G.  Jarvis, S. T.  Gower, D.  Halliwell, D.  Williams, B.  Goodison, D. E.   Wickland, and F. E. Guertin. 1997. BOREAS in 1997: Experiment Overview, Scientific Results and Future Directions. Journal of Geophysical Research 102 (D24): 28,731-28,770.

17.3 Archive/DBMS Usage Documentation

The collected data of the BOREAS are currently archived at NASA/GSFC.

18. Glossary of Terms

None.

19. List of Acronyms

    ARC     - Ames Research Center

    ASCII   - American Standard Code for Information Interchange

    BIL     - Band Interleaved by Line

    BOREAS  - BOReal Ecosystem-Atmosphere Study

    BORIS   - BOREAS Information System

    BPI     - Byte per inch

    CCRS    - Canada for Remote Sensing

    CCT     - Computer Compatible Tape

    CD-ROM  - Compact Disk-Read-Only Memory

    DAAC    - Distributed Active Archive Center

    DAT     - Digital Archive Tape

    DN      - Digital Number

    EOS     - Earth Observing System

    EOSDIS  - EOS Data and Information System

    FIFE    - First ISLSCP Field Experiment

    FFC-T   - Focused Field Campaign - Thaw

    FOV     - Field-Of-View

    fPAR    - fraction of Photosynthetically Active Radiation

    GMT     - Greenwich Mean Time

    GSFC    - Goddard Space Flight Center

    HgCdTe  - mercury-cadmium-tellurium

    IFC     - Intensive Field Campaign

    I/O     - Input/Output

    IFOV    - Instantaneous Field-of-View

    ISLSCP  - International Satellite Land Surface Climatology Project

    JPL     - Jet Propulsion Laboratory

    LAI     - Leaf Area Index

    NAD83   - North American Datum 1983

    NASA    - National Aeronautics and Space Administration

    NEdt    - Noise-Equivalent Change in Temperature

    NSA     - Northern Study Area

    ORNL    - Oak Ridge National Laboratory

    PANP    - Prince Albert National Park

    SSA     - Southern Study Area

    TIMS    - Thermal Infrared Multispectral Scanner

    TM      - Thematic Mapper

    TMS     - Thematic Mapper Simulator

    URL     - Uniform Resource Locator

20. Document Information

20.1 Document Revision Date(s)

     Written:         21-Mar-1995

     Last Updated:    01-Feb-1999

20.2 Document Review Date(s)

     BORIS Review:   06-Jan-1997 

     Science Review: 

20.3 Document ID

20.4 Citation

The BOREAS level-1B TIMS data were collected and processed from the original aircraft tapes by personnel of the Medium Altitude Aircraft Branch at NASA ARC.  Their contributions to providing this data set are greatly appreciated.

20.5 Document Curator

20.6 Document URL

Keywords

C130

EMITTED RADIATION

THERMAL INFRARED MULTISPECTRAL SCANNER

TIMS

TIMS_L1B.doc
03/03/99


