BOREAS TE-18, 60-m, Radiometrically Rectified Landsat TM Imagery

Summary

The BOREAS TE-18 team used a radiometric rectification process to produce standardized DN values for a series of Landsat TM images of the BOREAS SSA and NSA in order to compare images that were collected under different atmospheric conditions.  The images for each study area were referenced to an image that had  clear atmospheric qualities.  The reference image for the SSA was collected on 02-Sep-1994, while the reference image for the NSA was collected on 21-Jun-1995.  The 23 rectified images cover the period of 07-Jul-1985 to 18-Sep-1994 in the SSA and 22-Jun-1984 to 09-Jun-1994 in the NSA.  Each of the reference scenes had coincident atmospheric optical thickness measurements made by RSS-11. The radiometric rectification process is described in more detail by Hall et al. (1991).  The original Landsat TM data were received from CCRS for use in the BOREAS project.

Due to the nature of the radiometric rectification process and copyright issues, the full resolution (30-m) images may not be publicly distributed.  However, this spatially degraded 60-m resolution version of the images may be openly distributed and is available on the BOREAS CD-ROM series.  After the radiometric rectification processing, the original data were degraded to a 60-m pixel size from the original 30-m pixel size by averaging the data over a 2- by 2-pixel window.  The data are stored in binary image-format files.

Note that some of the data set files on the BOREAS CD-ROMs have been compressed using the Gzip program.  See Section 8.2 for details.

Table of Contents

*   1 Data Set Overview

*   2 Investigator(s)

*   3 Theory of Measurements

*   4 Equipment

*   5 Data Acquisition Methods

*   6 Observations

*   7 Data Description

*   8 Data Organization

*   9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS TE-18, 60-m, Radiometrically Rectified Landsat TM Imagery

1.2 Data Set Introduction

The TE-18 team used a radiometric rectification process (Hall et al., 1991) to produce standardized digital number (DN) values for a series of Landsat Thematic Mapper (TM) images of the BOReal Ecosystem-Atmosphere Study (BOREAS) Southern Study Area (SSA) and Northern Study Area (NSA).  The processing was performed in order to compare images that were collected under different atmospheric conditions.  The images for each study area were referenced to an image that had very clear atmospheric qualities.  The reference image for the SSA was collected on 02-Sep-1994, while the reference image for the NSA was collected on 21-Jun-1995.  The images which were rectified range in date from 07-Jul-1985 to 18-Sep-1994 in the SSA and from 22-Jun-1984 to 09-Jun-1994 in the NSA.  Each of the reference scenes had coincident atmospheric optical thickness measurements made by Remote Sensing Science (RSS)-11.  The original Landsat TM data were received from the Canada Centre for Remote Sensing (CCRS) for use in the BOREAS project.  The original data were degraded to a 60-m pixel size from the original 30-m pixel size by averaging the data over a 2- by 2-pixel window.

1.3 Objective/Purpose

This data product was created in order to provide scientists with a set of images that could be compared as if they were collected under the same atmospheric and illumination conditions.  The radiometric rectification process was used to standardize the images for these differences so that the remaining differences in the imagery would be a result of real change in the vegetation.

1.4 Summary of Parameters

The images contain DN values which were adjusted to the following reference scenes and spatially-degraded to 60-m resolution:

SSA (WRS Path/Row 37/22-23) acquired 02-Sep-1994

NSA (WRS Path/Row 33/21) acquired 21-Jun-1995

1.5 Discussion

TE-18 created the radiometrically rectified imagery by:

1) Extracting pertinent header information from the level-3s or -3p image product

2) Performing radiometric rectification as described by Hall et al. (1991).

3) Reviewing the image bands for correctness.

4) Averaging 2- by 2-pixel windows to create the 60-m product

5) Writing the American Standard Code for Information Interchange (ASCII) header file and six image bands to tape.

1.6 Related Data Sets

BOREAS RSS-11 Ground Network of Sun Photometer Measurements

BOREAS TE-18, 30-m, Radiometrically Rectified Landsat TM Imagery

BOREAS Level-3s Landsat TM Imagery: Scaled At-sensor Radiance in LGSOWG Format

BOREAS Level-3b Landsat TM Imagery: At-sensor Radiance in BSQ Format

BOREAS Level-3p Landsat TM Imagery: Geocoded and Scaled At-sensor Radiance

BOREAS Level-3s SPOT Imagery: Scaled At-sensor Radiance in LGSOWG Format

2. Investigator(s)

2.1 Investigator(s) Name and Title

Dr. Forrest G. Hall

NASA GSFC

2.2 Title of Investigation

Regional-Scale Carbon Flux from Modeling and Remote Sensing

2.3 Contact Information

Contact 1

----------

Dr. Forrest G. Hall

NASA GSFC

Greenbelt, MD

(301) 286-2974

(301) 286-0239  (fax)

Forrest.Hall@gsfc.nasa.gov

Contact 2

----------

David Knapp

Raytheon ITSS

NASA GSFC

Greenbelt, MD

(301) 286-1424

(301) 286-0239  (fax)

David.Knapp@gsfc.nasa.gov

3. Theory of Measurements

The Landsat series of satellites began with the Earth Resources Technology Satellite (ERTS-1) launched in July 1972. This satellite was renamed Landsat 1 in 1975 to reflect its primary use as a land resource observatory. Through its onboard instruments, Landsat monitors Earth's mountain ranges, deserts, forests, and crops by measuring the light waves they reflect.

The second generation of Landsat satellites (4 and 5) marked a significant advance in remote sensing through the addition of the more sophisticated TM sensor, with higher spectral and spatial resolution, and faster data processing at a highly automated data processing facility at the National Aeronautics and Space Administration (NASA) Goddard Space Flight Center (GSFC) in Greenbelt, MD.  For BOREAS, the Canada Centre for Remote Sensing (CCRS) receiving station in Prince Albert, Saskatchewan collected the raw data.  Processing of the raw data to the imagery used as input for the BOREAS level-3a processing was performed with the Geocoded Image Correction System (GICS; Friedel, 1992) at the CCRS facility in Ottawa, Canada.

As Landsat's instrument mirrors scan Earth's surface, light enters the instrument optics, where it is focused on specially calibrated detector arrays. Onboard electronics encode the detector voltage as binary digits or bits. These digital image data are then relayed back to Earth to be processed into film and Computer-Compatible Tape (CCT) products, which are subsequently used for Earth resources analysis.

The use of retrospective Landsat data presents considerable problems when it is necessary to account for the effects of sensor, atmosphere, and illumination differences over years or among acquisition dates within a year.  For this reason, this data product was produced using the radiometric rectification procedure described by Hall et al. (1991).  Radiometric rectification consists of two major components:

(i) One component identifies radiometric control sets, i.e., scene landscape elements that have the same mean reflectance between acquisition dates.

(ii) The second component rectifies the images using a linear transformation whose coefficients force the means of the radiometric control sets to be equal.

4. Equipment

4.1 Sensor/Instrument Description

The TM sensor system records radiation from seven bands in the electromagnetic spectrum. It has a telescope that directs the incoming radiant flux obtained along a scan line through a scan line collector to the visible and near-infrared focal plane, or to the mid-infrared and thermal-infrared cooled focal plane. The detectors for the visible and near-infrared bands (1 to 4) are four staggered linear arrays, each containing 16 silicon detectors. The two mid-infrared detectors are 16 indium-antimonide cells in a staggered linear array, and the thermal-infrared detector is a four-element array of mercury-cadmium-telluride cells. The spectral regions, band widths, and primary use of each channel are given in the following table:

Channel  Wavelength (µm)                Primary Use

-------  ---------------  ------------------------------------------

1        0.451 -  0.521      Coastal water mapping, soil vegetation

differentiation, deciduous/coniferous

differentiation.

2        0.526 -  0.615      Green reflectance by healthy vegetation.

3        0.622 -  0.699      Chlorophyll absorption for plant species

differentiation.

4        0.771 -  0.905      Biomass surveys, water body delineation.

5        1.564 -  1.790      Vegetation moisture measurement, snow and cloud

differentiation.

6       10.450 - 12.460      Plant heat stress measurement, other thermal

mapping.

7        2.083 -  2.351      Hydrothermal mapping.

Note:  Channel 6 is not included in this radiometrically rectified data set.

4.1.1 Collection Environment

The BOREAS Landsat TM level-3s and -3p images were acquired through the CCRS and used to create this radiometrically rectified product.  Radiometric corrections and systematic geometric corrections are applied to produce the images in a path-oriented, systematically corrected (level-3s) or precision-corrected (level-3p) form.  The images in the radiometrically rectified data product were extracted as subsets from the original BOREAS Landsat full TM scenes.  The ground resolution of the images is 30 m for bands 1, 2, 3, 4, 5, and 7 at nadir. The pixel values of the images can range from 0 to 255. This allows each pixel to be stored in a single-byte field.  The level-3s and level-3p images were processed through the CCRS Geocode Image Correction System (GICS).  The Landsat satellite orbits Earth at an altitude of 705 km.

4.1.2 Source/Platform

Although the majority of the BOREAS Landsat TM imagery was acquired by the instrument onboard Landsat-5, some images were acquired from the sensor onboard the Landsat-4 satellite.

4.1.3 Source/Platform Mission Objectives

The Landsat TM is designed to respond to and measure both reflected and emitted Earth surface radiation to enable the investigation, survey, inventory, and mapping of Earth's natural resources.

4.1.4 Key Variables

Reflected radiation, emitted radiation, temperature.

4.1.5 Principles of Operation

The TM is a scanning optical sensor operating in the visible and infrared wavelengths. It contains a scan mirror assembly that directly projects the reflected Earth radiation onto detectors arrayed in two focal planes. The TM achieves better image resolution, sharper color separation, and greater in-flight geometric and radiometric accuracy for seven spectral bands simultaneously than the previous generation Landsat sensor, the MultiSpectral Scanner (MSS). Data collected by the sensor are beamed back to ground receiving stations for processing.

4.1.6 Sensor/Instrument Measurement Geometry

The TM sensor depends on the forward motion of the spacecraft for the along-track scan and uses a moving mirror assembly to scan in the cross-track direction (perpendicular to the spacecraft).  The instantaneous field-of-view (IFOV) for each detector from bands 1-5 and band 7 is equivalent to a 30-m square when projected to the ground at nadir.

4.1.7 Manufacturer of Sensor/Instrument

NASA GSFC

Greenbelt, MD 20771

Santa Barbara Remote Sensing (SBRS)

75 Coromar Dr.

Goleta, CA       93117

4.2 Calibration

The internal calibrator, a flex-pivot-mounted shutter assembly, is synchronized with the scan mirror, oscillating at the same 7-Hz frequency. During the turnaround period of the scan mirror, the shutter introduces the calibration source energy and a black direct-current restoration surface into the 100-detector field-of-view.

The calibration signals for bands 1-5 and 7 are derived from three regulated tungsten-filament lamps. The calibration source for band 6 is a blackbody with three temperature selections, commanded from the ground. The method for transmitting radiation to the moving calibration shutter allows the tungsten lamps to provide radiation independently and to contribute proportionately to the illumination of all detectors.

4.2.1 Specifications

Radiometric

Band              Sensitivity [NE(dP)]*

----              --------------------

1                     0.8%

2                     0.5%

3                     0.5%

4                     0.5%

5                     1.0%

7                     2.4%

Ground IFOV             30 m (Bands 1-5, 7)

Avg. altitude          699.6 Km

Data rate                 85 Mbps

Quantization levels      256

Orbit angle             8.15 degrees

Orbital nodal period   98.88 minutes

Scan width               185 km

Scan angle              14.9 degrees

Image overlap            7.6%

Note:  The radiometric sensitivities are the noise-equivalent (NE) reflectance differences for the reflective channels expressed as percentages [NE(dP)].

4.2.1.1 Tolerance

The TM channels were designed for an NE differential represented by the radiometric sensitivity shown in Section 4.2.1.

4.2.2 Frequency of Calibration

The absolute radiometric calibration between bands on the TM sensor is maintained by using internal calibrators located between the telescope and the detectors that are sampled at the end of a scan.

4.2.3 Other Calibration Information

To reduce "striping," relative within-band radiometric calibration is provided by a scene-based procedure called histogram equalization. Because of the absolute accuracy and relative precision of this calibration scheme, it is assumed that any changes in the optics of the primary telescope or the "effective radiance" from the internal calibrator lamps are insignificant in comparison to the changes in detector sensitivity and electronic gain and bias with time and that the scene-dependent sampling is sufficiently precise for the required within-scan destriping from histogram equalization.

Each TM reflective band and the internal calibrator lamps were calibrated prior to launch using lamps in integrating spheres that were in turn calibrated against lamps traceable to calibrated National Bureau of Standards lamps. The absolute radiometric calibration constants in the "short-term" and "long-term" parameter files used for ground processing were modified after launch if there was an inconsistency within or between bands, a change in the inherent dynamic range of the sensors, or a desire to make quantized and calibrated values from one sensor match those from another.

The radiometric rectification process adjusted the DNs of the various images to the reference images of the SSA or NSA, amounting to calibration of the images to one of these two reference images.  If the user wishes to compute surface reflectance for bands 3, 4, and 5 for any of these images, the following parameters should be used.  These parameters were determined using aerosol optical thickness measurements at the time these reference scenes were collected.  Refer to Markham et al. (1992) for more information on how to determine and use these parameters to compute surface reflectance.

NSA  (Reference Image: 21-Jun-1995, Path/Row 33/21)

Band

1      2      3        4        5       7

Gain                   0.6024  1.1751 0.8058   0.8145   0.1081  0.0570

Offset                -1.52   -2.84   -1.17    -1.51   -0.37   -0.15

Spherical Albedo         *      *    0.05796  0.03068  0.00621    *

Path Radiance            *      *    0.0215   0.00943  0.00117    *

Gaseous Transmission     *      *    0.93057  0.90948  0.88199    *

Scattering Transmission  *      *    0.92005  0.9536   0.98479    *

Solar Zenith Angle    38.2°

SSA (Reference Image: 02-Sep-1994, Path/Row 37/22-23)

Band

1      2      3        4        5       7

Gain                  0.6024  1.1751 0.8058   0.8145   0.1081  0.0570

Offset                -1.52  -2.84  -1.17    -1.51    -0.37   -0.15

Spherical Albedo         *     *     0.0597   0.03094  0.00592   *

Path Radiance            *     *     0.02349  0.01055  0.00154   *

Gaseous Transmission     *     *     0.92918  0.92438  0.90494   *

Scattering Transmission  *     *     0.90852  0.94451  0.98023   *

Solar Zenith Angle    49.9°

Note:  The atmospheric parameters were not determined as part of the TE-18 research for bands 1, 2, and 7.

For a given band, the at-sensor radiance of a pixel can be computed with the following equation:

At-sensor radiance = DN * Gain + Offset

5. Data Acquisition Methods

The BOREAS Landsat TM level-3s and -3p images that were used to create this product were acquired through the CCRS.  Radiometric corrections and systematic or precision geometric corrections are applied to produce the images in a path-oriented form.  A full TM image contains 6,920 pixels in each of 5,728 lines (see Section 11.2).  The images in this data set are subsets of the full images covering the NSA or SSA.  The ground resolution was degraded to 60-m from the original 30-m resolution. The pixel values of the images can range from 0 to 255. This allows each pixel to be stored in a single-byte field.

6. Observations

6.1 Data Notes

None.

6.2 Field Notes

Not applicable.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

The Landsat TM images generally cover the SSA and the NSA, which are located in the southwest and northeast portions of the BOREAS region (Sellers and Hall, 1994).  Each image in this data set covers a slightly different area, but each covers all or part of the NSA or SSA.  The North American Datum of 1983 (NAD83) corner coordinates of the SSA are:

Latitude     Longitude

--------     ---------

Northwest    54.321 N     106.228 W

Northeast    54.225 N     104.237 W

Southwest    53.515 N     106.321 W

Southeast    53.420 N     104.368 W

The NAD83 corner coordinates of the NSA are:

Latitude     Longitude

--------     ---------

Northwest    56.249 N      98.825 W

Northeast    56.083 N      97.234 W

Southwest    55.542 N      99.045 W

Southeast    55.379 N      97.489 W

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

The spatial resolution of each pixel was degraded to 60 m from the original 30 m resolution of Landsat TM.  Each 60-m pixel in these images represents an average of a 2- by 2-pixel window of the original 30 meter pixels.

7.1.4 Projection

The Landsat TM images are in a Universal Transverse Mercator (UTM) projection based on the NAD83.  However, these images are not precisely registered in this projection.  Any comparison of these images will require coregistration by the user.  The level-3a georeferenced Landsat TM data can be used to create georeferenced images from these radiometrically rectified data.

7.1.5 Grid Description

The grid spacing for each pixel in the Landsat TM images is 60 m in the UTM projection.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

This data set contains 23 images collected from 22-Jun-1984 to 18-Sep-1994.

7.2.2 Temporal Coverage Map

The following two lists provide dates for all the radiometrically rectified TM images that are available from BOREAS.

Date        Study Area

-----------     ----------

07-Jul-1985        SSA

11-Aug-1986        SSA

30-Aug-1987        SSA

04-Sep-1989        SSA

06-Aug-1990        SSA

05-May-1991        SSA

06-Jun-1991        SSA

24-Jul-1991        SSA

09-Aug-1991        SSA

10-Sep-1991        SSA

07-Jun-1994        SSA

23-Jun-1994        SSA

25-Jul-1994        SSA

18-Sep-1994        SSA

Date        Study Area

-----------     ----------

22-Jun-1984        NSA

19-Aug-1985        NSA

15-Aug-1986        NSA

01-Jun-1988        NSA

08-Jun-1988        NSA

20-Aug-1988        NSA

05-Sep-1988        NSA

25-Jul-1990        NSA

09-Jun-1994        NSA

7.2.3 Temporal Resolution

The strategy for the radiometrically rectified images was to obtain the best temporal sequence of images over 10 years and to get good coverage of the growing season in one particular year.  The tables in Section 7.2.2 reflect this strategy.

7.3 Data Characteristics

7.3.1 Parameter/Variable

Scaled DN

7.3.2 Variable Description/Definition

The images contain scaled DNs stored in single byte values which are adjusted to match the radiometric and atmospheric characteristics of the reference images of the SSA and NSA.

7.3.3 Unit of Measurement

The DNs are unitless but represent at-sensor radiance in Watts/(m2 * ster * m) after applying gain and offset values, see Section 4.2.3.

For a given band, the at-sensor radiance of a pixel can be computed with the following equation:

At-sensor radiance = DN * Gain + Offset

7.3.4 Data Source

The data contained in this data set come from various portions of the Landsat satellite system, the TM instrument, and the ground processing components.  The imagery products from CCRS were used to create the radiometrically rectified images.

7.3.5 Data Range

The maximum range of the DN values in each radiometrically rectified Landsat TM image band is limited from 0 (zero) to 255 so that the values can be stored in a single 8-bit (byte) field.

7.4 Sample Data Record

Not applicable.

8. Data Organization

8.1 Data Granularity

The smallest unit of data that can be ordered from this radiometrically rectified data is a single image.

8.2 Data Format(s)

8.2.1 Uncompressed Data Files

Each image in this data set consists of seven files, one ASCII header file and 6 binary image files.

FILE 1 (80 byte ASCII text records)

Header file indicating acquisition date and time, Path/Row, Pixels per line, and Number of lines.

FILES 2 - 7 (A band-sequential (BSQ) set of files containing image bands 1 to 5

and 7, respectively.)

- Each pixel value is in units of digital counts  (see Section 11.2).

- Each image is oriented so that pixel 1, line 1 is in the upper left-hand

corner (i.e., northwest) of the screen display.  Pixels and lines progress

left to right and top to bottom so that pixel n, line n is in the lower

right-hand corner.

The characteristics for each image are:

Number  Number

Of       Of

Date        Pixels   Lines   Study Area

30-Aug-1987     2048    1536      SSA

18-Sep-1994     2048    1536      SSA

04-Sep-1989     2048    1536      SSA

11-Aug-1986     2048    1536      SSA

06-Aug-1990     2048    1536      SSA

07-Jun-1994     1024    1536      SSA

25-Jul-1994     1024    1536      SSA

23-Jun-1994     1024    1536      SSA

07-Jul-1985     2048    1536      SSA

09-Aug-1991     2048    1536      SSA

24-Jul-1991     2048    1536      SSA

06-Jun-1991     2048    1536      SSA

10-Sep-1991     2048    1536      SSA

05-May-1991     2048    1536      SSA

15-Aug-1986     2048    1280      NSA

19-Aug-1985     1334    1280      NSA

20-Aug-1988     2048    1280      NSA

05-Sep-1988     2048    1280      NSA

25-Jul-1990     2048    1280      NSA

22-Jun-1984     2048    1280      NSA

08-Jun-1988     1334    1280      NSA

09-Jun-1994     1334    1280      NSA

01-Jun-1988     2048    1280      NSA

8.2.2 Compressed CD-ROM Files

On the BOREAS CD-ROMs, file 1 listed above is stored as ASCII text; however, files 2-7 have been compressed with the GNU zip (Gzip) compression program (file name *.gz), version 1.2.4, using the high compression (-9) option (Copyright (C) 1992-1993 Jean-loup Gailly).  Gzip uses the Lempel-Ziv algorithm (Welch, 1994) used in the zip and PKZIP programs. The compressed files may be uncompressed using gzip (-d option) or gunzip.  Gzip is available from many Web sites (for example, ftp site prep.ai.mit.edu/pub/gnu/gzip-*.*) for a variety of operating systems in both executable and source code form.  Versions of the decompression software for various systems are included on the CD-ROMs.

9. Data Manipulations

9.1 Formulae

9.1.1 Derivation Techniques and Algorithms

Not applicable.

9.2 Data Processing Sequence

9.2.1 Processing Steps

TE-18 created the radiometrically rectified Landsat TM images by:

1) Selecting scenes for the period of interest (mid-1980’s to mid-1990’s).

2) Selecting a clear reference scene for the NSA and SSA.

3) For each scene to be rectified, selecting a radiometric control set from the nonvegetated extremes of the Kauth-Thomas (KT) greenness-brightness distribution function.  This is done by identifying pixels with both low greenness and low or high brightness extremes.

4) Calculating radiometric transformation from the subject image to the reference image.  This linear function can be determined by finding the mean of the dark targets and the mean of the bright targets.

5) For each band of the subject image, running the image through radiometric transformation, producing a radiometrically rectified image.

6) Averaging the 30-meter imagery over a 2- by 2-pixel window to produce 60-m pixels.

7) Writing the files to tape.

The selection of a radiometric control set is designed to identify the brightest and darkest scene reflectors whose reflectance can be expected to remain within very narrow ranges over time.  This set of landscape elements or pixels do not necessarily occupy the same scene coordinates over time, as do geometric control points for spatial image rectification.  Instead, the radiometric control sets are selected to occupy equivalent positions in the radiometric distribution of each image; namely, the "nonvegetated" extremes of the two-dimensional distribution function in the KT greenness-brightness plane.  The basis for this approach is as follows.  We know that if a scene has nonvegetated landscape elements, then they will be represented by pixels that are the "least" green of the KT greenness-brightness histogram for that scene. Such pixels are usually water bodies, bare rock outcrops,  roads, or bare fields.  Of the image features available for rectification, water and bare rock will have the least variation in reflectance with time.

Please refer to Hall et al. (1991) for detailed information about the radiometric rectification process.

9.2.2 Processing Changes

None.

9.3 Calculations

9.3.1 Special Corrections/Adjustments

None.

9.3.2 Calculated Variables

None.

9.4 Graphs and Plots

None.

10. Errors

10.1 Sources of Error

Errors could arise in the acquired imagery from location inaccuracy, distortion of lengths, anisomorphism, the instrument's local coherence, and multispectral registrability. Other errors could arise from inherent radiometric imperfections of the sensors.

The rectification transforms will be inexact to the extent that there is noise in the determination of the radiometric control points.  Other sources of error can include biases introduced by radiometric control points with reflectance that is not constant from image to image or nonlinearity of the radiance values between images.

10.2 Quality Assessment

10.2.1 Data Validation by Source

Whatever the processing level, the geometric quality of the image depends on the accuracy of the viewing geometry and the ground control points as required to adjust the viewing geometry model.

Spectral errors could arise from image-wide signal-to-noise ratio, saturation, cross-talk, spikes, and response normalization caused by change in gain.

10.2.2 Confidence Level/Accuracy Judgment

Assessment of accuracy of the absolute radiometric constants in the original imagery is difficult. The uncertainties in prelaunch and postlaunch updates of the absolute TM calibration constants are nominally specified to be less than 10%. A root mean square summing of known errors in the prelaunch calibration suggests that this may be a reasonable estimate of overall uncertainty in the prelaunch calibration.

There are also known, but as yet uncorrected, effects associated with temperature-dependence of the TM internal calibrator that may be contributing to apparent discontinuous changes at launch and to the continuous changes of gain while in orbit. Additional uncertainties for exoatmospheric reflectances are probably less than 2% in the visible/near-infrared and less than 5% in the shortwave infrared portion of the spectrum as judged by the current differences in estimates of the solar irradiance.

Since the radiometric rectification process derives atmospheric characteristics from another image, it will most likely produce errors that are larger than exist within an image for which the atmospheric optical thickness was measured directly.

10.2.3 Measurement Error for Parameters

Not available.

10.2.4 Additional Quality Assessments

In the original Landsat TM data, the ability to reproduce coincident TM and ground measurements made for five dates at White Sands, NM, to about 5% for bands 1-4 suggests a potential for monitoring sensor change for the system with time.

The images were screened for cloud cover before BOREAS Information System (BORIS) processing.  The images have a minimum of cloud cover over the study areas.

10.2.5 Data Verification by Data Center

BORIS staff checked the image files by visually inspecting them on a display screen and reading the ASCII header files for correctness.

11. Notes

11.1 Limitations of the Data

Some images had clouds and other atmospheric features that made it difficult to identify targets for radiometric rectification.  In cases where the atmosphere is not homogenous across the image, the radiometric rectification may not adequately account for atmospheric variation between images.

11.2 Known Problems with the Data

See Section 11.1.

11.3 Usage Guidance

Before uncompressing the Gzip files on CD-ROM, be sure that you have enough disk space to hold the uncompressed data files.  Then use the appropriate decompression program provided on the CD-ROM for your specific system.

11.4 Other Relevant Information

None.

12. Application of the Data Set

The radiometrically rectified Landsat TM images are useful for anyone interested in high spatial resolution imagery over the entire NSA or SSA.

13. Future Modifications and Plans

None.

14. Software

14.1 Software Description

BORIS staff developed software and command procedures to average the 30-m pixels in a 2- by 2-pixel window to degrade the imagery to 60-m.

Gzip uses the Lempel-Ziv algorithm (Welch, 1994) used in the zip and PKZIP commands.

14.2 Software Access

All of the described software is available upon request.  BORIS staff would appreciate knowing of any problems discovered with the software, but cannot promise to fix them.

Gzip is available from many Web sites across the Internet (for example, ftp site prep.ai.mit.edu/pub/gnu/gzip-*.*) for a variety of operating systems in both executable and source code form. Versions of the decompression software for various systems are included on the CD-ROMs.

15.   Data Access

15.1  Contact for Data Center/Data Access Information

These BOREAS data are available from the Earth Observing System Data and Information System (EOS-DIS) Oak Ridge National Laboratory (ORNL) Distributed Active Archive Center (DAAC). The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

15.2  Procedures for Obtaining Data

BOREAS data may be obtained through the ORNL DAAC World Wide Web site at http://www-eosdis.ornl.gov/ or users may place requests for data by telephone, electronic mail, or fax.

15.3  Output Products and Availability

Requested data can be provided electronically on the ORNL DAAC's anonymous FTP site or on various media including, CD-ROMs, 8-MM tapes, or diskettes.

The complete set of BOREAS data CD-ROMs, entitled "Collected Data of the Boreal Ecosystem-Atmosphere Study", edited by Newcomer, J., et al., NASA, 1999, are also available.

16. Output Products and Availability

16.1 Tape Products

These data can be made available on 8-mm, Digital Archive Tape (DAT) media.

16.2 Film Products

None.

16.3 Other Products

None.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

Multispectral Scanner System for ERTS. 1972. HS324-5214. Hughes Aircraft Corporation. Santa Barbara, CA.

User's Guide for Landsat Thematic Mapper Computer-Compatible Tapes. 1985. Earth Observation Satellite Company. Lanham, MD.

Welch, T.A. 1984, A Technique for High Performance Data Compression, IEEE Computer, Vol. 17, No. 6, pp. 8 - 19.

17.2 Journal Articles and Study Reports

Byrne, G.F., P.F. Crapper, and K.K. Mayo. 1980. Monitoring land-cover change by principal component analysis of multitemporal Landsat data. Remote Sens. Environ. 10:175-184.

Chavez, P.C., S.C. Guptill, and J.A. Bowell. 1984. Image processing techniques for Thematic Mapper data. Technical Papers. 50th Annual Meeting of the Amer. Soc. of Photogr. 2:728-743.

Crist, E.P. and R.C. Cicone. 1984. Application of the Tasseled Cap concept to simulated Thematic Mapper data. Photogr. Engr. & Rem. Sens. 50:343-352.

Engel, J.L. and O. Weinstein. 1983. The Thematic Mapper: An Overview. IEEE Transactions on Geoscience and Remote Sensing. GE-21:258-265.

Friedel, J. 1992. System description of the Geocoded Image Correction System. Report GC-MA-50-3915, MacDonald Detwiller and Associates, Richmond, B.C.

Hall, F.G., D.E. Strebel, J.E. Nickeson, and S.J. Goetz. 1991. Radiometric Rectification: Toward a Common Radiometric Response Among Multidate, Multisensor Images.  Remote Sens. of Environ. 35:11-27.

Holmes, R.A. 1984. Advanced sensor systems: Thematic Mapper and beyond. Remote Sens. Environ. 15:213-221.

Kanemasu, E.T., J.L. Heilman, J.O. Bagley, and W.L. Powers. 1977. Using Landsat data to estimate evapotranspiration of winter wheat. Environmental Management. 1:515-520.

Lulla, K. 1983. The Landsat satellites and selected aspects of Physical Geography. Progress in Phy. Geogr. 7:1-45.

Malila, W.A. 1985. Comparison of the Information Contents of Landsat TM and MSS Data. Photogrammetric Engineering and Remote Sensing. 51:1449-1457.

Markham, B.L., R.N. Halthorne, and S.J. Goetz. 1992. Surface reflectance retrieval from satellite and aircraft sensors: Results of sensor and algorithm comparisons during FIFE.  Journal of Geophysical Research 97(D17): 18785-18795.

Pollock, R.B. and E.T. Kanemasu. 1979. Estimating leaf-area index of wheat with Landsat data. Remote Sens. Environ. 8:307-312.

Robinov, C.J. 1982. Computation with physical values from Landsat digital data. Photogr. Engr. & Rem. Sens. 48:781-784.

Salomonson, V.V. 1984. Landsat 4 and 5 status and results from Thematic Mapper data analysis. Proceedings. Machine Processing of Remotely Sensed Data Symposium. Lab. for the Applications of Remote Sensing. West Lafayette, IN. p 13-18.

Satterwhite, M.B. 1984. Discriminating vegetation and soils using Landsat MSS and Thematic Mapper bands and band ratios. Technical Papers. 50th Annual Meeting of the Amer. Soc. of Photogr. 2:479-485.

Sellers, P. and F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P. and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M. Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J. Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B. Goodison, D.E. Wickland, and F. E. Guertin. 1997. BOREAS in 1997: Experiment overview, scientific results, and future directions. Journal of Geophysical Research 102(D24): 28,731-28,769.

Singn, A.N., and R.S. Dwived, 1986. The Utility of LANDSAT Imagery as an Integral Part of the Data Base for Small Scale Soil Mapping. Int. J. Remote Sensing. 7:1099-1108.

Taranik, J.V. 1978. Characteristics of the Landsat Multispectral Data System. U.S. Dept. of the Interior. Open File Report 78-187. Sioux Falls, SD.

Thompson, D.R. and O.A. Wehmanen. 1980. Using Landsat digital data to detect moisture stress in corn-soybean growing region. Photogr. Engr. & Rem. Sens. 46:1082-1089.

Williams, D.L., J.R. Irons, B.L. Markham, R.F. Nelson, D.L. Toll, R.S. Latty, and M.L. Stauffer. 1984. A statistical evaluation of the advantages of Landsat Thematic Mapper data in comparison to Multi-spectral Scanner data. IEEE Transactions on Geoscience and Remote Sensing. GE-22.

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None.

19. List of Acronyms

ASCII   - American Standard Code for Information Interchange

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

BSQ     - Band Sequential

CCRS    - Canada Centre for Remote Sensing

CCT     - Computer Compatible Tape

CD-ROM  - Compact Disk-Read-Only Memory

DAAC    - Distributed Active Archive Center

DAT     - Digital Archive Tape

DN      - Digital Number

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

ERTS    - Earth Resources Technology Satellite

FPAR    - Fraction of Photosynthetically Active Radiation

GICS    - Geocoded Image Correction System

GPS     - Global Positioning System

GSFC    - Goddard Space Flight Center

IFOV    - Instantaneous Field-of-View

KT      - Kauth-Thomas

LAI     - Leaf Area Index

LGSOWG  - Landsat Ground Station Operations Working Group

LTWG    - LGSOWG Technical Working Group

MSS     - MultiSpectral Scanner

NAD27   - North American Datum of 1927

NAD83   - North American Datum of 1983

NASA    - National Aeronautics and Space Administration

NE      - Noise Equivalent

NSA     - Northern Study Area

NTS     - National Topographic System

ORNL    - Oak Ridge National Laboratory

PANP    - Prince Albert National Park

RSS     - Remote Sensing Science

SBRC    - Santa Barbara Research Center

SBRS    - Santa Barbara Remote Sensing

SSA     - Southern Study Area

TE      - Terrestrial Ecology

TM      - Thematic Mapper

URL     - Uniform Resource Locator

UTM     - Universal Transverse Mercator

WWW     - World Wide Web

20.  Document Information

20.1 Document Revision Dates

Written:         08-Oct-1998

Last Updated:    08-Dec-1998

20.2 Document Review Dates

BORIS Review:    03-Dec-1998

Science Review:

20.3 Document ID

20.4 Citation

This data product was produced by the TE-18 team from Landsat TM data used in the BOREAS project.  The Landsat TM images resulted from a joint development and processing effort between BOReal Ecosystem-Atmosphere Study (BOREAS) staff at the Canada Centre for Remote Sensing (CCRS) and the National Aeronautics and Space Administration (NASA) Goddard Space Flight Center (GSFC).  The original level-3s and -3p data were acquired by CCRS and processed by RADARSAT International under an agreement with CCRS.  The respective contributions of the above individuals and agencies to completing this data set are greatly appreciated.

20.5 Document Curator

20.6 Document URL

Keywords

LANDSAT

LANDSAT THEMATIC MAPPER

EMITTED RADIATION

REFLECTED RADIATION

RADIOMETRIC RECTIFICATION