BOREAS TE-02 Foliage Respiration Data

Summary

The BOREAS TE-02 team collected several data sets in support of its efforts to characterize and interpret information on the respiration of the foliage, roots, and wood of boreal vegetation.  This data set contains measurements of foliar respiration conducted in the NSA during the growing season of 1994.

Table of Contents

*  1 Data Set Overview

*  2 Investigator(s)

*  3 Theory of Measurements

*  4 Equipment

*  5 Data Acquisition Methods

*  6 Observations

*  7 Data Description

*  8 Data Organization

*  9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS TE-02 Foliage Respiration Data

1.2 Data Set Introduction

Field studies of tree foliar respiration were conducted at the BOReal Ecosystem-Atmosphere Study (BOREAS) Northern Study Area (NSA) during the growing season of  1994.

1.3 Objectives/Purpose

The objectives of the work were to:

1) Characterize respiration of foliage at the primary forested BOREAS sites in the northern and southern study areas (Old Jack Pine (OJP), Old Black Spruce (OBS), and Old Aspen (OA)) with respect to biomass, foliar age, and nutrient content, and determine whether respiration rates, corrected to a common temperature, differed among species and sites or varied seasonally.

2) Determine if there was any relationship between foliage respiration and nitrogen, phosphorus, or carbohydrate content in foliage.

3) Use our estimates of foliage respiration, estimates of foliage biomass or area, and canopy temperature throughout the year to estimate the annual carbon cost for foliage respiration.

1.4 Summary of Parameters

Each data record includes the BOREAS Tower Flux (TF) site, tree species measured, day of year measurements were taken, sample number, canopy third where sample was taken: foliage age class, leaf area of sample, dry weight of foliage in sample, dry weight of stem or petiole in sample, total dry weight in sample, leaf temperature, respiration, respiration per area at 10 °C, respiration per dry weight at 10 °C, percent nitrogen in dry weight, percent phosphorus in dry weight, nitrogen per area, percent starch in dry weight, and percent sugar in dry weight.

1.5 Discussion

In the NSA, the Terrestrial Ecology (TE)-02 team measured foliage respiration rates for alder (Alnus crispa), Old Aspen (OA) (Populus tremuloides), OBS (Picea mariana), OJP (Pinus banksiana) and lichen in 1994 during June, July, and August, corresponding with the BOREAS Intensive Field Campaigns (IFCs).

1.6 Related Data Sets

BOREAS TE-02 Wood Respiration Data

BOREAS TE-02 Root Respiration Data

BOREAS TE-02 Stem Growth and Sapwood Data

BOREAS TE-02 Continuous Wood Respiration Data

2. Investigator(s)

2.1 Investigator(s) Name and Title

Dr. Michael G. Ryan

Dr. Michael Lavigne

2.2 Title of Investigation

Autotrophic Respiration in Boreal Ecosystems

2.3 Contact Information

Contact 1:

Dr. Michael G. Ryan

USDA Forest Service

Rocky Mountain Research Station

Fort Collins, CO

970.498.1012

mryan@lamar.colostate.edu

Contact 2:

Dr. Michael Lavigne

Forestry Canada, Maritimes Region

Fredericton, New Brunswick

CANADA

Contact 3:

Andrea Papagno

Raytheon ITSS

NASA GSFC

Greenbelt, MD

(301) 286-3134

(301) 286-0239 (fax)

Andrea.Papagno@gsfc.nasa.gov

3. Theory of Measurements

Respiration oxidizes sugars, producing energy, water, and CO2 and absorbing oxygen.  In most plant cells, the ratio between the oxygen absorbed and CO2 produced in respiration is close to one.  Therefore, because small changes in CO2 concentration in the air are easier to measure than small changes in the oxygen content of the air, respiration is typically measured as CO2 evolution from plant tissues.  CO2 evolution is typically measured with an infrared gas analyzer (IRGA), operating in one of three modes: open, closed, or differential.  The system that we used to measure foliage respiration was an open system, which estimates molar flux of CO2 from plant tissue respiration as the difference between the CO2 concentration entering and exiting the chamber times the molar flow rate of air through the chamber [Field et al., 1991]. Respiration rates are typically expressed as moles CO2 per kg of dry weight per second, or, for foliage, moles CO2 per m2 leaf area per second.  Because many factors can influence the rate of foliar dark respiration if measured during daylight after shading, we made all of our measurements at night at least 2 hours after sunset.

4. Equipment

4.1 Instrument Description

4.1.1 Collection Environment

Foliage respiration measurements were made on plants in the field at night.  All other measurements took place under laboratory conditions.

4.1.2 Source/Platform

We accessed the canopy with scaffolding towers that were relocated for each IFC. For the overstory, foliage respiration rates were sampled by canopy position (canopy thirds) and foliage age; 15-30 samples were measured at each site for each IFC, distributed among the accessible trees.  From each scaffold tower, we sampled 3-8 trees.

4.1.3 Source/Platform Mission Objectives

Not applicable.

4.1.4 Key Variables

Respiration, respiration per area at 10 °C, respiration per dry weight at 10 °C, percent nitrogen in dry weight, percent phosphorus in dry weight, nitrogen per area, percent starch in dry weight, and percent sugar in dry weight.

4.1.5 Principles of Operation

Foliar CO2 efflux was measured in the NSA using an open photosynthesis system [Field et al., 1991].  Foliage temperature was measured concurrently with a fine-wire thermocouple.  Immediately after sampling, foliage was removed from the branch, stored at < 2-5 °C for 10-48 hours, and measured for leaf area. For aspen, alder, and hazel, leaf area was determined with a leaf area meter.  For spruce and pine, leaf area was determined by volume displacement [Chen et al., 1997].  The samples were then dried at 65 °C for 48 hours, weighed, and stored for analysis of nutrients (nitrogen and phosphorus) and carbohydrates.

4.1.6 Sensor/Instrument Measurement Geometry

None.

4.1.7 Manufacturer of Instrument

Leaf Area Meter

Delta-T Leaf Area Meter

Dynamax, Inc.

10808 Fallstone

Suite 350

Houston, TX 77099 USA

(281) 564-5100

Photosynthesis System

LCA3 or LCA4

Analytical Development Company (ADC)

Hoddeston, Herts., UK

Distributed by:

Dynamax, Inc.

10808 Fallstone

Suite 350

Houston, TX 77099 USA

(28) 564-5100

Bubble Flow Meter

Model 650 Digital Flowmeter

Fisher Scientific

2000 Park Lane Drive

Pittsburgh, PA  15275

(800) 766-7000

4.2 Calibration

We calibrated the IRGA to a concentration standard supplied by BOREAS prior to a measurement period and every 48 hours during measurements.  Typically, the analyzer drifted less than 1% between calibrations.

4.2.1.1 Tolerance

None.

4.2.2 Frequency of Calibration

We calibrated the IRGA to a concentration standard supplied by BOREAS prior to a measurement period and every 48 hours during measurements.

4.2.3 Other Calibration Information

We also calibrated the molar flow of ideal gas roughly every month with a bubble column.  We used standard meteorological pressure (reported at Thompson), corrected for elevation, and temperature from a copper-constantan thermocouple to calculate molar flow from the volume flow for this calculation.

5. Data Acquisition Methods

We measured foliage respiration rates for the overstory in 1994 in June, July, and August, corresponding with the BOREAS IFCs at OBS, OJP, and OA in the NSA.  At the aspen site, foliage respiration rates were also measured for Alnus crispa in the NSA in July and August.  We estimated foliage respiration rate as CO2 efflux from foliage at night (2300-0300 local standard time).  We accessed the canopy with scaffolding towers that were relocated for each IFC. For the overstory, foliage respiration rates were sampled by canopy position (canopy thirds) and foliage age; 15-30 samples were measured at each site for each IFC, distributed among the accessible trees.  From each scaffold tower, we could sample 3-8 trees. For the understory, we measured flux from five sun and five shade leaves.  Foliar CO2 efflux was measured in the NSA using an open system [Field et al., 1991] ADC LCA3 or LCA4 (Analytical Development Company, Hoddeston, Herts., UK). Foliage temperature was measured concurrently with a fine-wire thermocouple.

Immediately after sampling, foliage was removed from the branch, stored at < 2-5 °C for 10-48 hours, and measured for leaf area. For aspen, alder, and hazel, leaf area was determined with a leaf area meter.  For spruce and pine, leaf area was determined by volume displacement [Chen et al., 1997].  The samples were then dried at 65 °C for 48 hours, weighed, and stored for analysis of nutrients (N and P) and carbohydrates.  In expressing flux rates, leaf area is given as hemisurface area (one-half of the total surface area) [Chen et al., 1997].  Nitrogen and phosphorus were measured with a micro-Kjeldal procedure [Lachat Instruments, 1992a, b].  Soluble sugar and starch were extracted from plant material as described by Tissue and Wright [1995].  Starch and sugar concentration was determined colorimetrically using the phenol-sulfuric acid method of Dubois et al. [1956].  Total nonstructural carbohydrate was calculated as the sum of the soluble sugar and starch. For each sample period and site, each measurement was adjusted to a reference temperature (10°C) using the average increase of respiration with a 10°C increase in temperature.

Temperature response of foliage respiration was measured in July for the overstory species in the NSA.  We harvested five shoots of each species from midcanopy at about 0300, recut the stems under water, and stored samples in the dark at 15 °C for about 6 hours.  Temperature response was determined by measuring foliar respiration at 5, 15, and 25 °C with a temperature-controlled cuvette [Hubbard et al., 1995].  We did not measure temperature response in June and August because previous studies with conifer foliar respiration showed that temperature response varied little throughout the growing season (M.G. Ryan, unpublished data).  The increase of respiration with a 10°C increase in temperature in July was 2.1 for black spruce, 2.0 for jack pine, and 2.1 for aspen.

6. Observations

6.1 Data Notes

None.

6.2 Field Notes

None.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

The measurement sites and associated North American Datum of 1983 (NAD83) coordinates are:

OA canopy access, site id T2Q6A, Lat/Long: 55.88691°N, 98.67479°W, Universal Transverse Mercator (UTM) Zone 14, N: 6,193,540.7, E: 520,342

OBS canopy access tower, site id T3R8T, Lat/Long: 55.88007°N, 98.48139°W, UTM Zone 14, N: 6,192,853.4, E: 532,444.5

OJP, site id T7Q8T, Lat/Long: 55.92842Q°N, 98.62396°W, UTM Zone 14, N: 6,198,176.3, E: 523,496.2

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

These data are point source measurements at the given locations.

7.1.4 Projection

Not applicable.

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

We measured foliage respiration rates for the overstory in 1994 during June, July, and August, corresponding with the BOREAS IFCs at NSA-OBS, NSA-OJP, and NSA-OA.

7.2.2 Temporal Coverage Map

None given.

7.2.3 Temporal Resolution

We accessed the canopy with scaffolding towers that were relocated for each IFC. For the overstory, foliage respiration rates were sampled by canopy position (canopy thirds) and foliage age; 15-30 samples were measured at each site for each IFC, distributed among the accessible trees.  From each scaffold tower, we could sample 3-8 trees.  For the understory, we measured flux from five sun and five shade leaves.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (te2flrsp.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (te2flrsp.def).

8. Data Organization

8.1 Data Granularity

All of the foliage respiration data are in one file.

8.2 Data Format(s)

The data files contain American Standard Code for Information Interchange (ASCII) numerical and character fields of varying length separated by commas. The character fields are enclosed with single apostrophe marks. There are no spaces between the fields. Sample data records are shown in the companion data definition file (te2flrsp.def).

9. Data Manipulations

9.1 Formulae

None.

9.1.1 Derivation Techniques and Algorithms

None given.

9.2 Data Processing Sequence

9.2.1 Processing Steps

Flux rates are given in the output from the IRGA.  We divided by sample dry weight or sample leaf area to put rates on a weight or area basis.

9.2.2 Processing Changes

None given.

9.3 Calculations

9.3.1 Special Corrections/Adjustments

Not applicable.

9.3.2 Calculated Variables

Not applicable.

9.4 Graphs and Plots

Not applicable.

10. Errors

10.1 Sources of Error

Variability of the samples is estimated with the standard deviation of the mean.  Samples were selected to represent the range of variability in respiration rates as well as to provide an estimate of mean per leaf area respiration rates.

Samples were taken from several trees reachable from the canopy access scaffolding tower.  In the NSA, the scaffolding tower was moved between IFCs.  Therefore, any seasonal variability is confounded with tree-to-tree spatial heterogeneity in foliar respiration rates.  Respiration rates per unit of leaf nitrogen should be more conservative than respiration rates per unit leaf weight or per unit leaf area. The flux of carbon dioxide from respiration of leaves is typically less than 10 percent of the rates of carbon dioxide fixed in photosynthesis.  Because the IRGA could typically resolve a difference in concentration of carbon dioxide of one (mol/mol, lower respiration rates have more uncertainty in the measurement.  We compensated for this effect by enclosing a large amount of foliage (about 1-4 g dry weight) in the cuvette.

10.2 Quality Assessment

10.2.1 Data Validation by Source

None given.

10.2.2 Confidence Level/Accuracy Judgment

Flux rates of CO2, nitrogen and phosphorus concentrations, starch and sugar content, and dry weight are likely estimated for the sample within +/- 5 percent.

10.2.3 Measurement Error for Parameters

None given.

10.2.4 Additional Quality Assessments

None given.

10.2.5 Data Verification by Data Center

Data were examined for general consistency and clarity.

11. Notes

11.1 Limitations of the Data

None given.

11.2 Known Problems with the Data

None given.

11.3 Usage Guidance

None given.

11.4 Other Relevant Information

None given.

12. Application of the Data Set

These data can be used to study the foliage respiration rates of boreal vegetation.

13. Future Modifications and Plans

None given.

14. Software

14.1 Software Description

None given.

14.2 Software Access

None given.

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

Elizabeth.Nelson@gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax.

15.4 Data Center Status/Plans

The TE-02 Foliage Respiration data are available from the Earth Observing System Data and Information System (EOSDIS) Oak Ridge National Laboratory (ORNL) Distributed Active Archive Center (DAAC). The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1  Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

Tabular (ASCII) files.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

None.

17.2 Journal Articles and Study Reports

Chen, J.M., P.M. Rich, S.T. Gower, J.M. Norman, and S. Plummer. 1997. Leaf area index of boreal forests: theory, techniques and measurements.JGR, BOREAS Special Issue, 102 (D24), 29,429-29,443.

Dubois, M., K.A. Gilles, J.K. Hamilton, P.A. Rebers, and F. Smith.  1956.  Colorimetric method for determination of sugars and related substances.  Anal. Chem. 28: 350-356.

Field, C.B., J.T. Ball, and J.A. Berry.  1991.  Photosynthesis: principles and field techniques. In Plant Physiological Ecology, edited by R.W. Pearcy, J. Ehleringer, H.A. Mooney, and P.W. Rundel, Chapman and Hall, London, pp. 206-253.

Hubbard, R.M., M.G. Ryan, and D.L. Lukens.  1995. A simple, battery operated, temperature-controlled cuvette for  respiration measurements.  Tree Physiol., 15, 175-179.

Lachat Instruments. 1992a.  Total Kjeldahl nitrogen in soil/plant.  Lachat Instruments, Milwaukee, WI, USA.

Lachat Instruments. 1992b.  Total phosphorus in Kjeldahl digests.  Lachat Instruments, Milwaukee, WI, USA.

Ryan, M.G., 1995.  Foliar maintenance respiration of subalpine and boreal trees and shrubs in relation to nitrogen content. Plant. Cell. Environ., 18, 765-772.

Ryan, M.G., M. B. Lavigne, and S.T. Gower.  1997.  Annual carbon cost of autotrophic respiration in boreal forest ecosystems in relation to species and climate.  JGR, BOREAS Special Issue, 102 (D24), 28,871-28,883.

Sellers, P. and  F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P. and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPSDOC 94).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPSDOC 96).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M. Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J. Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B. Goodison, D.E. Wickland, and F.E. Guertin. 1997. BOREAS in 1997: Experiment overview, scientific results, and future directions. JGR, BOREAS Special Issue, 102 (D24), 28,731-28,769.

Tissue, D.T. and S.J. Wright.  1995. Effect of seasonal water availability on phenology and the annual shoot carbohydrate cycle of tropical forest shrubs.  Funct. Ecol. 9: 518-527.

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None.

19. List of Acronyms

ADC     - Analytical Development Company

ASCII   - American Standard Code for Information Interchange

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

CD-ROM  - Compact Disk-Read Only Memory

CO2     - carbon dioxide

DAAC    - Distributed Active Archive Center

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

GSFC    - Goddard Space Flight Center

HTML    - Hypertext Markup Language

IFC     - Intensive Field Campaign

IRGA    - Infrared Gas Analyzer

MIX     - Mixed

NAD83   - North American Datum of 1983

NIR     - Near Infrared Radiation

NOAA    - National Oceanic and Atmospheric Administration

NSA     - Northern Study Area

OA      - Old Aspen

OBS     - Old Black Spruce

OJP     - Old Jack Pine

ORNL    - Oak Ridge National Laboratory

PANP    - Prince Albert National Park

PAR     - Photosynthetically Active Radiation

PPFD    - Photosynthetic Photon Flux Density

SSA     - Southern Study Area

TE      - Terrestrial Ecology

TF      - Tower Flux site

URL     - Uniform Resource Locator

UTM     - Universal Transverse Mercator

YA      - Young Aspen

YJP     - Young Jack Pine

20. Document Information

20.1 Documentation Revision Date

Written:  31-Aug-1998

Last Updated:  08-Dec-1998

20.2 Document Review Date(s)

BORIS Review:  02-Sep-1998

Science Review:

20.3 Document ID

20.4 Citation

Dr. Michael G. Ryan, USDA Forest Service, Rocky Mountain Research Station, and Dr. Michael Lavigne, Forestry Canada, Maritimes Region

20.5 Document Curator

20.6 Document URL

Keywords:

Carbohydrates

Foliage Respiration

Nitrogen

Phosphorous

Soluble Sugar

Starch

Dry Weight