BOREAS TE-02 Continuous Wood Respiration Data

Summary

The BOREAS TE-02 team collected several data sets in support of its efforts to characterize and interpret information on the respiration of the foliage, roots, and wood of boreal vegetation.  This data set contains measurements of wood respiration measured continuously (about once per hour) in the NSA during the growing season of 1994.

Table of Contents

*  1 Data Set Overview

*  2 Investigator(s)

*  3 Theory of Measurements

*  4 Equipment

*  5 Data Acquisition Methods

*  6 Observations

*  7 Data Description

*  8 Data Organization

*  9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS TE-02 Continuous Wood Respiration Data

1.2 Data Set Introduction

Field studies of wood respiration were measured continuously on tree stems by an automated manifold for 3-6 days per Intensive Field Campaign (IFC) at the BOReal Ecosystem-Atmosphere Study (BOREAS) Northern Study Area (NSA) in 1994.

1.3 Objectives/Purpose

The objectives of the work were to:

1) Determine whether respiratory parameters vary among three boreal tree species (black spruce, jack pine, and trembling aspen).

2) Compare respiration parameters from the cold northern sites with those from the warmer, southern sites.

3) Provide estimates of respiratory parameters for ecosystem process models.

4) Use our estimates of wood respiration, estimates of wood biomass, and wood temperature throughout the year to estimate the annual carbon cost for wood respiration.

1.4 Summary of Parameters

Each data record includes flow to chamber (ml/minute) @STP (101.300 KPa pressure and 0 °C), air temperature (°C), sapwood temperature (°C), CO2 reference ((L/L), CO2 difference (µL/L), air pressure (mbar), µmol/m2 bark/s (10-6 mol/m2 bark s-1), and Error Codes.

Error codes include:

Air Temperature < -5 or > 40 Degrees Celsius

CO2 Difference < 0 PPM

CO2 Reference < 345 Or > 600 PPM

Large Change In CO2 Ref Over Measurement Period

Low Return Flow From Chamber

Manifold Temperature < -5 Or > 35 Degrees Celsius

Sapwood Temperature < -5 Or > 35 Degrees Celsius

1.5 Discussion

In the NSA, the Terrestrial Ecology (TE)-02 team measured continuous wood respiration rates for Old Aspen (OA) (Populus tremuloides), Old Black Spruce (OBS) (Picea mariana), Old Jack Pine (OJP) (Pinus banksiana), and Young Jack Pine (YJP) in 1994 during June, July, and August--corresponding with the BOREAS IFCs.  These rates were used to estimate: 1) the response of CO2 evolution from wood to wood temperature, 2) any lag in wood CO2 efflux and wood temperature, and 3) the relationship between wood temperature and air temperature.

1.6 Related Data Sets

BOREAS TE-02 Foliage Respiration Data

BOREAS TE-02 Root Respiration Data

BOREAS TE-02 Stem Growth and Sapwood Data

BOREAS TE-02 Wood Respiration Data

2. Investigator(s)

2.1 Investigator(s) Name and Title

Dr. Michael G. Ryan

Dr. Michael Lavigne

2.2 Title of Investigation

Autotrophic Respiration in Boreal Ecosystems

2.3 Contact Information

Contact 1:

Dr. Michael G. Ryan

USDA Forest Service

Rocky Mountain Research Station

Fort Collins, CO

(970) 498-1012

mryan@lamar.colostate.edu

Contact 2:

Dr. Michael Lavigne

Forestry Canada, Maritimes Region

Fredericton, New Brunswick

CANADA

Contact 3:

Andrea Papagno

Raytheon ITSS

NASA GSFC

Greenbelt, MD

(301) 286-3134

(301) 286-0239 (fax)

Andrea.Papagno@gsfc.nasa.gov

3. Theory of Measurements

Respiration oxidizes sugars, producing energy, water, and CO2--and absorbing oxygen.  In most plant cells, the ratio between the oxygen absorbed and CO2 produced in respiration is close to one.  Therefore, because small changes in CO2 concentration in the air are easier to measure than small changes in the oxygen content of the air, respiration is typically measured as CO2 evolution from plant tissues.  CO2 evolution is typically measured with an infrared gas analyzer (IRGA), operating in one of three modes: open, closed, or differential.  The system that we used to measure stem wood respiration was an open system, which estimates molar flux of CO2 from plant tissue respiration as the difference between the CO2 concentration entering and exiting the chamber times the molar flow rate of air through the chamber (Field et al., 1991). Respiration of woody tissues is estimated as the CO2 efflux at the boundary of the bark—air interface.  Respiration rates are typically expressed as moles CO2 per m2 bark area per second. We assembled a sampling manifold to sequentially sample the CO2 efflux from eight trees, once per hour.

Respiration of woody tissues will vary with temperature and sapwood volume, and perhaps with sapwood nitrogen, phosphorus or carbohydrate content.  Sampling for nitrogen, phosphorus, or carbohydrate content or determining sapwood cross-sectional area of a stem involves destructive measurements.  Therefore, samples are generally taken after the respiration measurements have been completed.  These characteristics are stored in a separate file and documented in TE-02 Stem Growth Sapwood Data.

4. Equipment

4.1 Instrument Description

4.1.1 Collection Environment

Respiration measurements were made in the field.  All other measurements took place under laboratory conditions.

4.1.2 Source/Platform

None given.

4.1.3 Source/Platform Mission Objectives

Not applicable.

4.1.4 Key Variables

Each data record includes flow to chamber (ml/minute) @STP (101.300 KPa pressure and 0 °C), air temperature (°C), sapwood temperature (°C), CO2 Reference (µL/L), CO2 difference (µL/L), air pressure (mbar), µmol/m2 bark/s (10-6 mol/m2 bark s-1), and error codes.

Error codes include:

Air Temperature < -5 Or > 40 Degrees Celsius

CO2 Difference < 0 PPM

CO2 Reference < 345 Or > 600 PPM

Large Change In CO2 Ref Over Measurement Period

Low Return Flow From Chamber

Manifold Temperature < -5 Or > 35 Degrees Celsius

Sapwood Temperature < -5 Or > 35 Degrees Celsius

4.1.5 Principles of Operation

The continuous measurements were made using a manifold and an open system (Field et al. 1991), controlled with a CR-21X datalogger (Campbell Scientific, Logan, UT, USA). The manifold system had two separate gas circuits: when CO2 efflux was being measured, inlet air was drawn through a 20-L mixing chamber (to provide a stable reference CO2 concentration), passed through the chamber at 270 µmol/s, and returned to the CO2 analyzer (ADC LCA2, ADC, Hoddeston, UK). Otherwise, inlet air was pushed through the chambers at 3.5 mmol/s (controlled with a mass flow controller), to keep CO2 concentration in the chamber at < 5 µmol/mol above ambient. CO2 efflux for each of eight chambers was sampled every 5 seconds for 8 minutes, and only the last minute’s average data used for analysis and stored in the data base.  The remaining data were discarded because they represent nonequilibrium conditions. Methods are similar to those described in Ryan et al. (1995) and are more fully described in Lavigne and Ryan (1997).  For IFC-3 in NSA-OA, some of the chambers were covered with aluminum foil for 2-3 days to estimate refixation by bark photosynthesis.

4.1.6 Sensor/Instrument Measurement Geometry

None.

4.1.7 Manufacturer of Instrument

Ryan built the sampling manifold.  The datalogger and IRGA were from:

IRGA

LCA2

Analytical Development Company (ADC)

Hoddeston, Herts., UK

Distributed by:

Dynamax, Inc.

10808 Fallstone

Suite 350

Houston, TX 77099 USA

(281) 564-5100

CR-21X datalogger

Campbell Scientific, Inc.

815 West 1800 North

Logan, UT 84321-1784

(435) 753-2342

(435) 750-9540 (fax)

support@campbellsci.com

4.2 Calibration

4.2.1 Specifications

We calibrated the IRGA to a concentration standard supplied by BOREAS prior to a measurement period for each IFC.  Typically, the analyzer will drifted less than 2% between calibrations.

4.2.1.1 Tolerance

We calibrated the IRGA to a concentration standard supplied by BOREAS prior to a measurement period for each IFC.  Typically, the analyzer drifted less than 2% between calibrations.

4.2.2 Frequency of Calibration

We calibrated the IRGA to a concentration standard supplied by BOREAS prior to a measurement period for each IFC.  Typically, the analyzer drifted less than 2% between calibrations.

4.2.3 Other Calibration Information

We calibrated the molar flow through the mass flow controller roughly every month with a bubble column.  We used standard meteorological pressure (reported at Thompson), corrected for elevation, and temperature from a copper-constantan thermocouple to calculate molar flow from the volume flow for this calculation.

5. Data Acquisition Methods

Continuous stem respiration was measured on eight trees at OJP, OBS, and OA sites in the NSA, once per IFC, and on six trees at YJP in NSA (only IFC-2). Tree diameters spanned the range of the stand.  At the OJP, OBS, and OA sites, aluminum chamber plates with an external neoprene gasket were attached to the north side of the tree with putty; loose bark was removed before attaching the chamber plate. Chambers were at 1.2-1.4 m height and at 6 m.  For CO2 efflux measurements, a Plexiglas chamber was sealed to the chamber plate with an elastic cord. The chamber area for OA, OBS, and OJP was 110 cm2.  That is counting 1/2 of the plate area (assuming 1/2 of the flux under the plate goes into the chamber and 1/2 does not).  The area inside the chamber is 80.5 cm2.  For measurements at YJP, split Plexiglas chambers (23 cm in length) enclosed the entire stem, with neoprene gaskets creating a seal.  A small fan mixed the air in each chamber, and chambers were removed between measurements. Temperatures were measured at each tree.

6. Observations

6.1 Data Notes

None.

6.2 Field Notes

None.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

The measurement sites and associated North American Datum of 1983 (NAD83) coordinates are:

OA canopy access, site id T2Q6A, Lat/Long: 55.88691 N, 98.67479 W, Universal Transverse Mercator (UTM) Zone 14, N: 6,193,540.7, E: 520,342

OBS canopy access tower, site id T3R8T, Lat/Long: 55.88007 N, 98.48139 W, UTM Zone 14, N: 6,192,853.4, E: 532,444.5

OJP, site id T7Q8T, Lat/Long: 55.92842 N, 98.62396 W, UTM Zone 14, N: 6,198,176.3, E: 523,496.2

YJP, site id, T8S9T, Lat/Long: 55.89575 N, 98.28706 W, UTM Zone 14, N: 6,194,706.9, E: 544,583.9

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

These data are point source measurements at the given locations.

7.1.4 Projection

Not applicable.

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

We measured continuous wood respiration in 1994 during June, July, and August--corresponding with the BOREAS IFCs 1, 2, and 3 at NSA-OBS, NSA-OJP, and NSA-OA.  Continuous measurements were made at NSA-YJP during IFC-2.

7.2.2 Temporal Coverage Map

Each IFC at the OJP, OBS, and OA sites, CO2 efflux was measured once per hour for 3-6 days on eight chambers (four trees at 1.3 and 6 m) to determine temperature response; at YJP, continuous measurements were made for six trees only during the midsummer IFC.  Point measurements of CO2 flux were made every 2-3 weeks at all sites for all chambers.

7.2.3 Temporal Resolution

None given.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (te2wdrs2.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (te2wdrs2.def).

8. Data Organization

8.1 Data Granularity

All continuous wood respiration data are in one file.

8.2 Data Format(s)

The data files contain numerical and character fields of varying length separated by commas. The character fields are enclosed with single apostrophe marks. There are no spaces between the fields. Sample data records are shown in the companion data definition file (te2wdrs2.def).

9. Data Manipulations

9.1 Formulae

None.

9.1.1 Derivation Techniques and Algorithms

None given.

9.2 Data Processing Sequence

None given.

9.2.1 Processing Steps

None given.

9.2.2 Processing Changes

None given.

9.3 Calculations

9.3.1 Special Corrections/Adjustments

Not applicable.

9.3.2 Calculated Variables

Not applicable.

9.4 Graphs and Plots

Not applicable.

10. Errors

10.1 Sources of Error

Sample trees were selected to represent the range of variability in respiration rates.  Because the IRGA could typically resolve a difference in concentration of CO2 of one (mol/mol, lower respiration rates have more uncertainty in the measurement.

10.2 Quality Assessment

Flux rates of CO2 are likely to be accurate within +/- 5 percent.

10.2.1 Data Validation by Source

Data from the manifold were checked for internal consistency and against single chamber measurements with a portable gas analyzer, and potential errors were flagged.  Error codes are listed in Sections 1.4 and 4.1.4 and in the data file.

10.2.2 Confidence Level/Accuracy Judgment

None given.

10.2.3  Measurement Error for Parameters

Flux rates of CO2 are likely to be accurate within +/- 5 percent. Temperature of wood is likely to be accurate within +/- 0.3 °C.

10.2.4 Additional Quality Assessments

None given.

10.2.5 Data Verification by Data Center

Data were examined for general consistency and clarity.

11. Notes

11.1 Limitations of the Data

None given.

11.2 Known Problems with the Data

Processing Notes and missing data (also times for foil covering trees for the OA site in IFC-3):

1994     GMT

Site Tree Position Date     Time      Problem

OA   1    2        209      105       Bad Reference

OA   1    1        209      9         Bad Reference

OA   1    1        209      113       Bad Reference

OA   1    1        209      633       Bad Reference

OA   1    1        209      737       Bad Reference

OA   1    1        210      459       Bad Reference

OA   2    2        209      17        Bad Reference

OA   4    1        212      655       Bad Reference

OA   1    2        258      1600      Covered with foil until Day 260

No apparent response

OA   1    1        258      1600      Covered with foil until Day 260

About 50% increase

OA   2    2        258      1210      Low readings after, leak??

deleted all after

OA   3    2        258      1530      Bad Reference

OA   3    2        258      1600      Covered with foil until Day 260

OA   3    2        260      1022      Bad Flux

OA   3    1        258      1600      Covered with foil until Day 260

OA   4    1        257      31        Bad Flux

OA   4    1        258      1354      Bad Reference

OBS  1    2        261      1219      Bad Reference

OBS  1    1        263      711       Bad Reference

OBS  1    1        263      815       Bad Reference

OBS  2    2        261      1131      Bad Flux

OBS  2    2        261      1235      Bad Flux

OBS  2    2        265      2011      Bad Flux

OBS  2    1        263      102       Bad Reference

OBS  2    1        265      1147      Bad Flux

OBS  3    2        265      1051      Bad Flux

OBS  3    2        265      1155      Bad Flux

OBS  3    1        263      743       Bad Flux

OBS  3    1        263      847       Bad Flux

OBS  3    1        265      1202      Bad Flux

OBS  3    1        265      1515      Bad Flux

OBS  4    2        261      1203      Bad Flux

OBS  4    2        265      1419      Bad Flux

OBS  4    1        261      1107      High Flux at low temps

OBS  4    1        261      1211      High Flux at low temps

OBS  4    1        263      759       High Flux at low temps

OBS  4    1        263      903       High Flux at low temps

OBS  4    1        265      1010      High Flux at low temps

OBS  4    1        265      1115      High Flux at low temps

OBS  4    1        265      1427      High Flux at low temps

OJP  2    1        151      1931      Bad Reference

OJP  4    1        150      2258      Bad Reference

OJP  4    2        151      1923      Bad Reference

OJP  1    2        150-151  2300-2030 Bad Air Temp

OJP  1    1        150-151  2300-2030 Bad Air Temp

OJP  2    2        150-151  2300-2030 Bad Air Temp

OJP  2    1        150-151  2300-2030 Bad Air Temp

OJP  3    2        150-151  2300-2030 Bad Air Temp

OJP  3    1        150-151  2300-2030 Bad Air Temp

OJP  4    2        150-151  2300-2030 Bad Air Temp

OJP  4    1        150-151  2300-2030 Bad Air Temp

OJP  2    2        254      406       Bad Reference CO2

OJP  4    1        255      1809      Bad Sapwood Temperature

YJP  7    1        222      1005      Bad Reference CO2

11.3 Usage Guidance

None given.

11.4 Other Relevant Information

None given.

12. Application of the Data Set

These data can be used to study continuous wood respiration rates of boreal vegetation.

13. Future Modifications and Plans

None given.

14. Software

14.1 Software Description

None given.

14.2 Software Access

None given.

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

Elizabeth.Nelson@gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax.

15.4 Data Center Status/Plans

The TE-02 Continuous Wood Respiration data are available from the Earth Observing System Data and Information System (EOSDIS) Oak Ridge National Laboratory (ORNL) Distributed Active Archive Center (DAAC). The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1  Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

Tabular ASCII files.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

None.

17.2 Journal Articles and Study Reports

Field, C.B., J.T. Ball, and J.A. Berry. 1991. Photosynthesis: principles and field techniques. In Plant Physiological Ecology, edited by R.W. Pearcy, J. Ehleringer, H.A. Mooney, and P.W. Rundel, Chapman and Hall, London, pp. 206-253.

Lavigne, M.B. and M.G. Ryan. 1997. Growth and maintenance respiration rates of aspen, black spruce and jack pine stems at northern and southern BOREAS sites. Tree Physiol., BOREAS Special Issue, 17:543-551.

Ryan, M.G., S.T. Gower, R.M. Hubbard, R.H. Waring, H.L. Gholz, W.P. Cropper, and S.W. Running.  1995. Woody tissue maintenance respiration of four conifers in contrasting climates. Oecologia 101:133-140.

Sellers, P. and  F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P. and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPSDOC 94).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPSDOC 96).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M. Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J. Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B. Goodison, D.E. Wickland, and F.E. Guertin. 1997. BOREAS in 1997: Experiment overview, scientific results, and future directions. JGR, BOREAS Special Issue, 102 (D24), 28,731-28,769.

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

STP     - 101.300 KPa pressure and 0 °C

19. List of Acronyms

ADC     - Analytical Development Company

ASCII   - American Standard Code for Information Interchange

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

CD-ROM  - Compact Disk-Read Only

CO2     - carbon dioxide

DAAC    - Distributed Active Archive Center

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

GMT     - Greenwich Mean Time

GSFC    - Goddard Space Flight Center

HTML    - Hyper Text Markup Language

IFC     - Intensive Field Campaign

IRGA    - Infrared Gas Analyzer

MIX     - Mixed

NAD83   - North American Datum of 1983

NIR     - Near Infrared Radiation

NOAA    - National Oceanic and Atmospheric Administration

NSA     - Northern Study Area

OA      - Old Aspen

OBS     - Old Black Spruce

OJP     - Old Jack Pine

ORNL    - Oak Ridge National Laboratory

PANP    - Prince Albert National Park

PAR     - Photosynthetically Active Radiation

PPFD    - Photosynthetic Photon Flux Density

SSA     - Southern Study Area

TE      - Terrestrial Ecology

TF      - Tower Flux site

URL     - Uniform Resource Locator

UTM     - Universal Transverse Mercator

YA      - Young Aspen

YJP     - Young Jack Pine

20. Document Information

20.1 Documentation Revision Date

Written:  29-Sep-1998

Last Updated:  08-Dec-1998

20.2 Document Review Date(s)

BORIS Review:  29-Sep-1998

Science Review:

20.3 Document ID

20.4 Citation

Dr. Michael G. Ryan, USDA Forest Service, Rocky Mountain Research Station, and Dr. Michael Lavigne, Forestry Canada, Maritimes Region

20.5 Document Curator

20.6 Document URL

Keywords:

CO2 efflux

Gas exchange

Respiration

Stem respiration

Temperature