BOREAS TE-02 Wood Respiration Data

Summary

The BOREAS TE-02 team collected several data sets in support of its efforts to characterize and interpret information on the respiration of the foliage, roots, and wood of boreal vegetation.  This data set contains measurements of wood respiration conducted in the NSA during the growing season of 1994.

Table of Contents

*  1 Data Set Overview

*  2 Investigator(s)

*  3 Theory of Measurements

*  4 Equipment

*  5 Data Acquisition Methods

*  6 Observations

*  7 Data Description

*  8 Data Organization

*  9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS TE-02 Wood Respiration Data

1.2 Data Set Introduction

Field studies of wood respiration were conducted on tree stems at the BOReal Ecosystem-Atmosphere Study (BOREAS) Northern Study Area (NSA) in 1994. This data set includes the measurements of wood respiration measured from May 1994 to late September 1994 at the Old Black Spruce (OBS), Old Jack Pine (OJP), Young Jack Pine (YJP), and Old Aspen (OA) study sites in the NSA.  Characteristics of the stem (growth, sapwood volume, etc.) for samples measured for wood respiration on tree stems were sampled after the end of the 1994 growth season at the end of September 1994 and given in another file.  TIME_OBS times of -999 in the data were times not reported by the Terrestrial Ecology (TE)-02 team.

1.3 Objectives/Purpose

The objectives of the work were to:

Determine whether respiratory parameters vary among three boreal tree species (black spruce, jack pine, and trembling aspen).

Compare respiration parameters from the cold northern sites with those from the warmer, southern sites.

Provide estimates of respiratory parameters for ecosystem process models.

Use our estimates of wood respiration, estimates of wood biomass, and wood temperature throughout the year to estimate the annual carbon cost for wood respiration.

1.4 Summary of Parameters

Each data record includes the air temperature, sapwood temperature, concentration of CO2 in chamber during measurement, area of chamber, area of the  segment, respiration for the chamber at the sapwood temperature, respiration for the chamber at 15 °C, and respiration for the segment at 15 °C.

1.5 Discussion

In the NSA, we measured wood respiration rates for OA (Populus tremuloides), OBS (Picea mariana), and OJP (Pinus banksiana) in 1994 during June, July, and August, corresponding with the BOREAS Intensive Field Campaigns (IFCs), and in September, after IFC-3.

1.6 Related Data Sets

BOREAS TE-02 Foliage Respiration Data

BOREAS TE-02 Root Respiration Data

BOREAS TE-02 Stem Growth Sapwood Data

BOREAS TE-02 Continuous Wood Respiration Data

2. Investigator(s)

2.1 Investigator(s) Name and Title

Dr. Michael G. Ryan

Dr. Michael Lavigne

2.2 Title of Investigation

Autotrophic Respiration in Boreal Ecosystems

2.3 Contact Information

Contact 1:

Dr. Michael G. Ryan

USDA Forest Service

Rocky Mountain Research Station

Fort Collins, CO

(970) 498-1012

mryan@lamar.colostate.edu

Contact 2:

Dr. Michael Lavigne

Forestry Canada, Maritimes Region

Fredericton, New Brunswick

CANADA

Contact 3:

Andrea Papagno

Raytheon ITSS

NASA GSFC

Greenbelt, MD

(301) 286-3134

(301) 286-0239 (fax)

Andrea.Papagno@gsfc.nasa.gov

3. Theory of Measurements

Respiration requires oxygen and oxidizes sugars, producing energy, water, and CO2.  In most plant cells, the ratio between the oxygen absorbed and CO2 produced in respiration is close to one.  Therefore, because small changes in CO2 concentration in the air are easier to measure than small changes in the oxygen content of the air, respiration is typically measured as CO2 evolution from plant tissues.  CO2 evolution is typically measured with an infrared gas analyzer (IRGA), operating in one of three modes: open, closed, or differential.  The system that we used to measure stem wood respiration was an open system, which estimates molar flux of CO2 from plant tissue respiration as the difference between the CO2 concentration entering and exiting the chamber times the molar flow rate of air through the chamber (Field et al., 1991). Respiration of woody tissues is estimated as the CO2 efflux at the boundary of the bark—air interface.  Respiration rates are typically expressed as moles CO2 per m2 bark area per second. Respiration of woody tissues will vary with temperature, and sapwood volume, and perhaps with sapwood nitrogen, phosphorus, or carbohydrate content.  Sampling for nitrogen, phosphorus, or carbohydrate content or determining sapwood cross-sectional area of a stem involves destructive measurements.  Therefore, samples are generally taken after the respiration measurements have been completed.  These characteristics are stored in TE-02 Stem Growth Sapwood.

4. Equipment

4.1 Instrument Description

4.1.1 Collection Environment

Respiration measurements were made in the field.  All other measurements took place under laboratory conditions.

4.1.2 Source/Platform

The measured trees and ground supported the needed equipment.

4.1.3 Source/Platform Mission Objectives

Not applicable.

4.1.4 Key Variables

Air temperature, sapwood temperature, CO2 in chamber during measurement, area of chamber, area of segment, respiration for chamber at sap temperature, respiration for chamber at 15 °C, and respiration for segment at 15 °C. To further explain these two terms, area of chamber is the surface area (m2) of bark physically covered by the chamber. Area of segment is the surface area (m2) of a cylinder of stem with height equal to chamber height centered on the chamber.

4.1.5 Principles of Operation

The system that we used to measure stem wood respiration was an open system, which estimates molar flux of CO2 from plant tissue respiration as the difference between the CO2 concentration entering and exiting the chamber times the molar flow rate of air through the chamber (Field et al., 1991).

4.1.6 Sensor/Instrument Measurement Geometry

None.

4.1.7 Manufacturer of Instrument

CR-21X Datalogger

Campbell Scientific, Inc.

815 West 1800 North

Logan, UT 84321-1784

(435) 753-2342

(435) 750-9540 (fax)

support@campbellsci.com

IRGA

LCA3 or LCA4

Analytical Development Company (ADC)

Hoddeston, Herts., UK

Distributed by:

Dynamax, Inc.

10808 Fallstone

Suite 350

Houston, TX 77099 USA

(281) 564-5100

4.2 Calibration

4.2.1 Specifications

4.2.1.1 Tolerance

None given.

4.2.2 Frequency of Calibration

We calibrated the IRGA to a concentration standard supplied by BOREAS prior to a measurement period and every 48 hours during measurements.  Typically, the analyzer drifted less than 1% between calibrations.

4.2.3 Other Calibration Information

We calibrated the molar flow of ideal gas roughly every month with a bubble column.  We used standard meteorological pressure (reported at Thompson), corrected for elevation, and temperature from a copper-constantan thermocouple to calculate molar flow from the volume flow for this calculation.

5. Data Acquisition Methods

Stem respiration was measured on 20 trees in the NSA at the OJP, OBS, and OA sites, and 10 trees at YJP; tree diameters spanned the range of the stand.  At the OJP, OBS, and OA sites, aluminum chamber plates with an external neoprene gasket were attached to the north side of the tree with putty; loose bark was removed before attaching the chamber plate. Chambers were at 1.2 to 1.4 m height; on four trees per stand, additional chambers were placed at 6 m.  For CO2 efflux measurements, a Plexiglas chamber was sealed to the chamber plate with an elastic cord. Chamber area for OA, OBS, and OJP was 110 cm2.  That is counting 1/2 of the plate area (assuming 1/2 of the flux under the plate goes into the chamber and 1/2 does not).  The area inside the chamber is 80.5 cm2.  For measurements at YJP, split Plexiglas chambers (23 cm) enclosed the entire stem, with neoprene gaskets creating a seal.  A small fan mixed the air in each chamber, and chambers were removed between measurements. Temperatures were measured only on trees 1 to 4 at OA, OJP, and OBS and on all trees at YJP.  At OA, OJP, and OBS,  we averaged the temperatures from the position 1 chambers from trees 1-4 for chambers on trees 4-20.  Coefficient of variation (CV) for sapwood temperatures on trees 1-4 were 1-5%.  Measurements were taken in late afternoon, when temperature had been relatively stable for a few hours, to help overcome the problem of flux lagging sapwood temperature.

Two types of measurements were made in 1994. (1) Each IFC at the OJP, OBS, and OA sites, CO2 efflux was measured once per hour for 3-6 days on eight chambers (four trees at 1.3 and 6 m) to determine temperature response; at YJP, continuous measurements were made for six trees only during the midsummer IFC.  These data are in file: wood_respiration_continuous_nsa.csv. (2) Point measurements of CO2 flux were made every 2-3 weeks at all sites for all chambers (this file). The continuous measurements were made using a manifold and an open system (Field, et al. 1991), controlled with a CR-21X datalogger (Campbell Scientific, Logan, UT, USA). The manifold system had two separate gas circuits: when CO2 efflux was being measured, inlet air was drawn through a 20-L mixing chamber (to provide a stable reference CO2 concentration), passed through the chamber at 270 µmol/s, and returned to the CO2 analyzer (ADC LCA2, ADC, Hoddeston, UK). Otherwise, inlet air was pushed through the chambers at 3.5 mmol/s, to keep CO2 concentration in the chamber at < 5 µmol/mol above ambient. The point measurements were made with an open system (Field, et al. 1991) and an ADC LCA3 or LCA4 gas analyzer with an air flow of 270 µmol/s.  Methods are similar to those described in Ryan et al. (1995) and are more fully described in Lavigne and Ryan (1997).

6. Observations

6.1 Data Notes

TIME_OBS times of -999 in the data indicate that times were not provided by TE-02.

6.2 Field Notes

None.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

The measurement sites and associated North American Datum of 1983 (NAD83) coordinates are:

NSA-OA canopy access, operational grid site id T2Q6A, Lat/Long: 55.88691 N, 98.67479 W, Universal Transverse Mercator (UTM) Zone 14, N: 6,193,540.7, E: 520,342

NSA-OBS canopy access tower, operational grid site id T3R8T, Lat/Long: 55.88007 N, 98.48139 W, UTM Zone 14, N: 6,192,853.4, E: 532,444.5

NSA-OJP, operational grid site id T7Q8T, Lat/Long: 55.92842 N, 98.62396 W, UTM Zone 14, N: 6,198,176.3, E: 523,496.2

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

These data are point source measurements at the given locations.

7.1.4 Projection

Not applicable.

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

Measurements were made during June, July, August, and September of 1994.

7.2.2 Temporal Coverage Map

None given.

7.2.3 Temporal Resolution

Measurements were made every 10-20 days.  Each sample represents flux for that particular chamber for 5-10 minutes.  TIME_OBS times of -999 in the data indicate that times were not provided by TE-02.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (te2wdrsp.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (te2wdrsp.def).

8. Data Organization

8.1 Data Granularity

All of the wood respiration data are in one file.

8.2 Data Format(s)

The data files contain tabular American Standard Code for Information Interchange (ASCII) numerical and character fields of varying

length separated by commas. The character fields are enclosed with single

apostrophe marks. There are no spaces between the fields. Sample data format shown in the companion data definition file (te2wdrsp.def).

9. Data Manipulations

9.1 Formulae

None.

9.1.1 Derivation Techniques and Algorithms

None.

9.2 Data Processing Sequence

9.2.1 Processing Steps

None given.

9.2.2 Processing Changes

None given.

9.3 Calculations

9.3.1 Special Corrections/Adjustments

Not applicable.

9.3.2 Calculated Variables

Not applicable.

9.4 Graphs and Plots

Not applicable.

10. Errors

10.1 Sources of Error

Sample trees were selected to represent the range of variability in respiration rates, as well as provide an estimate of mean per stem area respiration rates.  Because the IRGAs could typically resolve a difference in concentration of CO2  of one (mol/mol, lower respiration rates have more uncertainty in the measurement.

10.2 Quality Assessment

Flux rates of CO2 are likely estimated for the sample within +/- 5 percent.

10.2.1 Data Validation by Source

None given.

10.2.2 Confidence Level/Accuracy Judgment

None given.

10.2.3 Measurement Error for Parameters

Flux rates of CO2 are likely estimated for the sample within +/- 5 percent.

10.2.4 Additional Quality Assessments

None given.

10.2.5 Data Verification by Data Center

Data were examined for general consistency and clarity.

11. Notes

11.1 Limitations of the Data

None given.

11.2 Known Problems with the Data

None given.

11.3 Usage Guidance

None given.

11.4 Other Relevant Information

TIME_OBS times of -999 in the data indicate that times were not provided by TE-02.

12. Application of the Data Set

These data can be used to study wood respiration rates of boreal vegetation.

13. Future Modifications and Plans

None given.

14. Software

14.1 Software Description

None given.

14.2 Software Access

None given.

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

Elizabeth.Nelson@gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax.

15.4 Data Center Status/Plans

The TE-02 Wood Respiration data are available from the Earth Observing System Data and Information System (EOSDIS) Oak Ridge National Laboratory (ORNL) Distributed Active Archive Center (DAAC). The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1  Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

Tabular ASCII files.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

None.

17.2 Journal Articles and Study Reports

Field, C.B., J.T. Ball, and J.A. Berry.  1996.  Photosynthesis: principles and field techniques. In Plant Physiological Ecology, edited by R.W. Pearcy, J. Ehleringer, H.A. Mooney, and P.W. Rundel, pp. 206-253, Chapman and Hall, London.

Lavigne, M.B. and M.G. Ryan. 1997.  Growth and maintenance respiration rates of aspen, black spruce and jack pine stems at northern and southern BOREAS sites. Tree     Physiol., BOREAS Special Issue, 17: 543-551.

Ryan, M.G., S.T. Gower, R.M. Hubbard, R.H. Waring, H.L. Gholz, W.P. Cropper, and S.W. Running. 1995. Woody tissue maintenance respiration of four conifers in contrasting climates. Oecologia 101: 133-140.

Sellers, P. and  F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPSDOC 94).

Sellers, P. and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPSDOC 96).

Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M. Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J. Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B. Goodison, D.E. Wickland, and F.E. Guertin. 1997. BOREAS in 1997: Experiment overview, scientific results, and future directions.Journal of Geophysical Research, 102 (D24), 28,731-28,769.

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None.

19. List of Acronyms

ADC     - Analytical Development Company

ASCII   - American Standard Code for Information Interchange

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

CD-ROM  - Compact Disk-Read-Only-Memory

CO2     - Carbon Dioxide

CV      - Coefficient of variation

DAAC    - Distributed Active Archive Center

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

GSFC    - Goddard Space Flight Center

HTML    - Hypertext Markup Language

IFC     - Intensive Field Campaign

IRGA    - Infrared Gas Analyzer

MIX     - Mixed

NAD83   - North American Datum of 1983

NIR     - Near Infrared Radiation

NOAA    - National Oceanic and Atmospheric Administration

NSA     - Northern Study Area

OA      - Old Aspen

OBS     - Old Black Spruce

OJP     - Old Jack Pine

ORNL    - Oak Ridge National Laboratory

PANP    - Prince Albert National Park

PAR     - Photosynthetically Active Radiation

PPFD    - Photosynthetic Photon Flux Density

SSA     - Southern Study Area

TE      - Terrestrial Ecology

TF      - Tower Flux site

URL     - Uniform Resource Locator

UTM     - Universal Transverse Mercator

YA      - Young Aspen

YJP     - Young Jack Pine

20. Document Information

20.1 Documentation Revision Date

Written:  29-Sep-1998

Last Updated:  02-Dec-1998

20.2 Document Review Date(s)

BORIS Review:  01-Dec-1998

Science Review:

20.3 Document ID

20.4 Citation

Dr. Michael G. Ryan, USDA Forest Service, Rocky Mountain Research Station, and Dr. Michael Lavigne, Forestry Canada, Maritimes Region

20.5 Document Curator

20.6 Document URL

Keywords:

Respiration

Sapwood

Temperature