BOREAS TF-04 CO2 and CH4 Soil Profile Data from the SSA

Summary:

The BOREAS TF-04 team measured distributions of carbon dioxide (CO2) and methane (CH4) concentrations for the upper 5 meters of soil and unsaturated zone at the mature stand, upper 6 m at the 20-year old stand, and the upper 1m at the 8-year old stand and clear cut area at the Southern Study Area of the Boreal Ecosystem Atmosphere Study (BOREAS) during August 1993 to March 1995.  Particle size and carbon content of the unsaturated deposits, precipitation, soil temperature and moisture, carbon and oxygen isotopes of soil CO2 and soil water chemistry are also presented.

Table of Contents

*  1 Data Set Overview

*  2 Investigator(s)

*  3 Theory of Measurements

*  4 Equipment

*  5 Data Acquisition Methods

*  6 Observations

*  7 Data Description

*  8 Data Organization

*  9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS TF-04 CO2 and CH4 Soil Profile Data from the SSA

1.2 Data Set Introduction

Data presented in this document were collected at the Old Jack Pine and Young Jack Pine tower flux sites and nearby clear cut areas at the SSA. The BOREAS TF-04 team measured distributions of carbon dioxide (CO2) and methane (CH4) concentrations for the upper 5 meters of soil and unsaturated zone at the mature stand, upper 6 m at the 20-year old stand, and the upper 1m at the 8-year old stand and clear cut area at the Southern Study Area of the Boreal Ecosystem Atmosphere Study (BOREAS) during August 1993 to March 1995.  Particle size and carbon content of the unsaturated deposits, precipitation, soil temperature and moisture, carbon and oxygen isotopes of soil CO2 and soil water chemistry are also presented. The data are stored in tabular ASCII files.

1.3 Objective/Purpose

This study presents data relevant to understanding the transfer and storage of carbon among soil, the unsaturated zone, ground cover vegetation, and understory air in jack pine forest at the SSA.  The data were collected continuously from May through September 1994 and during March 1995.

1.4 Summary of Parameters

The primary focus is on the net concentrations of soil CO2 and CH4 measured.

1.5 Discussion

Jack pine woodlands are an important component of the boreal forest, covering more that 2x1012 m2 of predominantly well-drained uplands in northern North America.  As part of BOREAS, our study objectives were (1) to compare soil respiration at an undisturbed 65- to 90 year-old mature jack pine-lichen woodland with soil respiration at a formerly continuous portion of the stand that was clear-cut harvested during the previous winter, and (2) to identify and quantify the sources of CO2 and CH4 production within the soil profile.

1.6 Related Data Sets

BOREAS TGB-01/TGB-03 CH4 Chamber Flux Data over the NSA Fen

BOREAS TGB-03 Plant Species Composition Data over the NSA Fen

BOREAS TGB-01/TGB-03 NEE Data over the NSA Fen

BOREAS TGB-03 CH4 and CO2 Chamber Flux Data over NSA Upland Sites

BOREAS TGB-01 NSA CH4 and CO2 Chamber Flux Data

BOREAS TGB-01 CH4 Concentration and Flux Data from NSA Tower Sites

BOREAS TGB-01 NSA SF6 Chamber Flux Data

2. Investigator(s)

2.1 Investigator(s) Name and Title

Dr. Rob Striegl

Hydrologist, United States Geological Survey

Dr. Kimberly Wickland

United States Geological Survey

2.2 Title of Investigation

Measurements of Soil Carbon Dioxide and Methane Concentrations and Fluxes, and Soil Properties at Four Ages of Jack Pine Forest in the Southern Study Are of the Boreal Ecosystem Atmosphere Study, Saskatchewan, Canada, 1993-95.

2.3 Contact Information

Contact 1

Dr. Rob Striegl

Hydrologist, United States Geological Survey

Denver, CO

rstriegl@usgs.gov

Contact 2

Dr. Kimberly P. Wickland

Hydrologist, United States Geological Survey

Denver, CO

Contact 3

Sara Conrad

Raytheon ITSS

NASA GSFC

Greenbelt, MD

(301) 286-2624

(301) 286-0239 (fax)

Sara.Conrad@gsfc.nasa.gov

3. Theory of Measurements

Atmospheric chemistry measurements and modeling studies identify a global imbalance between known CO2 production and uptake, with a potentially large terrestrial carbon sink possible in boreal forests.  Northern woodlands are also perceived to be very sensitive to climate change.  The predicted warming and drying of the boreal region could profoundly affect regional carbon sources and sinks.  Carbon cycling of the boreal forest has consequently been a central theme of much recent field research.  With the intent of eventually extrapolating land-based carbon, energy, and water flux measurements to the entire boreal forest biome, the Boreal Ecosystem-Atmosphere Study (BOREAS) subdivided northern and southern section of Canadian boreal forest into aspen, jack pine, and bog-fen landscapes for intensive study.  Studies within these vegetation types focused on a variety of factors that influence carbon cycling, including forest stand age and land surface disturbances (Seller et al., 1995).

Soil respiration, the second largest flux in the global carbon cycle, includes all CO2 produced by roots, soil organisms, and oxidation that is emitted across the soil-air interface.  Although globally important, soil respiration is not well characterized spatially or seasonally for most ecosystems.

4. Equipment

4.1 Sensor/Instrument Description

4.1.1 Collection Environment

Data were collected under all environmental conditions.

4.1.2 Source/Platform

Ground.

4.1.3 Source/Platform Mission Objectives

Support investigators and soil probes.

4.1.4 Key Variables

CO2 and CH4 concentrations.

4.1.5 Principles of Operation

Soil surface temperature was measured using a Fluke model 51 K thermometer at 3 depths (0.05, 0.10, and 0.15 m) at each pair of chambers in conjunction with flux measurements.

Soil water content was determined from soil samples collected at each pair of chambers concurrent with flux measurements.  Each sample included the top 0.05 m of soil and was sealed in an air-tight container until analysis.  The samples were weighed, oven-dried at 105 C for approximately 24 hours, and weighed again.  After subtracting the container weight, percent water content was calculated as the difference of the original sample weight and the dried sample weight divided by the original sample weight and multiplied by 100 (Klute, 1986)

Concentrations CO2 and CH4 in soil gas were measured at chamber pairs at each of the four transects using 2.0 mm inside diameter stainless steel probes.  The probes were inserted to soil depths ranging from 0.02m to 0.50 m, and soil gas was collected using nylon syringes.  CO2 concentration was analyzed on-site using a PP Systems model EGM IRGA, and CH4 concentration was analyzed by gas chromatography using methods described above.  Soil gas collection was concurrent with chamber measurements.

In addition to the chamber pair probe measurements, each site had a series of permanent probes installed for soil gas collection.  The Old Jack Pine site had permanent probes installed within 10 m of the first chamber pair (GH) to a maximum depth of 3.4 m.  The Young Jack Pine site had permanent probes installed within 10 m of the first chamber pair (AB) to a maximum depth of 6.0 m.  Additional probes were located 5 m south of the Young Jack Pine instrument shelter.

Soil gas was collected from three series of depths in the unsaturated zone at Young Jack Pine.  Carbon dioxide, extracted from the gas by cryogenic trapping, was analyzed for 13C and 18O content using mass spectrometry at the U.S. Geological Survey gas isotope laboratory in Denver, Colorado.  Values were obtained from samples collected on one occasion.  Stable isotope values are presented in delta notation in units of the parts per thousand relative difference (permil) between the ratios of 13C to 12C and 18O to 16O in the samples and Pee Dee belemnite for 13C and Standard Mean Ocean Water for 18O.

Gravity drainage lysimeters were installed at the Young Jack Pine and Old Jack Pine sites to collect liquid water percolating through the unsaturated sands to a maximum depth of 1.00 m.  Only one rainfall event (day 200, 1994) was large enough to initiate sufficient percolation at the Young Jack Pine site for water sample collection and analysis.  Sufficient water volume was never collected at the Old Jack Pine site.

4.1.6 Sensor/Instrument Measurement Geometry

Not applicable.

4.1.7 Manufacturer of Sensor/Instrument

Concentrations CO2 and CH4 in soil gas were measured at chamber pairs at each of the four transects using 2.0 mm inside diameter stainless steel probes.  The probes were inserted to soil depths ranging from 0.02m to 0.50 m, and soil gas was collected using nylon syringes.

Infrared gas analyzer (IRGA)

PP Systems model EGM IRGA

Fluke model 51 K thermometer

4.2 Calibration

4.2.1.1 Tolerance

None given.

4.2.2 Frequency of Calibration

Traceable gas calibration standards for all CO2 and CH4 analyses were provided by BOREAS operations.

4.2.3 Other Calibration Information

None given.

5. Data Acquisition Methods

Soil surface temperature was measured using a Fluke model 51 K thermometer at 3 depths (0.05, 0.10, and 0.15 m) at each pair of chambers in conjunction with flux measurements.

Soil water content was determined from soil samples collected at each pair of chambers concurrent with flux measurements.  Each sample included the top 0.05 m of soil and was sealed in an air-tight container until analysis.  The samples were weighed, oven-dried at 105 C for approximately 24 hours, and weighed again.  After subtracting the container weight, percent water content was calculated as the difference of the original sample weight and the dried sample weight divided by the original sample weight and multiplied by 100 (Klute, 1986)

Concentrations CO2 and CH4 in soil gas were measured at chamber pairs at each of the four transects using 2.0 mm inside diameter stainless steel probes.  The probes were inserted to soil depths ranging from 0.02m to 0.50 m, and soil gas was collected using nylon syringes.  CO2 concentration was analyzed on-site using a PP Systems model EGM IRGA, and CH4 concentration was analyzed by gas chromatography using methods described above.  Soil gas collection was concurrent with chamber measurements.

In addition to the chamber pair probe measurements, each site had a series of permanent probes installed for soil gas collection.  The Old Jack Pine site had permanent probes installed within 10 m of the first chamber pair (GH) to a maximum depth of 3.4 m.  The Young Jack Pine site had permanent probes installed within 10 m of the first chamber pair (AB) to a maximum depth of 6.0 m.  Additional probes were located 5 m south of the Young Jack Pine instrument shelter.

Soil gas was collected from three series of depths in the unsaturated zone at Young Jack Pine.  Carbon dioxide, extracted from the gas by cryogenic trapping, was analyzed for 13C and 18O content using mass spectrometry at the U.S. Geological Survey gas isotope laboratory in Denver, Colorado.  Values were obtained from samples collected on one occasion.  Stable isotope values are presented in delta notation in units of the parts per thousand relative difference (permil) between the ratios of 13C to 12C and 18O to 16O in the samples and Pee Dee belemnite for 13C and Standard Mean Ocean Water for 18O.

Gravity drainage lysimeters were installed at the Young Jack Pine and Old Jack Pine sites to collect liquid water percolating through the unsaturated sands to a maximum depth of 1.00 m.  Only one rainfall event (day 200, 1994) was large enough to initiate sufficient percolation at the Young Jack Pine site for water sample collection and analysis.  Sufficient water volume was never collected at the Old Jack Pine site.

6. Observations

6.1 Data Notes

None given.

6.2 Field Notes

None given.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

The North American Datum of 1983 (NAD83) coordinates at the sites are:

OJP:  53.91634° N, 104.69203° W

YJP:  53.87581° N, 104.64529° W

CC:   53.9090° N, 104.6595° W

RC:   53.9091° N, 104.6671° W

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

These are point measurements made at the given locations.

7.1.4 Projection

Not applicable.

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

The data set covers the period from 26-MAY-94 to 21-MAR-95

7.2.2 Temporal Coverage Map

Not available.

7.2.3 Temporal Resolution

Soil gas collection was concurrent with chamber measurements.

7.3 Data Characteristics

Data characteritics are defined in the companion data definition file (tf4ssasp.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (tf4ssasp.def).

8. Data Organization

8.1 Data Granularity

The CO2 and soil profile data are contained in six data files.

8.2 Data Format(s)

The data files contain numerical and character fields of varying

length separated by commas.  The character fields are enclosed with single

apostrophe marks.  There are no spaces between the fields. Sample data records are shown in the companion data definition file (tf4ssasp.def).

9. Data Manipulations

9.1 Formulae

9.1.1 Derivation Techniques and Algorithms

None given.

9.2 Data Processing Sequence

9.2.1 Processing Steps

None given

9.2.2 Processing Changes

None given.

9.3 Calculations

9.3.1 Special Corrections/Adjustments

None given.

9.3.2 Calculated Variables

None.

9.4 Graphs and Plots

None given.

10. Errors

10.1 Sources of Error

None given.

10.2 Quality Assessment

10.2.1 Data Validation by Source

None given.

10.2.2 Confidence Level/Accuracy Judgment

None given.

10.2.3 Measurement Error for Parameters

None given.

10.2.4 Additional Quality Assessments

None given.

10.2.5 Data Verification by Data Center

Data were examined for general consistency and clarity.

11. Notes

11.1 Limitations of the Data

None given.

11.2 Known Problems with the Data

See Section 10.1.

11.3 Usage Guidance

See Section 10.1.

11.4 Other Relevant Information

None given.

12. Application of the Data Set

None given.

13. Future Modifications and Plans

None given.

14. Software

14.1  Software Description

None given.

14.2 Software Access

Not applicable.

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

Elizabeth.Nelson@gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax.

15.4 Data Center Status/Plans

These data are available from the Earth Observing System Data and Information System (EOSDIS) Oak Ridge National Laboratory (ORNL) Distributed Active Archive Center (DAAC). The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1 Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

Comma-delimited ASCII text files.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

None given.

17.2 Journal Articles and Study Reports

Sellers, P. and F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P. and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M.  Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J. Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B.  Goodison, D.E. Wickland, and F.E. Guertin. 1997. BOREAS in 1997: Experiment Overview, Scientific Results and Future Directions. Journal of Geophysical Research 102 (D24): 28,731-28,770.

Striegl, R.G., and Wickland, K.P., 1998, effects of a clear-cut harvest on soil respiration in a jack-pine lichen woodland, Can. Jour. Forest Research 28:534-539.

Wickland, K.P., and Striegl, R.G., 1997, Measurements of soil carbon dioxide and methane concentrations and fluxes, and soil properties at four ages of jack pine forest in the Southern Study Area of the Boreal Ecosystem Atmosphere Study, Saskatchewan, Canada, 1993-1995. U.S. Geological Survey Open-File Report. 97-49.

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None.

19. List of Acronyms

ASCII   - American Standard Code for Information Interchange

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

DAAC    - Distributed Active Archive Center

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

GSFC    - Goddard Space Flight Center

IRGA    - Infrared Gas Analyzer

NAD83   - North American Datum of 1983

NASA    - National Aeronautics and Space Administration

NSA     - Northern Study Area

OBS     - Old Black Spruce

ORNL    - Oak Ridge National Laboratory

PANP    - Prince Albert National Pike

PPFD    - Photosynthetically Active Photon Flux Density

SSA     - Southern Study Area

TF      - Tower Flux

TGB     - Trace Gas Biochemistry

URL     - Uniform Resource Locator

SSA     - Southern Study Area

20. Document Information

20.1 Document Revision Date

Written:         01-Dec-1998

Last Updated:    09-Dec-1998

20.2 Document Review Date(s)

BORIS Review:   09-Dec-1998

Science Review:

20.3 Document ID

20.4 Citation

Wickland, K.P., and Striegl, R.G., 1997, Measurements of soil carbon dioxide and methane concentrations and fluxes, and soil properties at four ages of jack pine forest in the Southern Study Area of the Boreal Ecosystem Atmosphere Study, Saskatchewan, Canada, 1993-1995. U.S. Geological Survey Open-File Report. 97-49.

Striegl, R.G., and Wickland, K.P., 1998, effects of a clear-cut harvest on soil respiration in a jack-pine lichen woodland, Can. Jour. Forest Research 28:534-539.

Fishman M.J. and Fiedman, L.C. 1985, Methods of determination of inorganic substances in water and fluvial sediments.  Techniques of Water Resources Investigations of the U.S. Geological Survey. Book 5 Chapter A1, 5445p.

20.5 Document Curator

20.6 Document URL

Keywords:

Carbon Dioxide

Methane

Carbon Isotopes

Oxygen Isotopes

Stable Isotopes