BOREAS TF-09 SSA-OBS Branch Level Flux Data

Summary

The BOREAS TF-09 team collected data which describe carbon dioxide and water vapor fluxes from foliage at the BOREAS SSA-OBS site from 07-April through 23-November-1996.  The data are available in tabular ASCII files.

Table of Contents

1. Data Set/Model Overview

2. Investigator(s)

3. Theory of Measurements

4. Equipment

5. Data Acquisition Methods

6. Observations

7. Data Description

8. Data Organization

9. Data Manipulations

10. Errors

11. Notes

12. Application of the Data Set/Model

13. Future Modifications and Plans

14. Software

15. Data Access

16. Output Products and Availability

17. References

18. Glossary of Terms

19. List of Acronyms

20. Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS TF-09 SSA-OBS Branch Level Flux Data

1.2 Data Set Introduction

A system of large cuvettes was used to measure whole branch CO2 and H2O vapor exchange of four black spruce (Picea mariana [Mill] BSP) branches at the BOReal Ecosystem-Atmosphere Study (BOREAS) Southern Study Area (SSA) Old Black Spruce (OBS) site.

1.3 Objective/Purpose

The objective of this study was to measure and model the CO2 exchanges of boreal black spruce forest branches over the course of an entire growing season. These measurements will be used to parameterise models and to assist scaling up procedures from leaf level to stand level (eddy covariance) measurements.

1.4 Summary of Parameters and Variables

Measurements include CO2 and H2O fluxes, photosynthetic photon flux density (PPFD), air and leaf temperatures, relative humidity, air humidity deficit, and CO2 concentration.

1.5 Discussion

The branch bags consisted of two 5-mm-thick acrylic end pieces, oval in shape (600-mm major axis, 300 mm minor axis, 0.14-m2 area), separated by five thin (5 mm diameter) stainless steel rods.  One end was made such that it could slide up or down the rods in order to adjust the bag length to suit the individual branch.  An ovaloid shape was chosen to minimize dead volume within the bag, to minimize the bag's surface area to volume ratio (minimizing any adsorption/desorption effects), to minimize attenuation of incoming light, and for aesthetic reasons. The bag itself was effected by covering the structure with polypropylene film (ICI Propafilm, 34-mm thickness, ICI PLC, London) and sealing along the edge of the end piece with silicone sealant.  The bottom of the bag was left unsealed to allow placement of the bag upon the branch; afterward, it and the branch entry point were sealed in a similar fashion.  A 12-volt electric fan (RS 583-050, RS Components Ltd., Northants) was mounted at the trunk end of each bag, and blew air at a high flow rate (40 dm3 s-1, approximately 18 to 26 air changes min-1) through the bag via large shrouded inlet and outlet ports.  When a gas exchange measurement was to be made, the ventilation fan was switched off, thin flap valves dropped over the inlet and outlet and were shut tight with small electromagnets, and an internal circulating fan was switched on.  Air was circulated (5 dm3 min-1) at all times between all bags and the box containing the infrared gas analyzer (IRGA) and control system through loops of tubing (5-mm i.d. Dekabon, Furon, Gembioux, Belgium), and at measurement time a small amount of air (0.2 dm3 min-1) was diverted from the appropriate loop to the IRGA (LI-6262, LI-COR Inc., Lincoln, NE) operating in absolute mode.  Within each bag, relative humidity and air temperature were measured (Vaisala HMB 30A, Vaisala (UK) Ltd., Cambridge), as was leaf temperature (thin Cu-Con thermocouple referenced to the air temperature sensor) and, for a period, bag internal vs. external temperature (Cu-Con thermocouple).  Light incident upon each branch was measured with a Macam light sensor (Macam SD101QV, Macam, Livingstone) mounted directly onto the branch, midway along its length.  Sensor outputs were recorded through a Campbell AM416 multiplexer to a Campbell CR21X data logger (Campbell Scientific Ltd., Shepshed, Leics.), which also initiated the measurement sequence.

Each bag was closed for 5 minutes in turn, during which time the sensors were read every 20 seconds; thus, each bag was measured every 20 minutes. Gas exchange was calculated from the slope of the regression of gas concentration upon time (excluding the readings from the initial 40 s for CO2 and the initial 80 s for H2O vapor in order to ensure that the IRGA was entirely flushed of the previous sample) and the volume of the system (106.3, 134.3, 91.9, and 106.3 dm3 for bags 1 to 4, respectively).  The air sample bleed to the IRGA during the measurement period was negligible (~1 dm3) compared to the bag volume and was ignored in calculations.  All bags were leak tested by shading the branch to its light compensation point, blowing into the bag to create a high internal/external concentration differential, closing the inlet and outlet ports, and monitoring bag concentration over a period of time.

1.6 Related Data Sets

BOREAS TF-09 SSA-OBS Tower Flux, Meteorological, and Soil Temperature Data

BOREAS TE-11 SSA-OJP Branch Level Flux Data

BOREAS TE-12 Leaf Photosynthesis Data

BOREAS TE-10 Leaf Photosynthesis Data

2.  Investigator(s)

2.1 Investigator(s) Name and Title

Mr. Mark B. Rayment & Prof. Paul G. Jarvis

Institute of Ecology and Resource Management

University of Edinburgh

UK

2.2 Title of Investigation

The CO2 Exchanges of Boreal Black Spruce Forest

2.3 Contact Information

Contact 1

---------

Mr. Mark B. Rayment

Institute of Ecology and Resource Management

University of Edinburgh

Edinburgh

UK

+131 650 5423

+131 662 0478 (fax)

M.Rayment@ed.ac.uk

Contact 2

-------------

K. Fred Huemmrich

University of Maryland

NASA GSFC

Greenbelt, MD

(301) 286-4862

(301) 286-0239 (fax)

Karl.Huemmrich@gsfc.nasa.gov

3. Theory of Measurements

The net carbon uptake of a tree depends on the assimilation of carbon dioxide by photosynthesis in the leaves and the carbon dioxide emissions resulting from respiratory processes in the leaves and woody tissues of the tree.  Transpiration of water occurs mainly from the foliage.  Enclosures surrounding branches remain open for the majority of the time and are periodically closed, at which time the rate of change of gas concentration allows calculation of an integrated measure of the net exchange of gases between the branch and the atmosphere.

4. Equipment

4.1 Sensor/Instrument Description

4.1.1  Collection Environment

Measurements were collected from early April through late November; temperatures ranged from below freezing to over 30 °C during that period.

4.1.2 Source/Platform

The branch bags surrounded individual spruce branches.  The bags were supported in position by elastic ropes attached to the trunk above the bag and, where necessary, to a support projecting from the canopy access tower.  This arrangement allowed the bags to move freely as the trees and branches moved with the wind.  Each of the bags was positioned on a south-facing branch to minimize shading by the tower.  The bags could be reached from the canopy access tower, made of 5- by 9-foot scaffolding.

Instruments:

Gas concentration: IRGA LI-6262 (LI-COR Inc., Lincoln, NE) operating in absolute mode.

Relative humidity and air temperature: Vaisala HMB 30A (Vaisala (UK) Ltd., Cambridge).

Leaf temperature: thin Cu-Con thermocouple referenced to the air temperature sensor.

Incident PPFD: Macam SD101QV light sensor mounted directly onto the branch, midway along its length.

Logger: Campbell AM416 multiplexer and Campbell CR21X data logger.

Tubing: 5-mm i.d. Dekabon.

4.1.3 Source/Platform Mission Objectives

The objective was to measure branch scale CO2 and water vapor fluxes and related environmental variables in black spruce at the southern edge of the boreal forest.

4.1.4 Key Variables

CO2 and water vapor fluxes.

Supporting meteorological variables: PPFD, air temperature, leaf temperature, CO2, water vapor concentration.

4.1.5 Principles of Operation

The LI-COR LI-6262 IRGA is a closed-path instrument with reference and sample cells with an infrared source at one end and a detector at the other.  Different gases absorb infrared of different frequencies, and filters are used to select a narrow band that corresponds to an absorption band of the gas of interest.  The LI-6262 measures CO2 and H2O concentrations.  A gas of known concentration is passed through a reference cell, and the gas whose concentration is to be measured is passed through the sample cell. The amount of infrared reaching the detector in each cell is a function of the gas concentration in the cell.  The difference in voltage produced by the detectors of the reference and sample cells is then a function of the difference in concentration of the gas in the cells.  Other sensors were common meteorological sensors used in a standard fashion.  For principles of operations of these sensors, please see a relevant textbook; e.g., Pearcy et al. (1991).

4.1.6 Sensor/Instrument Measurement Geometry

Two branch bags were installed on each of two trees at the SSA-OBS site in early April 1996.  Two bags were positioned in the upper canopy (at 7.85 m above the ground for branch number 1 and 8.25 m for branch number 3) and two in the lower canopy (at 5.22 m for branch number 2 and 5.48m for branch number 4); the trees'  DBH were 10 cm and 9 cm.  The bags were supported in position by elastic ropes attached to the trunk above the bag and, where necessary, to a support projecting from the canopy access tower.  This arrangement allowed the bags to move freely as the trees and branches moved with the wind.  Each of the bags was positioned on a south-facing branch to minimize shading by the tower.  Humidity, air and leaf temperatures, and PPFD were measured within the bag, close to or in contact with the leaves.  Gas concentration was measured on a sample of air circulated between the bag and the IRGA.  The IRGA was positioned in an insulated box mounted on the canopy access tower.

4.1.7 Manufacturer of Instrument

Licor LI-6262

P.O. Box 4425/4421,

Superior Street,

Lincoln, NE 68504

USA

Vaisala HMB 30A

Vaisala (UK) Ltd.,

Cambridge

UK

Macam SD101QV light sensor

Macam

Livingstone

UK

Campbell AM416 multiplexer and Campbell CR21X data logger

Campbell Scientific

P. O. Box 551,

Logan, UT 84321

USA

Dekabon tubing

J. P. Deane & Co. Ltd.,

91, Ormonde Crescent,

Glasgow G44 3SW

UK

4.2 Calibration

4.2.1 Specifications

LI-6262:

The output linearization of this instrument was calibrated by the manufacturer and was last performed in July 1993.  The field calibration fixes the lower and upper ends of the linearization function and is carried out by passing CO2 and water vapor free air through the reference cell (the instrument is used in the absolute mode) and setting the CO2 and water vapor channels to zero.  The upper point is set by passing dry air of known CO2 or of known water vapor concentration through the sample cell and adjusting the appropriate channel to read the correct value.  CO2 standard gases were cross-referenced to the BOREAS primary standards, and a LI-COR LI-610 dewpoint generator was used to produce air of known water vapor density.

The Vaisala temperature and humidity probes either were bought new or were returned to the manufacturer for calibration immediately prior to installation.

The Macam PPFD sensors were purchased new immediately prior to installation, and the manufacture's calibration factors were used.

All bags were leak tested by shading the branch to its light compensation point, blowing into the bag to create a high internal/external concentration differential, closing the inlet and outlet ports and monitoring bag concentration over a period of time.

The LI-6262 was usually calibrated every 4 to 7 days.  Typical CO2 drift was 1-ppm drift in span and offset.  Typical drift for the water vapor was 0.1 kPa in span and offset.

4.2.1.1	Tolerance

None.

4.2.2 Frequency of Calibrations

The LI-6262 was usually calibrated every 4 to 7 days.

4.2.3.	Other Calibration Information

None.

5. Data Acquisition Methods

When a gas exchange measurement was to be made, the ventilation fan was switched off, thin flap valves dropped over the inlet and outlet and were shut tight with small electromagnets, and an internal circulating fan was switched on.  Air was circulated (5 dm3 min-1) at all times between all bags and the box containing the  IRGA and control system through loops of tubing, and at measurement time a small amount of air (0.2 dm3 min-1) was diverted from the appropriate loop to the IRGA  operating in absolute mode.  Within each bag, relative humidity and air temperature were measured, as was leaf temperature and, for a period, bag internal vs. external temperature.  Light incident upon each branch was measured with a Macam light sensor mounted directly onto the branch, midway along its length.

Each bag was closed for 5 minutes in turn, during which time the sensors were read every 20 seconds; thus, each bag was measured every 20 minutes. Gas exchange was calculated from the slope of the regression of gas concentration upon time (excluding the readings from the initial 40 s for CO2 and the initial 80 s for H2O vapor in order to ensure that the IRGA was entirely flushed of the previous sample) and the volume of the system (106.3, 134.3, 91.9, and 106.3 dm3 for bags 1 to 4, respectively).  The air sample bleed to the IRGA during the measurement period was negligible (~1 dm3) compared to the bag volume and was ignored in calculations.

A Campbell Scientific 21x data logger was used to log the data together

with a Campbell AM416 multiplexer.  The raw signal from each sensor was

converted into the appropriate units in the data logger program.  The data logger also initiated the measurement sequence.

6. Observations

6.1 Data Notes

Values given are on a PROJECTED leaf area basis; that is, values should be adjusted by a shape factor to express rates on a total surface or hemisurface area basis. For black spruce, hemisurface area was last reported to be 1.27 x projected area; i.e., these rates would be divided by 1.27 to given rates on a hemisurface area basis.

6.2 Field Notes

None given.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

All data were collected at the BOREAS SSA-OBS site.  North American Datum 1983 (NAD83) coordinates for this site are latitude 53.98717° N, longitude 105.11779° W, and elevation of 628.94 m.

Branches had total projected needle areas of 3115, 2014, 1657, and 2342 cm2, for chambers one through 4, respectively.

7.1.2 Spatial Coverage Map

None.

7.1.3 Spatial Resolution

The values are point measurements from trees near the locations given in Section 7.1.1.

7.1.4 Projection

None.

7.1.5 Grid Description

None.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

The data were collected from 06-April to 22-November-1996.  Data were collected continuously with gaps between 18- and 26-June and 03- and 07-July.

7.2.2 Temporal Coverage Map

All data were collected at the BOREAS SSA-OBS site.

7.2.3 Temporal Resolution

Each observation took 5 minutes to complete data collection cycled through each of the four bags so that observations of any given bag occur every 20 minutes.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (tf9brflx.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (tf9brflx.def).

8. Data Organization

8.1 Data Granularity

All of the SSA-OBS Branch Level Flux Data are contained in one dataset.

8.2 Data Format

The data files contain numerical and character fields of varying length separated by commas. The character fields are enclosed with single apostrophe marks. There are no spaces between the fields. Sample data records are shown in the companion data definition file (tf9brflx.def).

9. Data Manipulations

9.1 Formulae

None.

9.1.1 Derivation Techniques and Algorithms

None.

9.2 Data Processing Sequence

A linear fit was made between the gas concentrations and time; data were rejected if the sum of the squares of the residuals was less than 0.9 and the calculated flux was non zero.

9.2.1 Processing Steps

BORIS staff processed these data by:

1) Reviewing the initial data files and loading them online for BOREAS team access.

2) Designing relational data base tables to inventory and store the data.

3) Loading the data into the relational data base tables.

4) Working with the team to document the data set.

5) Extracting the data into logical files.

9.2.2 Processing Changes

None.

9.3 Calculations

Flux calculations:

flux = (concentration change * molar volume)/(time interval * leaf area)

9.3.1 Special Corrections/Adjustments

None.

9.3.2 Calculated Variables

None.

9.4 Graphs and Plots

None.

10. Errors

10.1 Sources of Error

Major sources of error include sensor drift, measurement of branch bag volume, and measurement of leaf area.

10.2 Quality Assessment

10.2.1 Data Validation by Source

None given.

10.2.2 Confidence Level/Accuracy Judgment

None given.

10.2.3 Measurement Error for Parameters

None given.

10.2.4 Additional Quality Assessments

None given.

10.2.5 Data Verification by Data Center

Data were examined to check for spikes, values that are four standard deviations from the mean, long periods of constant values, and missing data.

11 Notes

11.1 Limitations of the Data

Potential users of these data should be aware of the limitations of gas exchange as a means of investigating photosynthesis and of the implications of these measurements having been made on entire, enclosed branches.

11.2 Known Problems with the Data

All known bad data have been removed from the files.

11.3 Usage Guidance

Potential users of these data should be aware of the limitations of gas exchange as a means of investigating photosynthesis and of the implications of these measurements having been made on entire, enclosed branches.  They should also be aware that these data have been submitted to BORIS out of courtesy rather than contractual obligation and should therefore seek the permission of the investigators before publishing analyses derived from them. These data remain the property of the University of Edinburgh and of the UK Natural Environment Research Council.

11.4 Other Relevant Information

None.

12. Application of the Data Set

This data set is useful for the examination of effects of environmental variables on photosynthesis and transpiration at the scale of individual branches.

13. Future Modifications and Plans

Although these data represent the most recent data set, believed to be error

free, some data might, in the future, be found to be in error.

14. Software

14.1 Software Description

Logger program written with Campbell PC208.  Flux and humidity-based calculations and initial screening of the data were carried out with a program written in Microsoft Visual Basic.  Final data screening was carried out in SAS.

14.2 Software Access

None given.

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

Elizabeth.Nelson@gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax.

15.4 Data Center Status/Plans

These data are available from the Earth Observing System Data and Information System (EOSDIS) Oak Ridge National Laboratory (ORNL) Distributed Active Archive Center (DAAC).

The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1 Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

The data are available as tabular American Standard Code for Information Interchange (ASCII) text files.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

None

17.2 Journal Articles and Study Reports

Pearcy, R.W., J. Ehleringer, H. A. Mooney, and P. W. Rundel.  1991. Plant Physiological Ecology: Field methods and instrumentation. Chapman and Hall, London and New York.

Rayment, M.B. 1998.  Ph.D. Thesis. University of Edinburgh.

Sellers, P. and F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P., F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P. J., F. G.  Hall, R. D.  Kelly, A.  Black, D.  Baldocchi, J.  Berry, M.  Ryan, K. J.  Ranson, P. M.  Crill, D. P.  Lettenmaier, H.  Margolis, J. Cihlar, J. Newcomer, D.  Fitzjarrald, P. G.  Jarvis, S. T.  Gower, D.  Halliwell, D.  Williams, B.  Goodison, D. E.   Wickland, and F. E. Guertin. 1997. BOREAS in 1997: Experiment Overview, Scientific Results and Future Directions. Journal of Geophysical Research 102 (D24): 28,731-28,770.

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None.

19. List of Acronyms

ASCII   - American Standard Code for Information Interchange

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

DAAC    - Distributed Active Archive Center

DBH     - Diameter at Breast Height

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

GSFC    - Goddard Space Flight Center

IRGA    - Infra-Red Gas Analyzer

NASA    - National Aeronautics and Space Administration

NSA     - Northern Study Area

ORNL    - Oak Ridge National Laboratory

OBS     - Old Black Spruce

PANP    - Prince Albert National Park

PPFD    - Photosynthetic Photon Flux Density

SSA     - Southern Study Area

TF      - Tower Flux

URL     - Uniform Resource Locator

20. Document Information

20.1 Document Revision Date

Written: 25-Jun-1997

Revised: 06-Oct-1998

20.2 Document Review Date(s)

BORIS Review: 23-Jul-1998

Science Review:

20.3 Document ID

20.4 Citation

M.B.Rayment and P.G.Jarvis, Institute of Ecology and Resource Management,

Edinburgh University.

Users of these data should be aware that these data have been submitted to BORIS out of courtesy rather than contractual obligation and should therefore seek the permission of the investigators before publishing analyses derived from them. These data remain the property of the University of Edinburgh and of the UK Natural Environment Research Council.

20.5 Document Curator

20.6 Document URL

Keywords

BLACK SPRUCE

PICEA MARIANA

PHOTOSYNTHESIS

RESPIRATION

TRANSPIRATION