BOREAS TGB-10 Oxidant Flux Data over the SSA

Summary:

The BOREAS TGB-10 team collected several trace gas data sets in their efforts to determine the role of biogenic hydrocarbon emissions with respect to boreal forest carbon cycles.  This oxidant data set contains measured peroxide (H2O2 and total organic peroxides (ROOH)) and ozone concentrations as well as, H2O2 and ROOH deposition velocities.  These data were obtained at the SSA Old Jack Pine site during the summer of 1994.  Measurements were made from May to September 1994.  The data are stored in tabular ASCII files.  Some important results were:

1)	Ozone concentrations were consistently low, 20-30 ppb, during the summer of 	1994.

2)	Peroxide concentrations showed a seasonal variation with highest

concentrations occurring in July (IFC-2).  Midday H2O2 levels averaged around 1.4 ppb during IFC-2 and 0.4-0.5 ppb during IFC’s 1 and 3.  Midday organic peroxide concentrations were lower, averaging 0.8 ppb during IFC-2, and 0.4-0.5 ppb during IFC’s 1 and 3.

3)	The rough pine forest canopy serves as a significant sink for H2O2.  Midday

H2O2 deposition velocities averaged 4-7 cm/s.  Organic peroxide deposition velocities (measured as total ROOH) were approximately 40% as large as those of H2O2.

Table of Contents

*  1 Data Set Overview

*  2 Investigator(s)

*  3 Theory of Measurements

*  4 Equipment

*  5 Data Acquisition Methods

*  6 Observations

*  7 Data Description

*  8 Data Organization

*  9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS TGB-10 Oxidant Flux Data over the SSA

1.2 Data Set Introduction

The BOReal Ecosystem-Atmosphere Study (BOREAS) Trace Gas Biogeochemistry (TGB) team #10 collected oxidant flux data at the Southern Study Area (SSA) old jack pine (OJP) site during the growing season of 1994.  Ambient hydrogen peroxide and organic peroxides concentrations were determined by high performance liquid chromatography (HPLC) with fluorometric detection.  Formaldehyde monitoring was performed based on the reaction of formaldehyde with dinitrophenylhydrazine (DNPH).

1.3 Objective/Purpose

Emission/deposition rates of biogenic hydrocarbons (or volatile organic carbon, VOC) and oxidants (hydrogen peroxide and ozone) were measured along with ambient concentrations of biogenic hydrocarbons, hydrogen peroxide, and organic hydroperoxides. We will use these data to examine (a) the role of biogenic hydrocarbon emissions with respect to carbon cycles in the boreal forest, (b) the chemical fate of boreal biogenic emissions, (c) the hypothesis that biospheric volatile organic carbon (VOC) emissions contribute to peroxide formation, and (d) the deposition rates of hydrogen peroxide and organic peroxides.

1.4 Summary of Parameters

Investigations of tropospheric concentration gradients of hydrogen peroxide and organic hydroperoxides in a boreal forest.

1.5 Discussion

None given.

1.6 Related Data Sets

BOREAS TGB-08 Monoterpene Concentration Data over the SSA

BOREAS TGB-08 Photosynthesis Data over the SSA

BOREAS TGB-08 Starch Data over the SSA

BOREAS TGB-09 Above Canopy Non-Methane Hydrocarbon Data over the SSA

BOREAS TGB-10 Oxidant Flux Data over the SSA

BOREAS TGB-10 Biogenic VOC Data over the SSA

2. Investigator(s)

2.1 Investigator(s) Name and Title

Dr. Hal Westberg

Washington State University

Dr. Nick Hewitt

Lancaster University

2.2 Title of Investigation

Measurement of Biogenic Hydrocarbon Fluxes

2.3 Contact Information

# Contact 1: Biogenic Hydrocarbon Emissions

Dr. Hal Westberg

Dept. of Civil and Environmental Engineering

Washington State University

Pullman, WA

(509)-335-1529

(509)-335-7632 (Fax)

westberg@mail.wsu.edu

# Contact 2:  Deposition of Hydrogen Peroxide

Brad Hall

(Dr. Candis Claiborn)

Dept. of Civil and Environmental Engineering

Washington State University

Pullman, WA

(509)-335-5553

(509)-335-7632 (Fax)

bhall@lar.ce.wsu.edu

claiborn@wsu.edu

# Contact 3: Hydrogen Peroxide and Hydroperoxides

Andrea V. Jackson

(Dr. Nick Hewitt)

Environmental Science Division

Institute of Environmental and Biological Sciences

Lancaster University

Lancaster

United Kingdom

(44-1524)-843854 (Fax)

andrea@lec.leeds.ac.uk

n.hewitt@lancaster.ac.uk

Contact 4

Sara Conrad

Raytheon STX Corporation

NASA GSFC

Greenbelt, MD

(301)286-2624

(301)286-0239 (fax)

Sara.Golightly@gsfc.nasa.gov

3. Theory of Measurements

The deposition velocity (Vd) of hydrogen peroxide is found from the eddy exchange coefficient and the normalized gradient.

Vd = K*(dC/dz)/C     (m/s)

where concentration is measured in ppbV.

Relaxed Eddy Accumulation (REA) Method

Canopy-scale fluxes of biogenic hydrocarbons were determined by the REA method at the Old Black Spruce site. These measurements were carried out in cooperation with Dr. Elizabeth Pattey (BOREAS team TF-07). In this method, air is sampled at a constant rate and partitioned into one of two containers, contingent upon whether the vertical velocity component was positive (upward) or negative (downward).  The flux is computed from the following expression:

F = b*sw*(C2 - C1)   (gC/m2/s)

where b (dimensionless) is a weak function of stability (determined by eddy correlation measurements of heat, water vapor, or CO2 flux), sw (m/s) is the standard deviation of vertical wind speed, and C2 and C1 (gC/m3) are the concentrations in the "upward" and "downward" containers respectively. For a more complete description of the REA method, one should consult the TF-7 documentation.

Hydrogen Peroxide and Organic Peroxide Measurements

Ambient hydrogen peroxide and organic peroxides concentrations were determined by high performance liquid chromatography (HPLC) with fluorometric detection. The detection method is similar to that described in the previous section.

Formaldehyde Monitoring

The reaction of formaldehyde with dinitrophenylhydrazine (DNPH) was the basis for the measurement procedure used during this study.

4. Equipment:

4.1 Sensor/Instrument Description

Hydrogen Peroxide

Hydrogen peroxide was measured by the dual-channel, enzyme-catalyzed, fluorometric method. The instrument was constructed at Washington State University, following the procedure outlined by K&K Instruments; Boulder, Colorado (Lazrus et al., 1986).

Ozone was measured with a Dasibi 1003-AH ozone sensor.

4.1.1 Collection Environment

Tower-based measurements were conducted under ambient atmospheric conditions.

4.1.2 Source/Platform

All peroxide, and ozone measurements were made from ground and tower mounted systems.

4.1.3 Source/Platform Mission Objectives

The missions of these experiments were to obtain canopy-scale fluxes of peroxides, and branch-scale fluxes of biogenic VOCs in a boreal environment.

4.1.4 Key Variables

Emissions and/or ambient concentrations of the following trace gases were measured:

isoprene

alpha-pinene

beta-pinene

limonene

monoterpenes

hydrogen peroxide

methylhydroperoxide

hydroxymethlyhydroperoxide

ozone

4.1.5 Principles of Operation

(see section 3.0)

4.1.6 Sensor/Instrument Measurement Geometry

Enclosure Sampling

The instruments used for enclosure sampling were mounted on a battery-powered portable cart. The bag enclosure was mounted on a tripod base, allowing access to branches 1-3 meters from the ground.

Gradient Sampling

Inlets were located on beams protruding 1 m off the west sides of the TF towers. With winds predominately from the south, west, or north, the samples usually contained unperturbed air. The inlet heights (above the forest floor) are summarized below.

OJP	16.5 m and 23.8 m IFC-1, IFC-2

OJP	17.2 m and 23.8 m IFC-3

The lower inlet at the Old Jack Pine site was raised prior to IFC-3 to alleviate possible influences of the roughness sublayer.

4.1.7 Manufacturer of Sensor/Instrument

HP5890 Gas Chromatograph

Hewlett Packard

15815 SE 37th St.

Bellevue, WA 98006

Dasibi 1003-AH ozone analyzer

Dasibi Environmental

616 E. Colorado St.

Glenedale, CA 91205

HP-3396A integrator

Hewlett Packard

15815 SE 37th St.

Bellevue, WA 98006

The hydrogen peroxide system was custom-built at WSU:

WSU Technical Services

Washington State University

Pullman, WA 99164-2801

HPLC system :

Merck Ltd.

Merck House

Poole, Dorset

BH15 1TD, England

Data handling systems:

Labtech

400 Research Dr.

Wilmington, MA  01887

VG Data Systems

St. Georges Court

Hanover Business Park

Altrincham, Cheshire

WA14 5UG England

4.2     Calibration

Formaldehyde

High-purity formaldehyde-hydrazone was prepared by conventional methods for use as a master standard. The master standard was diluted to concentrations of 0.2, 0.5, 1.0, 2.0, and 5.0 ppm to establish calibration curves.

Sensors for the peripheral environmental measurements were calibrated at WSU prior to the field sampling program. Mass flow meters were tested against a precision wet-test meter at several flow rates. The thermocouples and amplifiers were calibrated against a NIST traceable mercury thermometer by measuring the response with all sensors immersed in a stirred ice-water bath slowly warmed to approximately 45oC. The humidity sensor was compared to calculated values for air passed through a temperature controlled water bath. All of the sensor calibrations were performed using the PC laptop data system employed in the field.

Hydrogen peroxide

The continuous hydroperoxide system was calibrated twice daily with liquid standards of hydrogen peroxide in deionized water. The standards were prepared at the 10-8M level by serial dilution of a 30% H2O2 reagent (Fisher). The concentration of the primary reagent was determined by titration against KMnO4, which was then titrated against a NIST-traceable sodium oxalate solution.

Line losses through the PFA Teflon tubing were measured before and after each IFC.  A gas-phase H2O2 generation system was used to produce a sample stream with near-ambient levels of H2O2.  Line losses were determined by sampling this stream with and without the tower sampling line.  A critical aspect of the peroxide gradient system is the potential for bias introduced in the two separate inlet sections.  Care was taken to ensure that bias introduced by the valve and 4 m inlet sections was well-known and correctable.  Relative bias was determined every few days by placing both inlets at the same height and sampling ambient air for several hours.  Subsequent gradients were corrected for bias, which ranged from -1 to 9%.  When the bias surpassed 7%, samples were rejected and the valve and sample lines were cleaned with methanol, deionized water, and peroxide-free air.  After cleaning, bias was reduced to a non-detectable level.

Hydroperoxides

Peak identities were confirmed by comparison with retention times of authentic standards. Quantification was based on system response to hydrogen peroxide, as the same fluorescent dimer is formed for all hydroperoxides. Calibration was carried out twice daily and was found to be linear over the range 8x10-8M to 5x10-6M. The limit of detection has been determined to be less than 50 pptv.

Ozone

The Dasibi ozone monitor was calibrated against a Dasibi ozone source/monitor model 1008-PC (serial #3226).

4.2.1 Specifications

Hydrogen Peroxide

The H2O2 gradient measurements were occasionally subject to bias. It was extremely difficult to maintain clean sampling conditions at all times. Inlet filters cannot be used due to the potential for severe H2O2 loss on filter surfaces. Periods of unacceptable bias were encountered during the first IFC when the jack pine trees were pollenating, and occasionally during IFC-2 and IFC-3 when bugs would collect in the sample lines. The sample lines were sequentially flushed with methanol, water, and dry air periodically to remove dirt, pollen, and bugs.

Ozone

The source instrument was recently compared to other instruments at the University of Idaho, and was found to agree within 1-2 ppb.

4.2.1.1 Tolerance

None given.

4.2.2 Frequency of Calibration

Calibrations were performed before and after each IFC.  Bias checks for peroxide gradients were performed every few days during IFC-2 and IFC-3.  No bias checks were performed during IFC-1.

4.2.3 Other Calibration Information

None given.

5. Data Acquisition Methods

Hydrogen Peroxide and Organic Peroxide Measurements

Air was drawn at 4 L/min from the inlet (24 m height) on the TF tower through 1/4" TFE Teflon tubing to the tower base, where a gas-phase scrubber was used to scrub peroxides from the air stream. Samples were collected in 5 mL deionized water. HPLC analysis was performed immediately after sample collection.

HPLC separation was achieved on a Absorbosphere MF Plus C18 column (Altech) using an eluent of 0.001M sulfuric acid and 0.0001M EDTA delivered by a Merck-Hitachi L-6200 Intelligent HPLC pump at a flow rate of 0.6 mL/min. After separation, the peroxides were derivatized by addition of 0.026M p-hydroxyphenylacetic acid with 10,000 units/L of horseradish peroxidase (type II Sigma Chemical) in 0.5M potassium hydrogen phthalate buffer at pH 5.8. The reaction of the fluorescence reagent with the separated hydroperoxides takes place in a Teflon coil to ensure adequate mixing. The pH of the resulting solution is raised to above 10 to convert the dimer to its fluorescent anionic form using a membrane reactor constructed of Nafion (DuPont) tubing immersed in 30% ammonium hydroxide solution. Fluorescence measurements were made using a Merck-Hitachi spectrophotometer with excitation and emission wavelengths of 310 and 405 nm respectively. The HPLC analytical system was located in the instrument hut.

Formaldehyde Monitoring

The reaction of formaldehyde with dinitrophenylhydrazine (DNPH) was the basis for the measurement procedure used during this study. A DNPH/silica cartridge was connected to the inlet end of a 1/4" stainless steel tube extending to 3 m above the ground. The sample flow (1 L/min) was generated with a small pump and monitored with a Matheson flowmeter. A calibrated Tylan digital totalizer was used to record the total volume sampled.  The cartridges were exposed to the ambient air for nominal durations of 2, 4, or 6 hours. Cartridges were brought back to WSU for analysis.

Sample and blank cartridges were eluted with 3 ml acetonitrile. Hydrazone concentrations in the eluent were determined by reverse-phase HPLC. The HPLC analysis was performed using a LKB modular system consisting of two pumps (LKB #2150), a 190-600 nm ultraviolet/visible wavelength detector (LKB #2151) operated at 360 nm, and an LC gradient controller (LKB # 2152).  A Brownlee-Rainin 10 cm OD-MPS column (or comparable) with a hydrophobic, non-polar stationary phase (bonded on 5 micrometer spheres), preceded by a similar guard column was used for peak separation.  A gradient elution, beginning with a 50:50 water:acetonitrile ratio was used, changing to a 30:70 water:acetonitrile ratio over a period of 21 minutes. The column flow rate was 0.5 mL/min and the sample loop volume was 20 microliters.

Signals from the hydrogen peroxide and ozone instruments were stored as 1 minute averages via PC computer. Data acquisition software from Labtech was used to record signals (voltages).

The gas chromatograph was interfaced to a pair of HP-3396A integrators for peak integration. Raw signals were also stored via PC computer for data reprocessing.

The HPLC system for hydroperoxides was interfaced with a VG Data Systems Minichrom data acquisition system for chromatography. The connection of the HPLC to the data system was achieved using a chromatography server.

6. Observations

6.1 Data Notes

Hydrogen peroxide

Periods of unacceptable bias were encountered during the first IFC, when the jack pine trees were pollenating, and occasionally during IFC-2 and IFC-3 when bugs would collect in the sample lines.

Ozone

Some problems with the electronic zero were detected during IFC-1. An offset of -6 ppb relative to the data acquisition system was discovered. This offset was easily measured on a daily basis, and remained essentially unchanged throughout the experiment.

6.2 Field Notes

Peroxide data were deemed questionable (QC = 2) or unacceptable (QC = 3) during the following periods:

C *** QUALITY CONTROL (based local TIME and DAY)

25-May-1994		QC = 2		poor calibration

26-May-1994		QC = 2		poor calibration

27-May-1994		QC = 2		poor calibration

4-Jul-1994		QC = 3		extreme pollen event

5-Jul-1994		QC = 3		extreme pollen event

6-Jul-1994		QC = 2		moderate pollen event

9-Jul-1995		QC = 2		bias unknown

25-Jul-1994		QC = 2		poor calibration

31-Jul-1994		QC = 3		high noise level

4-Aug-1994		QC = 2		smoke

5-Aug-1994		QC = 2		smoke

6-Aug-1994		QC = 3		rain

1-Sep-1994		QC = 2		lost signal

2-Sep-1994		QC = 3		suspect line loss

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

Peroxide and ozone concentrations were measured at the OJP site only.  The North American Datum 1983 (NAD83) coordinates for the site are:

SSA-OJP  53.98717N, 105.11779W

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

The data represent point source values at the locations given.

7.1.4 Projection

Not applicable.

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

Measurements were taken at SSA OJP from 25-May-1994 to 09-Sep-1994.

7.2.2 Temporal Coverage Map

7.2.3 Temporal Resolution

Peroxide and ozone concentrations were measured continuously during daylight hours.  In addition, many overnight sampling periods were obtained.  No regular intervals of data collection were made at the site; however, data were collected on several days during the growing season of 1994.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (tgb10ofd.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (tgb10ofd.def).

8. Data Organization

8.1 Data Granularity

All of the Oxidant Flux Data are contained in one dataset.

8.2 Data Format(s)

The data files contain numerical and character fields of varying length

separated by commas. The character fields are enclosed with single

apostrophe marks. There are no spaces between the fields. Sample data records are shown in the companion data definition file (tgb10ofd.def).

9. Data Manipulations

9.1 Formulae

The peroxide gradient was computed from 3 successive measurements of peroxide concentration at two levels (10-18 minutes at each level).

Peroxide_gradient = (C2 - 0.5*(C1+C3))/delta_Z

where  C1 = concentration measured at lower level  (period t)

C2 = concentration measured at upper level  (period t+1)

C3 = concentration measured at lower level  (period t+2)

special note:	If the standard error associated with C1,C2,or C3 was greater than

0.05%,the peroxide gradient was deemed unacceptable.  This

procedure was performed in order to screen periods of highly

variable concentration, which might suggest unsteady-state

conditions (gusts or large eddies) which are not conducive to

K-theory.  This data screening procedure helps eliminate many

unrealistic deposition velocities, but does not affect the overall

conclusions.

Peroxide_deposition_velocity = (peroxide_gradient)/(C_avg)*(eddy_diffusivity)

where C_avg = average peroxide concentration (over both levels)

9.1.1 Derivation Techniques and Algorithms

None given.

9.2 Data Processing Sequence

9.2.1 Processing Steps

None given.

9.3 Calculations

Emission rate:

E = C*Q/B

where C is the concentration of a specific VOC, Q is the flowrate of air through the chamber, and B is the dry leaf (needle) biomass of the enclosed branch.

Deposition velocity (Vd):

Vd = K*(dC/dz)/C

9.3.1 Special Corrections/Adjustments

Peroxide Bias adjustment:    C1 = C1*fb    C3 = C1*fb

where fb = bias relative to upper sampling level

(range 0.99 to 1.07 for H2O2,  0.99 to 1.02 for ROOH)

9.3.2 Calculated Variables

None given.

9.4 Graphs and Plots

None.

10 Errors

10.1 Sources of Error

Hydroperoxides :

- fluctuations in air flow rate

- error in preparing sample volume

- fluctuations in sample collection efficiency with temperature

- possible condensation in sample lines

- interference due to smoke particles

- error associated with the serial dilution of H2O2 standards

10.2 Quality Assessment

10.2.1 Data Validation by Source

None given.

10.2.2 Confidence Level/Accuracy Judgment

Hydrogen peroxide concentrations are good to approximately 30%.  Total organic peroxide concentrations have not been corrected for collection efficiency.  Reported total organic peroxide concentration may be underestimated by as much as 60%.  Individual deposition velocity measurements are subject to 50-80% uncertainty due to uncertainties in the measured gradient, the measured eddy diffusivity, and the natural variability of a turbulent atmosphere.  Ozone concentrations are good to +/- 5 ppb for IFC-1, and +/- 3 ppb for IFC-2 and IFC-3.

10.2.3 Measurement Error for Parameters

None given.

10.2.4 Additional Quality Assessments

None.

10.2.5 Data Verification by Data Center

BORIS processed the data by:

1) Reviewing the initial data files and loading them on-line for BOREAS team access,

2) Designing relational data base tables to inventory and store the data

3) Loading the the data into the relational data base tables,

4) Performing the conversions on measurements into System International (SI) units

5) Extracting the standardized data into logical files.

11. Notes

11.1 Limitations of the Data

Peroxide deposition velocities at OJP are subject to some uncertainty (factor of 2) simply because we do not know for certain that the application of Kh is appropriate for peroxide transport.  The eddy diffusivity for water vapor over OJP was lower than that of heat.  Therefore, average peroxide deposition velocities should probably be taken as an upper limit.

11.2 Known Problems with the Data

None given.

11.3 Usage Guidance

Peroxide deposition rates are extremely difficult to measure in the field.  Individual measurements of peroxide deposition velocity hold little significance due to the uncertainties mentioned in section 10.2.  However, because of the large amount of data collected, these deposition rates are a valuable component of the peroxide budget.  Vd data should be used to assess average deposition rates to a rough, boreal pine forest.

11.4 Other Relevant Information

None given.

12. Application of the Data Set

None given.

13. Future Modifications and Plans

None.

14. Software:

14.1 Software Description

All software used to gather data were standard scientific packages.

14.2 Software Access

None given.

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

Elizabeth.Nelson@gsfc.nasa.gov

15.2 Data Center Identification

See 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or FAX.

15.4 Data Center Status/Plans

The TGB-10 oxidant flux data are available from the EOSDIS ORNL DAAC (Earth Observing System Data and Information System) (Oak Ridge National Laboratory) (Distributed Active Archive Center).  The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1 Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

Tabular ASCII files.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

None given.

17.2 Journal Articles and Study Reports

Guenther, A. (1996), Isoprene fluxes measured by enclosure, relaxed eddy accumulation, surface layer gradient, mixed layer gradient, and mixed layer mass balance techniques, Journal of Geophysical Research, 101, 18555-18567.

Hall, B.D., and Claiborn, C.S., (1997) Measurements of the dry deposition of peroxides to a Canadian boreal forest,  Journal of Geophysical Research, in press.

Lazrus, A.L, G.L. Kok, S.N. Gitlin, J.A. Lind, B.G. Heikes, R.E. Shetter, (1986). Automated fluorometric method for hydrogen peroxide in air. Anal. Chem. 58, 594-597.

Kok, G.L., S.E. McLaren, and T.A. Staffelbach, (1995)  HPLC determination of atmospheric organic hydroperoxides,  J. Atmos. Ocean Tech., 12, 282-289.

Sellers, P., F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report

(EXPLAN 94).

Sellers, P., F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report

(EXPLAN 96).

Sellers, P., F. Hall, K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS

DOC 94).

Sellers, P., F. Hall, K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS

DOC 96).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J.

Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early

results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P., F. Hall. 1997. BOREAS Overview Paper. JGR Special Issue (in press).

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None.

19. List of Acronyms

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

DAAC    - Distributed Active Archive Center

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

GSFC    - Goddard Space Flight Center

HPLC      High Performance Liquid Chromatography

IFC       Intensive Field Campaign

NASA    - National Aeronautics and Space Administration

NIST      National Institute for Standards and Technology

OA        Old Aspen

OBS       Old Black Spruce

OJP       Old Jack Pine

ORNL    - Oak Ridge National Laboratory

REA       Relaxed Eddy Accumulation

URL     - Uniform Resource Locator

VOC       Volatile Organic Compound (or Carbon)

20. Document Information

20.1 Document Revision Dates

Written:       17-Nov-1994

Last Updated:  02-Jul-1998

20.2 Document Review Dates

BORIS Review:    12-Jun-1998

Science Review:

20.3 Document ID

20.4 Citation

20.5 Document Curator

20.6 Document URL

Keywords

Oxidant

Volatile Organic Carbon

Peroxide

Isoprene