BOREAS TGB-07 Ambient Air Herbicide and Organochlorine Concentration Data

Summary:

The BOREAS TGB-07 team measured the concentration and flux of several agricultural pesticides in air, rainwater, and dry deposition samples in order to determine the associated yearly deposition rates.  This data set contains information on the ambient air concentration of seven herbicides [2,4-dichlorophenoxyacidic_acid (2,4-D), bromoxynil, dicamb, 2-methyl-4-chlorophenoxyacetic acid (MCPA), triallate, trifluralin, and diclop-methyl] known to appear in the atmosphere of the Canadian prairies.  Also, the concentration of three herbicides (atrazine, alaclor and metolachlor), two groups of insecticides (lindane and breakdown products and dichlro-diphenyl-trichloroethane (DDT) and breakdown products), and several polychlorinated biphenyls commonly used in the central United States were measured.  All of these chemicals are reported, in the literature, to be transported in the atmosphere. Many have been reported to occur in boreal and arctic food chains.  The sampling was carried out from June 16 to August 13, 1993 and May 4 to July 20, 1994 at the BOREAS site in the Prince Albert National Park (Waskesiu).  The data are stored in tabular ASCII files.

Table of Contents

*  1 Data Set Overview

*  2 Investigator(s)

*  3 Theory of Measurements

*  4 Equipment

*  5 Data Acquisition Methods

*  6 Observations

*  7 Data Description

*  8 Data Organization

*  9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS TGB-07 Ambient Air Herbicide and Organochlorine Concentration Data

1.2 Data Set Introduction

This data set contains herbicide and organochlorine concentrations in ambient air samples collected from Waskesiu.

1.3 Objective/Purpose

The objective of this study was to measure the ambient air concentration of herbicides and organochlorines in the boreal forest at Waskesiu.

1.4 Summary of Parameters and Variables

This data set contains herbicide and organochlorine concentrations in air samples collected Waskesiu.

1.5 Discussion

The deposition into the boreal forest of seven herbicides [2,4-dichlorophenoxyacidic acid (2,4-D), bromoxynil, dicamba, 2-methyl-4-chlorophenoxyacetic acid (MCPA), triallate, trifluralin, and diclop-methyl] known to appear in the atmosphere of the Canadian prairies, three herbicides (atrazine, alachlor and metolachlor) commonly used in the central United States, two groups of insecticides (lindane and breakdown products and dichlro-diphenyl-trichloroethane (DDT) and breakdown products)plus several polychlorinated biphenyls was measured. All of these chemicals are reported, in the literature, to be transported in the atmosphere. Many have been reported to occur in boreal and arctic food chains.  The sampling was carried out at the BOREAS site in the Prince Albert National Park (Waskesiu).

1.6 Related Data Sets

BOREAS TGB-07 Dry Deposition Herbicide and Organochlorine Flux Data

BOREAS TGB-07 Rainwater Herbicide and Organochlorine Concentration Data

BOREAS TGB-09 Above-Canopy NMHC at SSA-OBS, SSA-OJP, and SSA-OA Sites

BOREAS TGB-10 Volatile Organic Carbon Data over the SSA

BOREAS TGB-10 Oxidant Concentration Data over the SSA

BOREAS TGB-10 Oxidant Flux Data over the SSA.

2. Investigator(s)

2.1 Investigator(s) Name and Title

Don Waite

Environment Canada

Allan Cessna

Agriculture and Agri-Foods Canada

Narine Gurprasad

Environment Canada

2.2 Title of Investigation

2.3 Contact Information

Contact 1

---------

Dr. Don Waite

Environment Canada

Regina, Saskatchewan

Canada

(306) 780-6438

(306) 780-7614 (fax)

Don.Waite@EC.GC.CA (email)

Contact 2

---------

Sara K. Conrad

Raytheon STX Corporation

NASA/GSFC

Greenbelt, MD

(301)286-2624

Sara.Golightly@gsfc.nasa.gov (email)

3. Theory of Measurements

Each sample consisted of approximately 2100 m3 of air aspirated by a high-volume sampler (Model PS-1, General Metal Works, Village of Cleves, OH).  The sampling unit consisted of a 102-mm diameter borosilicate filter in front of a composite PUF/XAD-2 resin plug (Cessna et al. 1997).  The sampler operated continuously for 7 days for each sample.

4. Equipment:

4.1 Sensor/Instrument Description

4.1.1 Collection Environment

The data were collected under all environmental conditions.

4.1.2 Source/Platform

Ground.

4.1.3 Source/Platform Mission Objectives

None given.

4.1.4 Key Variables

The key variable is herbicide or organochlorine concentration in ambient air.

4.1.5 Principles of Operation

Ambient air samples were collected with a GM Manufacturing Company Hi-Volume sampler fitted with a glass fibre pre-filter and a composite PUF/XAD-2 resin cartridge.  Air is drawn through the filtering unit by means of a vacuum pump.  For this study, the pump operated continuously for 7 day sampling periods.

4.1.6 Sensor/Instrument Measurement Geometry

PUF Sampler; a high volume air sampler collecting ambient concentrations of material on a sampling unit consisting of a glass fibre filter followed by a polyurethane foam (PUF) plug and XAD-2 resin cartridge.

4.1.7 Manufacturer of Sensor/Instrument

None given.

4.2 Calibration

4.2.1 Specifications

The samplers operated 24 hours per day over each 7 day sampling period.  The PUF samplers were calibrated to aspirate 2100 m3 over the 7 day sampling period.  The air flow through the PUF/XAD-2 sampling unit (12.5 m3 hr-1) was calibrated using a Sierra-Misco Inc. (Berkeley, CA) orifice head and air flow was monitored during operation by integral Venturi/Magnahelic gauges.  The PUF/XAD-2 sampling unit consisted of a borosilicate pre-filter and 25 mL of XAD-2 resin sandwiched between two PUF plugs (Cessna et al., 1997).

4.2.1.1 Tolerance

None given

4.2.2 Frequency of Calibration

None given.

4.2.3 Other Calibration Information

None.

5. Data Acquisition Methods

The herbicide analyses were carried out at the Agriculture and Agri-Food Canada Research Station at Regina, Saskatchewan, whereas insecticide and organochlorine analysis was carried out by the Environment Canada laboratory in Edmonton, Alberta.  All residues were quantified and confirmed using a Hewlett-Packard gas chromatograph equipped with a mass selective detector (GC-MSD).

Extraction of PUF/XAD-2 Sampling Units On alternate weeks the PUF/XAD-2 sampling units were extracted for herbicide or for insecticide and organochlorine content.  For herbicide analysis, the sampling unit was Soxhlet extracted for 8 h with acetone (Grover et al., 1994).  The acetone extract was concentrated to ~ 0.5 mL using a rotary evaporator (water bath 30o C) and then methylated with ethereal diazomethane.  The methylated extract was subjected to Florisil column cleanup prior to analysis by GC-MSD.  For insecticide and organochlorine analysis, the PUF sampling unit was Soxhlet extracted for 12 h with dichloromethane.  The extract was concentrated using a rotary evaporator and then subjected to Florisil column cleanup prior to analysis by GC-MSD.

Residue Analysis and Confirmation  The Hewlett-Packard GC-MSD system and operating conditions used for herbicide residue analysis have been described previously (Cessna et al., 1997).  A similar GC/MSD system was used for insecticide and organochlorine analysis, however the column employed was a 30 m x 0.25 mm I.D. Rtx-5 column (0.25 (m film thickness).  For operation of the GC, helium was used as the carrier gas and the temperature program was: initially held at 80oC for 1 minute then ramped to 200oC at 15oC/min;  held at 200oC for 5 minutes then increased at 8oC/min to 300oC and held for 10 minutes. A split/splitless injector was used in the splitless mode. Injection port and transfer line temperatures were 270oC and 280oC, respectively.

Depending on the compound, from two to four ions were monitored on the MSD.  The presence of each compound was considered to be confirmed if: all ions monitored were present; a peak appeared at the retention time (( 0.02 min) obtained for a standard solution of the pesticide in the reconstructed chromatiograms of all ions; and,  the peak area ratio was within 30% of the ratio obtained using a standard solution of the pesticide.

6. Observations

6.1 Data Notes

None.

6.2 Field Notes

None.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

The North American Datum 1983 (NAD83) coordinates for the SSA measurement site are:

Longitude       Latitude

----------      ---------

Waskesiu       106.0678 W      53.9178 N

7.1.2 Spatial Coverage Map

None given.

7.1.3 Spatial Resolution

The measurements were made at a single location in the SSA.

7.1.4 Projection

Not applicable.

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

The data were collected from June 16 to August 13, 1993 and May 4 to July 20, 1994

7.2.2 Temporal Coverage Map

All the data were collected at the same location.

7.2.3 Temporal Resolution

The samplers operated 24 hours per day over each 7 day sampling period.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (tgb7aaho.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (tgb7aaho.def).

8. Data Organization

8.1 Data Granularity

All of the Ambient Air Herbicide and Organochlorine Concentration Data are contained in one dataset.

8.2 Data Format(s)

The data files contain numerical and character fields of varying length separated by commas. The character fields are enclosed with single apostrophe marks. There are no spaces between the fields. Sample data records are shown in the companion data definition file (tgb7aaho.def).

9. Data Manipulations

9.1 Formulae

9.1.1 Derivation Techniques and Algorithms

None given.

9.2 Data Processing Sequence

9.2.1 Processing Steps

None given.

9.2.2 Processing Changes

None given.

9.3 Calculations

9.3.1 Special Corrections/Adjustments

None given.

9.3.2 Calculated Variables

None given.

9.4 Graphs and Plots

None given.

10. Errors

10.1 Sources of Error

Irreproducible packing of the XAD-2 resin column.

10.2 Quality Assessment

Standard laboratory procedures involving blanks, spikes and replicates.

10.2.1 Data Validation by Source

None given.

10.2.2 Confidence Level/Accuracy Judgment

None given.

10.2.3 Measurement Error for Parameters

None given.

10.2.4 Additional Quality Assessments

None given.

10.2.5 Data Verification by Data Center

The data were examined for general consistency and clarity.

11. Notes

11.1 Limitations of the Data

None given.

11.2 Known Problems with the Data

None given.

11.3 Usage Guidance

None given.

11.4 Other Relevant Information

None given.

12. Application of the Data Set

The data can be used to quantify the Trace organic contaminants entering the site from atmospheric transport and identify chemicals which require further research

13. Future Modifications and Plans

None given.

14. Software

14.1 Software Description

None given.

14.2 Software Access

None given.

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

Elizabeth.Nelson@gsfc.nasa.gov

15.2 Data Center Identification

See 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or FAX.

15.4 Data Center Status/Plans

The TGB-07 herbicide air concentration data are available from the EOSDIS ORNL DAAC (Earth Observing System Data and Information System) (Oak Ridge National Laboratory) (Distributed Active Archive Center). The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1 Tape Products

None

16.2 Film products

None.

16.3 Other products

Comma delimited ASCII files

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

None given.

17.2 Journal Articles and Study Reports

Cessna, A. J., Grover, R., Kerr, L. A. and Aldred, M.L. (1985) A multiresidue method for the analysis and verification of several herbicides in water.  J. Agric. Food Chem.  33, 504-507.

Cessna, A. J., Waite, D. T. and Constable, M. (1997) Concentrations of pentachlorophenol in atmospheric samples from three Canadian locations, 1994. Bull. Environ. Contamin. Toxicol. 58, 651-658.

Grover, R., Smith, A. E.  and Cessna, A. J. (1994) Fate of bromoxynil  n-butyrate and iso-octanoate applied as a mixture to a wheat field.  J. Environ. Qual.  23(6), 1304-1311.

Sellers, P., F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P., F. Hall, K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P., F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M. Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J. Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B. Goodison, D.E. Wickland, and F.E. Guertin. (1997). "BOREAS in 1997: Experiment Overview, Scientific Results and Future Directions", Journal of Geophysical Research (JGR), BOREAS Special Issue, 102(D24), Dec. 1997, pp. 28731-28770.

Thompson, T. S., R. G. Treble, D. T. Waite and A. J. Cessna. 1997.  Identification of pentachloronitrobenzene in ambient air extracts.  Bull. Environ. Toxicol. Chem. 58:939-944.

Waite, D. T., A. J. Cessna, N. P. Gurprasad and J. Banner. ___. Evaluation of a new sampler for collecting separate dry and wet atmospheric depositions of trace organic chemicals. Atmos. Environ. accepted

Waite, D. T., N. P. Gurprasad, A. J. Cessna and D. V. Quiring. ____.  Atmospheric pentachlorophenol concentrations in relation to air temperature at five Canadian locations. Chemosphere accepted.

Waite, D. T., N. P. Gurprasad and M. B. Constable. 1996 Concentrations of pentachlorophenol and some related compounds in seasonally collected atmospheric samples from five Canadian locations.  Organohalogen Compds. 28:482-489.

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None given.

19. List of Acronyms

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

DAAC    - Distributed Active Archive Center

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

GSFC    - Goddard Space Flight Center

NASA    - National Aeronautics and Space Administration

NSA     - Northern Study Area

ORNL    - Oak Ridge National Laboratory

PANP    - Prince Albert National Park

SSA     - Southern Study Area

URL     - Uniform Resource Locator (a World Wide Web address)

20. Document Information

20.1 Document Revision Date

Written:  04-Dec-1997

Last updated:  14-Sep-1998

20.2 Document Review Date(s)

BORIS Review: 27-Aug-1998

Science Review:

20.3 Document

20.4 Citation

20.5 Document Curator

20.6 Document URL

Keywords

organochlorines, herbicides, atmospheric transport, rain, dry deposition, ambient air